## Impact_S
Measure-level Peak Reduction Potential: Summer (MW, grossed up for line losses)
Maximum Achievable Potential Opt-Out Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Water Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | AC/Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | TOU | Summer | 0 | 0 | 47.8771 | 45.1767 | 42.4906 | 42.0068 | 42.1536 | 42.4013 | 42.6653 | 42.9326 | 43.2029 | 43.4756 | 43.7509 | 44.0278 | 44.3075 | 44.5896 | 44.8745 | 45.1611 | 45.4504 | 45.7423
Residential | PTR | Summer | 0 | 0 | 99.7579 | 97.1121 | 94.5109 | 94.3392 | 94.8109 | 95.3877 | 95.9843 | 96.5861 | 97.1943 | 97.8076 | 98.4272 | 99.0501 | 99.6793 | 100.3139 | 100.9549 | 101.5995 | 102.2506 | 102.9072
Residential | PTR w/Tech | Summer | 0 | 0 | 24.3571 | 23.9351 | 23.5251 | 23.546 | 23.6736 | 23.819 | 23.9682 | 24.1185 | 24.2704 | 24.4235 | 24.5782 | 24.7338 | 24.8909 | 25.0494 | 25.2094 | 25.3704 | 25.533 | 25.6969
Residential | CPP | Summer | 0 | 0 | 89.2866 | 83.3057 | 77.347 | 76.1797 | 76.4009 | 76.8435 | 77.3212 | 77.8056 | 78.2954 | 78.7895 | 79.2885 | 79.7904 | 80.2973 | 80.8085 | 81.3248 | 81.844 | 82.3685 | 82.8975
Residential | CPP w/Tech | Summer | 0 | 0 | 21.9607 | 21.2023 | 20.4529 | 20.3657 | 20.4597 | 20.5831 | 20.7117 | 20.8416 | 20.9728 | 21.1052 | 21.2388 | 21.3733 | 21.509 | 21.646 | 21.7843 | 21.9234 | 22.0639 | 22.2055
Residential | Behavioral DR | Summer | 45.231 | 42.4043 | 38.8657 | 37.9813 | 37.9272 | 38.1426 | 38.3778 | 38.6175 | 38.8599 | 39.1037 | 39.3499 | 39.5982 | 39.849 | 40.1013 | 40.356 | 40.6129 | 40.8724 | 41.1334 | 41.397 | 41.6628
Residential | BYOT - AC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - Space Heating | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - AC/Space Heating | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Smart Water Heater DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Electric Vehicle DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Water Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC/Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | TOU | Summer | 0 | 0 | 0.66957 | 0.60459 | 0.53692 | 0.5266 | 0.53138 | 0.53897 | 0.5471 | 0.55543 | 0.56391 | 0.57251 | 0.5814 | 0.59041 | 0.5996 | 0.60898 | 0.61858 | 0.62837 | 0.63835 | 0.64854
Small C&I | PTR | Summer | 0 | 0 | 2.221 | 1.9808 | 1.7316 | 1.6899 | 1.7039 | 1.7281 | 1.7541 | 1.7808 | 1.808 | 1.8356 | 1.8641 | 1.893 | 1.9224 | 1.9525 | 1.9833 | 2.0147 | 2.0467 | 2.0794
Small C&I | PTR w/Tech | Summer | 0 | 0 | 4.4813 | 4.1267 | 3.7545 | 3.7097 | 3.7477 | 3.8019 | 3.8593 | 3.9181 | 3.9779 | 4.0386 | 4.1012 | 4.1648 | 4.2296 | 4.2958 | 4.3635 | 4.4326 | 4.503 | 4.5749
Small C&I | CPP | Summer | 0 | 0 | 1.321 | 1.1327 | 0.9389 | 0.90043 | 0.90531 | 0.91778 | 0.93156 | 0.94574 | 0.96017 | 0.97482 | 0.98994 | 1.0053 | 1.0209 | 1.0369 | 1.0533 | 1.0699 | 1.0869 | 1.1043
Small C&I | CPP w/Tech | Summer | 0 | 0 | 2.9106 | 2.5684 | 2.2143 | 2.1514 | 2.1677 | 2.1982 | 2.2313 | 2.2652 | 2.2998 | 2.3349 | 2.3711 | 2.4079 | 2.4454 | 2.4836 | 2.5228 | 2.5627 | 2.6034 | 2.645
Medium C&I | Third-Party DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | Curtailable Tariff | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | CPP | Summer | 0 | 0 | 32.1301 | 27.5511 | 22.835 | 21.8998 | 22.0175 | 22.3201 | 22.6546 | 22.9988 | 23.3494 | 23.7049 | 24.0721 | 24.4445 | 24.8246 | 25.2125 | 25.6092 | 26.0138 | 26.4264 | 26.848
Medium C&I | CPP w/Tech | Summer | 0 | 0 | 52.0241 | 45.9084 | 39.5761 | 38.4534 | 38.7421 | 39.2862 | 39.8766 | 40.4825 | 41.0997 | 41.7254 | 42.3718 | 43.0274 | 43.6963 | 44.3792 | 45.0774 | 45.7896 | 46.5159 | 47.2579
Large C&I | Third-Party DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | Curtailable Tariff | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | CPP | Summer | 0 | 0 | 59.7061 | 51.2805 | 42.558 | 40.9338 | 41.2776 | 41.9688 | 42.7181 | 43.4867 | 44.2714 | 45.0673 | 45.8858 | 46.716 | 47.5632 | 48.4273 | 49.3095 | 50.2089 | 51.1257 | 52.0618
Large C&I | CPP w/Tech | Summer | 0 | 0 | 112.7866 | 99.6902 | 86.052 | 83.8539 | 84.7376 | 86.1819 | 87.724 | 89.3029 | 90.9146 | 92.5488 | 94.2297 | 95.9346 | 97.6743 | 99.4489 | 101.2606 | 103.1076 | 104.9903 | 106.9125
Agricultural | Pumping Load Control | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Agricultural | TOU | Summer | 0 | 0 | 2.2926 | 2.0557 | 1.8129 | 1.6858 | 1.6764 | 1.646 | 1.6157 | 1.5854 | 1.5571 | 1.5357 | 1.502 | 1.4737 | 1.4455 | 1.4169 | 1.3871 | 1.3561 | 1.3269 | 1.2963
Measure-level Peak Reduction Potential: Summer (MW, grossed up for line losses)
Maximum Achievable Potential Opt-In Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Summer | 10.9529 | 47.4233 | 86.1334 | 98.9012 | 103.3553 | 106.5453 | 109.5081 | 112.4059 | 115.2611 | 118.0768 | 120.8536 | 123.592 | 126.2929 | 128.9574 | 131.5865 | 134.1818 | 136.7449 | 139.2773 | 141.7808 | 144.2574
Residential | Space Heating DLC | Summer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Water Heating DLC | Summer | 3.6046 | 15.1629 | 26.8127 | 30.0337 | 30.6742 | 30.9562 | 31.1975 | 31.4455 | 31.7058 | 31.9782 | 32.2618 | 32.5558 | 32.8595 | 33.1722 | 33.4933 | 33.8223 | 34.1588 | 34.5024 | 34.8527 | 35.2095
Residential | AC/Space Heating DLC | Summer | 1.3963 | 5.9105 | 10.5093 | 11.8289 | 12.1326 | 12.29 | 12.4263 | 12.561 | 12.6967 | 12.8338 | 12.9725 | 13.1126 | 13.2542 | 13.3973 | 13.542 | 13.6883 | 13.8361 | 13.9855 | 14.1366 | 14.2892
Residential | TOU | Summer | 0 | 0 | 2.7293 | 11.4694 | 20.2539 | 22.7217 | 23.2247 | 23.4201 | 23.5739 | 23.7228 | 23.8723 | 24.0229 | 24.1751 | 24.3281 | 24.4826 | 24.6385 | 24.7959 | 24.9543 | 25.1142 | 25.2755
Residential | PTR | Summer | 0 | 0 | 5.112 | 21.4822 | 37.9354 | 42.5577 | 43.4998 | 43.8656 | 44.1539 | 44.4326 | 44.7126 | 44.9948 | 45.2798 | 45.5664 | 45.8559 | 46.1478 | 46.4427 | 46.7392 | 47.0387 | 47.3408
Residential | PTR w/Tech | Summer | 0 | 0 | 1.5437 | 6.4871 | 11.4555 | 12.8513 | 13.1358 | 13.2463 | 13.3333 | 13.4175 | 13.5021 | 13.5873 | 13.6733 | 13.7599 | 13.8473 | 13.9355 | 14.0245 | 14.114 | 14.2045 | 14.2957
Residential | CPP | Summer | 0 | 0 | 3.8301 | 16.0953 | 28.4228 | 31.886 | 32.5918 | 32.866 | 33.0819 | 33.2907 | 33.5005 | 33.712 | 33.9255 | 34.1402 | 34.3571 | 34.5759 | 34.7968 | 35.019 | 35.2434 | 35.4697
Residential | CPP w/Tech | Summer | 0 | 0 | 1.1559 | 4.8575 | 8.5778 | 9.623 | 9.836 | 9.9187 | 9.9839 | 10.0469 | 10.1102 | 10.1741 | 10.2385 | 10.3033 | 10.3688 | 10.4348 | 10.5014 | 10.5685 | 10.6362 | 10.7045
Residential | Behavioral DR | Summer | 1.1047 | 4.7116 | 8.3105 | 9.2828 | 9.4525 | 9.5316 | 9.5939 | 9.6543 | 9.715 | 9.7759 | 9.8375 | 9.8996 | 9.9623 | 10.0253 | 10.089 | 10.1532 | 10.2181 | 10.2834 | 10.3492 | 10.4157
Residential | BYOT - AC | Summer | 1.8772 | 11.0268 | 25.0848 | 34.4006 | 41.6085 | 42.148 | 42.6155 | 43.0775 | 43.5429 | 44.0132 | 44.4886 | 44.969 | 45.4547 | 45.9456 | 46.4418 | 46.9434 | 47.4504 | 47.9629 | 48.4808 | 49.0045
Residential | BYOT - Space Heating | Summer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | BYOT - AC/Space Heating | Summer | 0.87271 | 3.6941 | 6.5683 | 7.3931 | 7.5829 | 7.6812 | 7.7664 | 7.8506 | 7.9354 | 8.0212 | 8.1078 | 8.1953 | 8.2839 | 8.3733 | 8.4638 | 8.5552 | 8.6476 | 8.741 | 8.8354 | 8.9308
Residential | Smart Water Heater DLC | Summer | 0.080481 | 0.4854 | 1.504 | 3.1502 | 5.2272 | 7.5711 | 10.1402 | 12.7218 | 15.3147 | 17.918 | 20.5312 | 23.1542 | 25.7867 | 28.4281 | 31.0781 | 33.7366 | 36.4036 | 39.0786 | 41.7615 | 44.4525
Residential | Electric Vehicle DLC | Summer | 0.40903 | 0.57205 | 0.73507 | 0.89809 | 1.0611 | 1.3109 | 1.5608 | 1.8106 | 2.0605 | 2.3103 | 2.7223 | 3.1342 | 3.5462 | 3.9582 | 4.3701 | 4.8829 | 5.3956 | 5.9083 | 6.4211 | 6.9338
Small C&I | AC DLC | Summer | 1.4543 | 6.1472 | 10.9139 | 12.2658 | 12.5619 | 12.7838 | 12.9859 | 13.1875 | 13.3917 | 13.5989 | 13.8092 | 14.0229 | 14.2396 | 14.4596 | 14.6831 | 14.9099 | 15.14 | 15.3737 | 15.6109 | 15.8516
Small C&I | Space Heating DLC | Summer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small C&I | Water Heating DLC | Summer | 0.075227 | 0.31797 | 0.56453 | 0.63446 | 0.64978 | 0.66126 | 0.67171 | 0.68213 | 0.6927 | 0.70342 | 0.7143 | 0.72535 | 0.73656 | 0.74794 | 0.7595 | 0.77123 | 0.78313 | 0.79522 | 0.80749 | 0.81994
Small C&I | AC/Space Heating DLC | Summer | 0.38863 | 1.6426 | 2.9164 | 3.2777 | 3.3568 | 3.4161 | 3.4701 | 3.5239 | 3.5785 | 3.6339 | 3.6901 | 3.7472 | 3.8051 | 3.8639 | 3.9236 | 3.9842 | 4.0457 | 4.1082 | 4.1715 | 4.2359
Small C&I | TOU | Summer | 0 | 0 | 0.010708 | 0.045171 | 0.079741 | 0.090277 | 0.093039 | 0.094641 | 0.096106 | 0.097575 | 0.099065 | 0.10058 | 0.10214 | 0.10372 | 0.10533 | 0.10698 | 0.10867 | 0.11039 | 0.11214 | 0.11393
Small C&I | PTR | Summer | 0 | 0 | 0.059021 | 0.24898 | 0.43953 | 0.4976 | 0.51283 | 0.52166 | 0.52973 | 0.53783 | 0.54604 | 0.55437 | 0.56297 | 0.5717 | 0.5806 | 0.58969 | 0.59898 | 0.60846 | 0.61812 | 0.628
Small C&I | PTR w/Tech | Summer | 0 | 0 | 0.14756 | 0.62249 | 1.0989 | 1.2441 | 1.2822 | 1.3042 | 1.3244 | 1.3447 | 1.3652 | 1.386 | 1.4075 | 1.4293 | 1.4516 | 1.4743 | 1.4975 | 1.5212 | 1.5454 | 1.5701
Small C&I | CPP | Summer | 0 | 0 | 0.029652 | 0.12509 | 0.22082 | 0.25 | 0.25765 | 0.26208 | 0.26614 | 0.27021 | 0.27433 | 0.27852 | 0.28284 | 0.28722 | 0.2917 | 0.29626 | 0.30093 | 0.30569 | 0.31055 | 0.31551
Small C&I | CPP w/Tech | Summer | 0 | 0 | 0.072053 | 0.30395 | 0.53658 | 0.60748 | 0.62606 | 0.63684 | 0.6467 | 0.65658 | 0.66661 | 0.67678 | 0.68728 | 0.69793 | 0.7088 | 0.71989 | 0.73124 | 0.74281 | 0.75461 | 0.76666
Medium C&I | Third-Party DLC | Summer | 5.2029 | 22.4282 | 39.6508 | 44.4602 | 45.2554 | 46.0535 | 46.736 | 47.4396 | 48.1591 | 48.8918 | 49.6372 | 50.393 | 51.1737 | 51.9654 | 52.7734 | 53.5981 | 54.4413 | 55.3015 | 56.1786 | 57.0748
Medium C&I | Curtailable Tariff | Summer | 23.2788 | 23.9234 | 24.009 | 24.1464 | 24.1961 | 24.5701 | 24.927 | 25.3013 | 25.6849 | 26.0756 | 26.4732 | 26.8763 | 27.2926 | 27.7149 | 28.1458 | 28.5856 | 29.0353 | 29.4941 | 29.9619 | 30.4399
Medium C&I | CPP | Summer | 0 | 0 | 0.72121 | 3.0424 | 5.3706 | 6.0803 | 6.2661 | 6.3738 | 6.4723 | 6.571 | 6.6712 | 6.7728 | 6.8777 | 6.9842 | 7.0927 | 7.2036 | 7.3169 | 7.4325 | 7.5504 | 7.6709
Medium C&I | CPP w/Tech | Summer | 0 | 0 | 1.2879 | 5.4329 | 9.5903 | 10.8577 | 11.1894 | 11.3818 | 11.5577 | 11.734 | 11.9129 | 12.0943 | 12.2817 | 12.4717 | 12.6656 | 12.8635 | 13.0659 | 13.2724 | 13.4829 | 13.698
Large C&I | Third-Party DLC | Summer | 7.0308 | 30.3431 | 53.726 | 60.341 | 61.5005 | 62.7671 | 63.8887 | 65.0426 | 66.2154 | 67.4084 | 68.6251 | 69.8587 | 71.1275 | 72.4144 | 73.7276 | 75.0671 | 76.4346 | 77.8288 | 79.2499 | 80.7009
Large C&I | Curtailable Tariff | Summer | 75.497 | 77.6783 | 78.0762 | 78.6511 | 78.9157 | 80.3688 | 81.7812 | 83.255 | 84.7558 | 86.2828 | 87.8401 | 89.4191 | 91.0432 | 92.6904 | 94.3713 | 96.0859 | 97.8363 | 99.6208 | 101.4399 | 103.2971
Large C&I | CPP | Summer | 0 | 0 | 1.3402 | 5.6629 | 10.0093 | 11.365 | 11.7474 | 11.9847 | 12.2043 | 12.4246 | 12.649 | 12.8764 | 13.1102 | 13.3474 | 13.5895 | 13.8364 | 14.0884 | 14.3454 | 14.6073 | 14.8748
Large C&I | CPP w/Tech | Summer | 0 | 0 | 3.4901 | 14.7471 | 26.0658 | 29.5962 | 30.5921 | 31.2102 | 31.782 | 32.3558 | 32.94 | 33.5322 | 34.1412 | 34.7589 | 35.3892 | 36.0322 | 36.6886 | 37.3578 | 38.04 | 38.7364
Agricultural | Pumping Load Control | Summer | 0.46475 | 1.989 | 3.4916 | 3.8878 | 3.93 | 3.7919 | 3.7922 | 3.7265 | 3.6582 | 3.5898 | 3.5255 | 3.4771 | 3.4009 | 3.3367 | 3.273 | 3.2082 | 3.1408 | 3.0705 | 3.0045 | 2.9351
Agricultural | TOU | Summer | 0 | 0 | 0.036663 | 0.15358 | 0.26924 | 0.28901 | 0.29352 | 0.28904 | 0.28382 | 0.27852 | 0.27354 | 0.26978 | 0.26387 | 0.25889 | 0.25394 | 0.24892 | 0.24369 | 0.23823 | 0.23311 | 0.22773
Measure-level Peak Reduction Potential: Summer (% of System Peak, grossed up for line losses)
Maximum Achievable Potential Opt-Out Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Water Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | AC/Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | TOU | Summer | 0% | 0% | 1.343% | 1.264% | 1.184% | 1.168% | 1.16% | 1.154% | 1.149% | 1.144% | 1.139% | 1.133% | 1.128% | 1.123% | 1.117% | 1.112% | 1.106% | 1.101% | 1.095% | 1.09%
Residential | PTR | Summer | 0% | 0% | 2.799% | 2.718% | 2.634% | 2.623% | 2.609% | 2.597% | 2.585% | 2.574% | 2.562% | 2.55% | 2.538% | 2.526% | 2.513% | 2.502% | 2.489% | 2.477% | 2.464% | 2.451%
Residential | PTR w/Tech | Summer | 0% | 0% | 0.6834% | 0.6699% | 0.6557% | 0.6548% | 0.6514% | 0.6485% | 0.6455% | 0.6426% | 0.6397% | 0.6367% | 0.6338% | 0.6306% | 0.6276% | 0.6247% | 0.6215% | 0.6185% | 0.6153% | 0.6121%
Residential | CPP | Summer | 0% | 0% | 2.505% | 2.332% | 2.156% | 2.118% | 2.102% | 2.092% | 2.082% | 2.073% | 2.064% | 2.054% | 2.045% | 2.034% | 2.025% | 2.015% | 2.005% | 1.995% | 1.985% | 1.975%
Residential | CPP w/Tech | Summer | 0% | 0% | 0.6162% | 0.5934% | 0.57% | 0.5663% | 0.563% | 0.5604% | 0.5578% | 0.5553% | 0.5528% | 0.5502% | 0.5477% | 0.545% | 0.5423% | 0.5398% | 0.5371% | 0.5345% | 0.5317% | 0.529%
Residential | Behavioral DR | Summer | 1.284% | 1.216% | 1.091% | 1.063% | 1.057% | 1.061% | 1.056% | 1.051% | 1.047% | 1.042% | 1.037% | 1.032% | 1.028% | 1.022% | 1.018% | 1.013% | 1.008% | 1.003% | 0.9975% | 0.9924%
Residential | BYOT - AC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - Space Heating | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - AC/Space Heating | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Smart Water Heater DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Electric Vehicle DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Water Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC/Space Heating DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | TOU | Summer | 0% | 0% | 0.01879% | 0.01692% | 0.01496% | 0.01464% | 0.01462% | 0.01467% | 0.01473% | 0.0148% | 0.01486% | 0.01492% | 0.01499% | 0.01505% | 0.01512% | 0.01519% | 0.01525% | 0.01532% | 0.01538% | 0.01545%
Small C&I | PTR | Summer | 0% | 0% | 0.06232% | 0.05544% | 0.04826% | 0.047% | 0.04689% | 0.04705% | 0.04724% | 0.04745% | 0.04765% | 0.04785% | 0.04807% | 0.04827% | 0.04847% | 0.04869% | 0.0489% | 0.04911% | 0.04932% | 0.04953%
Small C&I | PTR w/Tech | Summer | 0% | 0% | 0.1257% | 0.1155% | 0.1046% | 0.1032% | 0.1031% | 0.1035% | 0.1039% | 0.1044% | 0.1048% | 0.1053% | 0.1058% | 0.1062% | 0.1066% | 0.1071% | 0.1076% | 0.1081% | 0.1085% | 0.109%
Small C&I | CPP | Summer | 0% | 0% | 0.03707% | 0.0317% | 0.02617% | 0.02504% | 0.02491% | 0.02499% | 0.02509% | 0.0252% | 0.02531% | 0.02541% | 0.02553% | 0.02563% | 0.02574% | 0.02586% | 0.02597% | 0.02608% | 0.02619% | 0.0263%
Small C&I | CPP w/Tech | Summer | 0% | 0% | 0.08167% | 0.07188% | 0.06171% | 0.05983% | 0.05965% | 0.05985% | 0.06009% | 0.06036% | 0.06062% | 0.06087% | 0.06114% | 0.06139% | 0.06166% | 0.06194% | 0.0622% | 0.06247% | 0.06273% | 0.06301%
Medium C&I | Third-Party DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | Curtailable Tariff | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | CPP | Summer | 0% | 0% | 0.9015% | 0.7711% | 0.6364% | 0.609% | 0.6059% | 0.6077% | 0.6101% | 0.6128% | 0.6154% | 0.618% | 0.6207% | 0.6233% | 0.6259% | 0.6287% | 0.6314% | 0.6342% | 0.6368% | 0.6395%
Medium C&I | CPP w/Tech | Summer | 0% | 0% | 1.46% | 1.285% | 1.103% | 1.069% | 1.066% | 1.07% | 1.074% | 1.079% | 1.083% | 1.088% | 1.093% | 1.097% | 1.102% | 1.107% | 1.111% | 1.116% | 1.121% | 1.126%
Large C&I | Third-Party DLC | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | Curtailable Tariff | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | CPP | Summer | 0% | 0% | 1.675% | 1.435% | 1.186% | 1.138% | 1.136% | 1.143% | 1.151% | 1.159% | 1.167% | 1.175% | 1.183% | 1.191% | 1.199% | 1.208% | 1.216% | 1.224% | 1.232% | 1.24%
Large C&I | CPP w/Tech | Summer | 0% | 0% | 3.165% | 2.79% | 2.398% | 2.332% | 2.332% | 2.346% | 2.363% | 2.38% | 2.396% | 2.413% | 2.43% | 2.446% | 2.463% | 2.48% | 2.497% | 2.514% | 2.53% | 2.547%
Agricultural | Pumping Load Control | Summer | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Agricultural | TOU | Summer | 0% | 0% | 0.06433% | 0.05753% | 0.05053% | 0.04688% | 0.04613% | 0.04481% | 0.04351% | 0.04224% | 0.04104% | 0.04003% | 0.03873% | 0.03757% | 0.03645% | 0.03533% | 0.0342% | 0.03306% | 0.03197% | 0.03088%
Measure-level Peak Reduction Potential: Summer (% of System Peak, grossed up for line losses)
Maximum Achievable Potential Opt-in Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Summer | 0.3108% | 1.36% | 2.417% | 2.768% | 2.881% | 2.963% | 3.013% | 3.06% | 3.104% | 3.146% | 3.185% | 3.222% | 3.257% | 3.288% | 3.318% | 3.346% | 3.371% | 3.395% | 3.416% | 3.436%
Residential | Space Heating DLC | Summer | bar: 2016 to 2035
Residential | Water Heating DLC | Summer | 0.1023% | 0.435% | 0.7523% | 0.8406% | 0.8549% | 0.8609% | 0.8585% | 0.8561% | 0.8539% | 0.8521% | 0.8503% | 0.8487% | 0.8473% | 0.8458% | 0.8445% | 0.8434% | 0.8422% | 0.8411% | 0.8398% | 0.8387%
Residential | AC/Space Heating DLC | Summer | 0.03963% | 0.1696% | 0.2949% | 0.3311% | 0.3381% | 0.3418% | 0.3419% | 0.342% | 0.342% | 0.342% | 0.3419% | 0.3418% | 0.3418% | 0.3416% | 0.3415% | 0.3414% | 0.3411% | 0.3409% | 0.3406% | 0.3404%
Residential | TOU | Summer | 0% | 0% | 0.07658% | 0.321% | 0.5645% | 0.6319% | 0.6391% | 0.6376% | 0.6349% | 0.6321% | 0.6292% | 0.6262% | 0.6234% | 0.6203% | 0.6173% | 0.6144% | 0.6113% | 0.6083% | 0.6052% | 0.6021%
Residential | PTR | Summer | 0% | 0% | 0.1434% | 0.6012% | 1.057% | 1.183% | 1.197% | 1.194% | 1.189% | 1.184% | 1.179% | 1.173% | 1.168% | 1.162% | 1.156% | 1.151% | 1.145% | 1.139% | 1.133% | 1.128%
Residential | PTR w/Tech | Summer | 0% | 0% | 0.04331% | 0.1816% | 0.3193% | 0.3574% | 0.3615% | 0.3606% | 0.3591% | 0.3575% | 0.3559% | 0.3542% | 0.3526% | 0.3508% | 0.3492% | 0.3475% | 0.3458% | 0.3441% | 0.3423% | 0.3405%
Residential | CPP | Summer | 0% | 0% | 0.1075% | 0.4505% | 0.7922% | 0.8867% | 0.8969% | 0.8948% | 0.891% | 0.887% | 0.883% | 0.8788% | 0.8748% | 0.8705% | 0.8663% | 0.8622% | 0.8579% | 0.8537% | 0.8492% | 0.8449%
Residential | CPP w/Tech | Summer | 0% | 0% | 0.03243% | 0.1359% | 0.2391% | 0.2676% | 0.2707% | 0.27% | 0.2689% | 0.2677% | 0.2665% | 0.2652% | 0.264% | 0.2627% | 0.2614% | 0.2602% | 0.2589% | 0.2576% | 0.2563% | 0.255%
Residential | Behavioral DR | Summer | 0.03135% | 0.1352% | 0.2332% | 0.2598% | 0.2634% | 0.2651% | 0.264% | 0.2628% | 0.2616% | 0.2605% | 0.2593% | 0.2581% | 0.2569% | 0.2556% | 0.2544% | 0.2532% | 0.2519% | 0.2507% | 0.2494% | 0.2481%
Residential | BYOT - AC | Summer | 0.05327% | 0.3163% | 0.7038% | 0.9628% | 1.16% | 1.172% | 1.173% | 1.173% | 1.173% | 1.173% | 1.173% | 1.172% | 1.172% | 1.171% | 1.171% | 1.171% | 1.17% | 1.169% | 1.168% | 1.167%
Residential | BYOT - Space Heating | Summer | bar: 2016 to 2035
Residential | BYOT - AC/Space Heating | Summer | 0.02477% | 0.106% | 0.1843% | 0.2069% | 0.2113% | 0.2136% | 0.2137% | 0.2137% | 0.2137% | 0.2137% | 0.2137% | 0.2136% | 0.2136% | 0.2135% | 0.2134% | 0.2133% | 0.2132% | 0.2131% | 0.2129% | 0.2127%
Residential | Smart Water Heater DLC | Summer | 0.002284% | 0.01392% | 0.0422% | 0.08817% | 0.1457% | 0.2105% | 0.279% | 0.3464% | 0.4125% | 0.4774% | 0.5411% | 0.6036% | 0.6649% | 0.7248% | 0.7836% | 0.8413% | 0.8975% | 0.9527% | 1.006% | 1.059%
Residential | Electric Vehicle DLC | Summer | 0.01161% | 0.01641% | 0.02062% | 0.02514% | 0.02957% | 0.03646% | 0.04295% | 0.0493% | 0.05549% | 0.06156% | 0.07175% | 0.08171% | 0.09144% | 0.1009% | 0.1102% | 0.1218% | 0.133% | 0.144% | 0.1547% | 0.1652%
Small C&I | AC DLC | Summer | 0.04127% | 0.1763% | 0.3062% | 0.3433% | 0.3501% | 0.3555% | 0.3573% | 0.359% | 0.3607% | 0.3623% | 0.364% | 0.3656% | 0.3672% | 0.3687% | 0.3702% | 0.3718% | 0.3733% | 0.3748% | 0.3762% | 0.3776%
Small C&I | Space Heating DLC | Summer | bar: 2016 to 2035
Small C&I | Water Heating DLC | Summer | 0.002135% | 0.009121% | 0.01584% | 0.01776% | 0.01811% | 0.01839% | 0.01848% | 0.01857% | 0.01866% | 0.01874% | 0.01883% | 0.01891% | 0.01899% | 0.01907% | 0.01915% | 0.01923% | 0.01931% | 0.01939% | 0.01946% | 0.01953%
Small C&I | AC/Space Heating DLC | Summer | 0.01103% | 0.04712% | 0.08183% | 0.09173% | 0.09356% | 0.095% | 0.09549% | 0.09594% | 0.09638% | 0.09683% | 0.09726% | 0.09768% | 0.09812% | 0.09852% | 0.09893% | 0.09936% | 0.09975% | 0.1002% | 0.1005% | 0.1009%
Small C&I | TOU | Summer | 0% | 0% | 0.0003004% | 0.001264% | 0.002222% | 0.00251% | 0.00256% | 0.002577% | 0.002588% | 0.0026% | 0.002611% | 0.002622% | 0.002634% | 0.002645% | 0.002656% | 0.002668% | 0.002679% | 0.002691% | 0.002702% | 0.002714%
Small C&I | PTR | Summer | 0% | 0% | 0.001656% | 0.006968% | 0.01225% | 0.01384% | 0.01411% | 0.0142% | 0.01427% | 0.01433% | 0.01439% | 0.01445% | 0.01452% | 0.01458% | 0.01464% | 0.01471% | 0.01477% | 0.01483% | 0.01489% | 0.01496%
Small C&I | PTR w/Tech | Summer | 0% | 0% | 0.00414% | 0.01742% | 0.03063% | 0.0346% | 0.03528% | 0.03551% | 0.03567% | 0.03583% | 0.03598% | 0.03613% | 0.0363% | 0.03644% | 0.0366% | 0.03677% | 0.03692% | 0.03709% | 0.03724% | 0.0374%
Small C&I | CPP | Summer | 0% | 0% | 0.000832% | 0.003501% | 0.006154% | 0.006952% | 0.00709% | 0.007135% | 0.007168% | 0.0072% | 0.007231% | 0.007261% | 0.007293% | 0.007323% | 0.007355% | 0.007388% | 0.007419% | 0.007452% | 0.007483% | 0.007516%
Small C&I | CPP w/Tech | Summer | 0% | 0% | 0.002022% | 0.008507% | 0.01495% | 0.01689% | 0.01723% | 0.01734% | 0.01742% | 0.01749% | 0.01757% | 0.01764% | 0.01772% | 0.0178% | 0.01787% | 0.01795% | 0.01803% | 0.01811% | 0.01818% | 0.01826%
Medium C&I | Third-Party DLC | Summer | 0.1477% | 0.6434% | 1.113% | 1.244% | 1.261% | 1.281% | 1.286% | 1.292% | 1.297% | 1.303% | 1.308% | 1.314% | 1.32% | 1.325% | 1.331% | 1.337% | 1.342% | 1.348% | 1.354% | 1.36%
Medium C&I | Curtailable Tariff | Summer | 0.6606% | 0.6863% | 0.6737% | 0.6758% | 0.6744% | 0.6833% | 0.6859% | 0.6888% | 0.6918% | 0.6948% | 0.6978% | 0.7006% | 0.7038% | 0.7067% | 0.7097% | 0.7129% | 0.7159% | 0.719% | 0.722% | 0.7251%
Medium C&I | CPP | Summer | 0% | 0% | 0.02024% | 0.08515% | 0.1497% | 0.1691% | 0.1724% | 0.1735% | 0.1743% | 0.1751% | 0.1758% | 0.1766% | 0.1774% | 0.1781% | 0.1788% | 0.1796% | 0.1804% | 0.1812% | 0.1819% | 0.1827%
Medium C&I | CPP w/Tech | Summer | 0% | 0% | 0.03614% | 0.1521% | 0.2673% | 0.3019% | 0.3079% | 0.3099% | 0.3113% | 0.3127% | 0.314% | 0.3153% | 0.3167% | 0.318% | 0.3194% | 0.3208% | 0.3221% | 0.3236% | 0.3249% | 0.3263%
Large C&I | Third-Party DLC | Summer | 0.1995% | 0.8704% | 1.507% | 1.689% | 1.714% | 1.745% | 1.758% | 1.771% | 1.783% | 1.796% | 1.809% | 1.821% | 1.834% | 1.846% | 1.859% | 1.872% | 1.884% | 1.897% | 1.91% | 1.922%
Large C&I | Curtailable Tariff | Summer | 2.143% | 2.228% | 2.191% | 2.201% | 2.199% | 2.235% | 2.25% | 2.267% | 2.283% | 2.299% | 2.315% | 2.331% | 2.348% | 2.363% | 2.38% | 2.396% | 2.412% | 2.429% | 2.444% | 2.461%
Large C&I | CPP | Summer | 0% | 0% | 0.0376% | 0.1585% | 0.279% | 0.316% | 0.3233% | 0.3263% | 0.3287% | 0.3311% | 0.3334% | 0.3357% | 0.3381% | 0.3403% | 0.3426% | 0.345% | 0.3473% | 0.3497% | 0.352% | 0.3543%
Large C&I | CPP w/Tech | Summer | 0% | 0% | 0.09793% | 0.4127% | 0.7265% | 0.823% | 0.8418% | 0.8497% | 0.856% | 0.8621% | 0.8682% | 0.8741% | 0.8804% | 0.8863% | 0.8923% | 0.8986% | 0.9046% | 0.9107% | 0.9166% | 0.9227%
Agricultural | Pumping Load Control | Summer | 0.01319% | 0.05706% | 0.09797% | 0.1088% | 0.1095% | 0.1054% | 0.1044% | 0.1015% | 0.09852% | 0.09565% | 0.09292% | 0.09064% | 0.0877% | 0.08508% | 0.08253% | 0.08% | 0.07744% | 0.07485% | 0.0724% | 0.06992%
Agricultural | TOU | Summer | 0% | 0% | 0.001029% | 0.004298% | 0.007504% | 0.008037% | 0.008077% | 0.007869% | 0.007644% | 0.007421% | 0.00721% | 0.007033% | 0.006804% | 0.006601% | 0.006403% | 0.006207% | 0.006008% | 0.005808% | 0.005617% | 0.005425%

## Impact_W
Measure-level Peak Reduction Potential: Winter (MW, grossed up for line losses)
Maximum Achievable Potential Opt-Out Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Water Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | AC/Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | TOU | Winter | 0 | 0 | 70.3695 | 66.4648 | 62.5672 | 61.7391 | 61.8212 | 62.05 | 62.3004 | 62.5556 | 62.8127 | 63.0716 | 63.332 | 63.5946 | 63.8587 | 64.1246 | 64.3921 | 64.6618 | 64.9331 | 65.2063
Residential | PTR | Winter | 0 | 0 | 144.0706 | 140.3856 | 136.7438 | 136.2401 | 136.6258 | 137.1599 | 137.7172 | 138.282 | 138.8504 | 139.4227 | 139.9983 | 140.5787 | 141.1626 | 141.7504 | 142.3418 | 142.9379 | 143.5377 | 144.1416
Residential | PTR w/Tech | Winter | 0 | 0 | 25.4039 | 24.988 | 24.5812 | 24.557 | 24.6369 | 24.7346 | 24.8353 | 24.9372 | 25.0397 | 25.1429 | 25.2467 | 25.3514 | 25.4566 | 25.5626 | 25.6693 | 25.7768 | 25.885 | 25.9939
Residential | CPP | Winter | 0 | 0 | 128.2591 | 119.7837 | 111.3122 | 109.4273 | 109.5082 | 109.9046 | 110.3469 | 110.7988 | 111.2542 | 111.7127 | 112.1739 | 112.639 | 113.1068 | 113.5778 | 114.0516 | 114.5293 | 115.0099 | 115.4937
Residential | CPP w/Tech | Winter | 0 | 0 | 22.8711 | 22.1026 | 21.3399 | 21.2092 | 21.2611 | 21.3431 | 21.4297 | 21.5176 | 21.606 | 21.6951 | 21.7846 | 21.8749 | 21.9658 | 22.0573 | 22.1493 | 22.2421 | 22.3354 | 22.4293
Residential | Behavioral DR | Winter | 65.6145 | 60.6509 | 55.6556 | 54.442 | 54.4115 | 54.6182 | 54.8365 | 55.0596 | 55.2846 | 55.5115 | 55.7397 | 55.9694 | 56.2005 | 56.4335 | 56.6679 | 56.9039 | 57.1412 | 57.3806 | 57.6213 | 57.8637
Residential | BYOT - AC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - Space Heating | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - AC/Space Heating | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Smart Water Heater DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Electric Vehicle DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Water Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC/Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | TOU | Winter | 0 | 0 | 0.6004 | 0.54197 | 0.48129 | 0.47503 | 0.47922 | 0.48577 | 0.49279 | 0.49998 | 0.50731 | 0.5148 | 0.52247 | 0.53026 | 0.53823 | 0.54635 | 0.55467 | 0.56313 | 0.57177 | 0.5806
Small C&I | PTR | Winter | 0 | 0 | 2.1907 | 1.9532 | 1.7074 | 1.6769 | 1.6903 | 1.7132 | 1.738 | 1.7633 | 1.7892 | 1.8156 | 1.8427 | 1.8701 | 1.8982 | 1.9269 | 1.9562 | 1.986 | 2.0165 | 2.0477
Small C&I | PTR w/Tech | Winter | 0 | 0 | 3.2147 | 2.9595 | 2.6924 | 2.6771 | 2.7039 | 2.7412 | 2.7809 | 2.8215 | 2.8629 | 2.9052 | 2.9484 | 2.9924 | 3.0374 | 3.0832 | 3.1302 | 3.1779 | 3.2267 | 3.2765
Small C&I | CPP | Winter | 0 | 0 | 1.1846 | 1.0154 | 0.84161 | 0.81224 | 0.81645 | 0.82718 | 0.83909 | 0.85131 | 0.8638 | 0.87656 | 0.88961 | 0.90288 | 0.91644 | 0.93028 | 0.94444 | 0.95884 | 0.97356 | 0.98859
Small C&I | CPP w/Tech | Winter | 0 | 0 | 2.0934 | 1.8467 | 1.592 | 1.5566 | 1.568 | 1.5891 | 1.612 | 1.6355 | 1.6595 | 1.684 | 1.7091 | 1.7346 | 1.7606 | 1.7872 | 1.8144 | 1.8421 | 1.8704 | 1.8992
Medium C&I | Third-Party DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | Curtailable Tariff | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | CPP | Winter | 0 | 0 | 26.3951 | 22.6265 | 18.7524 | 18.0983 | 18.1914 | 18.4299 | 18.6947 | 18.9666 | 19.2445 | 19.528 | 19.8184 | 20.1135 | 20.4151 | 20.7229 | 21.0378 | 21.3581 | 21.6855 | 22.0198
Medium C&I | CPP w/Tech | Winter | 0 | 0 | 42.7382 | 37.7026 | 32.5005 | 31.7784 | 32.0096 | 32.4388 | 32.9063 | 33.385 | 33.8742 | 34.3733 | 34.8844 | 35.4038 | 35.9347 | 36.4766 | 37.0309 | 37.5946 | 38.171 | 38.7593
Large C&I | Third-Party DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | Curtailable Tariff | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | CPP | Winter | 0 | 0 | 51.3103 | 44.0561 | 36.5605 | 35.3878 | 35.6768 | 36.2515 | 36.8763 | 37.5158 | 38.1706 | 38.8379 | 39.5191 | 40.211 | 40.918 | 41.6389 | 42.3751 | 43.1234 | 43.8879 | 44.6678
Large C&I | CPP w/Tech | Winter | 0 | 0 | 96.9267 | 85.6458 | 73.9252 | 72.4929 | 73.2398 | 74.4416 | 75.7276 | 77.0413 | 78.386 | 79.7564 | 81.1552 | 82.5762 | 84.028 | 85.5084 | 87.0202 | 88.557 | 90.127 | 91.7285
Agricultural | Pumping Load Control | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Agricultural | TOU | Winter | 0 | 0 | 0.060886 | 0.054578 | 0.048129 | 0.04504 | 0.044777 | 0.043939 | 0.043102 | 0.042268 | 0.041488 | 0.040897 | 0.039977 | 0.0392 | 0.038431 | 0.037649 | 0.036839 | 0.035994 | 0.035202 | 0.034371
Measure-level Peak Reduction Potential: Winter (MW, grossed up for line losses)
Maximum Achievable Potential Opt-In Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | Space Heating DLC | Winter | 2.2815 | 9.6572 | 17.1712 | 19.3273 | 19.8236 | 20.0806 | 20.3034 | 20.5235 | 20.7452 | 20.9693 | 21.1958 | 21.4247 | 21.6561 | 21.89 | 22.1264 | 22.3653 | 22.6069 | 22.851 | 23.0978 | 23.3473
Residential | Water Heating DLC | Winter | 7.2092 | 30.3258 | 53.6255 | 60.0673 | 61.3484 | 61.9125 | 62.395 | 62.8911 | 63.4116 | 63.9564 | 64.5236 | 65.1116 | 65.719 | 66.3444 | 66.9866 | 67.6446 | 68.3176 | 69.0048 | 69.7054 | 70.419
Residential | AC/Space Heating DLC | Winter | 1.7454 | 7.3881 | 13.1367 | 14.7861 | 15.1658 | 15.3624 | 15.5329 | 15.7012 | 15.8709 | 16.0423 | 16.2156 | 16.3907 | 16.5677 | 16.7467 | 16.9275 | 17.1103 | 17.2951 | 17.4819 | 17.6707 | 17.8616
Residential | TOU | Winter | 0 | 0 | 3.963 | 16.6701 | 29.4632 | 32.9914 | 33.6489 | 33.8586 | 34.0069 | 34.1478 | 34.2883 | 34.4297 | 34.5718 | 34.7152 | 34.8593 | 35.0045 | 35.1505 | 35.2977 | 35.4459 | 35.595
Residential | PTR | Winter | 0 | 0 | 7.3255 | 30.814 | 54.4617 | 60.9833 | 62.1988 | 62.5864 | 62.8604 | 63.1208 | 63.3806 | 63.6419 | 63.9047 | 64.1696 | 64.4362 | 64.7045 | 64.9744 | 65.2465 | 65.5203 | 65.7959
Residential | PTR w/Tech | Winter | 0 | 0 | 1.61 | 6.7724 | 11.9698 | 13.4032 | 13.6703 | 13.7555 | 13.8157 | 13.8729 | 13.9301 | 13.9875 | 14.0452 | 14.1035 | 14.162 | 14.221 | 14.2803 | 14.3401 | 14.4003 | 14.4609
Residential | CPP | Winter | 0 | 0 | 5.4548 | 22.9454 | 40.5544 | 45.4107 | 46.3158 | 46.6044 | 46.8085 | 47.0024 | 47.1959 | 47.3904 | 47.5861 | 47.7834 | 47.9819 | 48.1816 | 48.3826 | 48.5853 | 48.7892 | 48.9944
Residential | CPP w/Tech | Winter | 0 | 0 | 1.2038 | 5.0637 | 8.9498 | 10.0215 | 10.2213 | 10.285 | 10.33 | 10.3728 | 10.4155 | 10.4584 | 10.5016 | 10.5451 | 10.5889 | 10.633 | 10.6774 | 10.7221 | 10.7671 | 10.8124
Residential | Behavioral DR | Winter | 1.6025 | 6.739 | 11.9007 | 13.3059 | 13.5609 | 13.6488 | 13.7083 | 13.7648 | 13.8211 | 13.8779 | 13.9349 | 13.9924 | 14.0501 | 14.1084 | 14.167 | 14.226 | 14.2853 | 14.3451 | 14.4053 | 14.4659
Residential | BYOT - AC | Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Residential | BYOT - Space Heating | Winter | 1.4259 | 6.0358 | 10.732 | 12.0796 | 12.3898 | 12.5504 | 12.6896 | 12.8272 | 12.9658 | 13.1058 | 13.2474 | 13.3904 | 13.535 | 13.6812 | 13.829 | 13.9783 | 14.1293 | 14.2819 | 14.4361 | 14.5921
Residential | BYOT - AC/Space Heating | Winter | 1.0909 | 4.6176 | 8.2104 | 9.2413 | 9.4786 | 9.6015 | 9.708 | 9.8133 | 9.9193 | 10.0264 | 10.1347 | 10.2442 | 10.3548 | 10.4667 | 10.5797 | 10.694 | 10.8095 | 10.9262 | 11.0442 | 11.1635
Residential | Smart Water Heater DLC | Winter | 0.16096 | 0.9708 | 3.0081 | 6.3003 | 10.4544 | 15.1423 | 20.2805 | 25.4437 | 30.6294 | 35.8359 | 41.0623 | 46.3085 | 51.5734 | 56.8561 | 62.1561 | 67.4732 | 72.8072 | 78.1571 | 83.523 | 88.9049
Residential | Electric Vehicle DLC | Winter | 0.29497 | 0.41253 | 0.5301 | 0.64766 | 0.76522 | 0.94539 | 1.1256 | 1.3057 | 1.4859 | 1.6661 | 1.9632 | 2.2603 | 2.5574 | 2.8545 | 3.1516 | 3.5213 | 3.8911 | 4.2608 | 4.6306 | 5.0003
Small C&I | AC DLC | Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Small C&I | Space Heating DLC | Winter | 0.68825 | 2.909 | 5.1648 | 5.8046 | 5.9447 | 6.0497 | 6.1453 | 6.2408 | 6.3374 | 6.4355 | 6.535 | 6.6361 | 6.7386 | 6.8428 | 6.9485 | 7.0558 | 7.1648 | 7.2754 | 7.3876 | 7.5015
Small C&I | Water Heating DLC | Winter | 0.15045 | 0.63594 | 1.1291 | 1.2689 | 1.2996 | 1.3225 | 1.3434 | 1.3643 | 1.3854 | 1.4068 | 1.4286 | 1.4507 | 1.4731 | 1.4959 | 1.519 | 1.5425 | 1.5663 | 1.5904 | 1.615 | 1.6399
Small C&I | AC/Space Heating DLC | Winter | 0.48579 | 2.0533 | 3.6455 | 4.0971 | 4.196 | 4.2701 | 4.3376 | 4.4049 | 4.4731 | 4.5424 | 4.6126 | 4.684 | 4.7564 | 4.8299 | 4.9045 | 4.9802 | 5.0571 | 5.1352 | 5.2144 | 5.2948
Small C&I | TOU | Winter | 0 | 0 | 0.0096016 | 0.040492 | 0.071478 | 0.081435 | 0.083907 | 0.085299 | 0.086566 | 0.087833 | 0.089122 | 0.090438 | 0.091785 | 0.093154 | 0.094553 | 0.095981 | 0.097442 | 0.098928 | 0.10045 | 0.102
Small C&I | PTR | Winter | 0 | 0 | 0.058216 | 0.24551 | 0.43338 | 0.49375 | 0.50874 | 0.51718 | 0.52486 | 0.53254 | 0.54036 | 0.54834 | 0.55651 | 0.56481 | 0.57329 | 0.58195 | 0.59081 | 0.59981 | 0.60902 | 0.61842
Small C&I | PTR w/Tech | Winter | 0 | 0 | 0.10585 | 0.44641 | 0.78802 | 0.89779 | 0.92504 | 0.94038 | 0.95436 | 0.96832 | 0.98254 | 0.99705 | 1.0119 | 1.027 | 1.0424 | 1.0582 | 1.0743 | 1.0906 | 1.1074 | 1.1245
Small C&I | CPP | Winter | 0 | 0 | 0.033236 | 0.14016 | 0.24742 | 0.28189 | 0.29045 | 0.29526 | 0.29965 | 0.30404 | 0.3085 | 0.31306 | 0.31772 | 0.32246 | 0.3273 | 0.33224 | 0.3373 | 0.34244 | 0.3477 | 0.35307
Small C&I | CPP w/Tech | Winter | 0 | 0 | 0.051822 | 0.21854 | 0.38578 | 0.43952 | 0.45286 | 0.46038 | 0.46722 | 0.47405 | 0.48101 | 0.48812 | 0.49539 | 0.50277 | 0.51033 | 0.51803 | 0.52592 | 0.53394 | 0.54213 | 0.5505
Medium C&I | Third-Party DLC | Winter | 4.2378 | 18.4684 | 32.5734 | 36.5133 | 37.1645 | 38.0593 | 38.6143 | 39.1712 | 39.7411 | 40.3199 | 40.9108 | 41.5136 | 42.1309 | 42.7583 | 43.3994 | 44.0538 | 44.7233 | 45.4041 | 46.1002 | 46.8108
Medium C&I | Curtailable Tariff | Winter | 18.9605 | 19.6997 | 19.7236 | 19.8304 | 19.8702 | 20.3051 | 20.5952 | 20.8914 | 21.1952 | 21.504 | 21.8191 | 22.1406 | 22.4698 | 22.8044 | 23.1464 | 23.4954 | 23.8524 | 24.2155 | 24.5868 | 24.9658
Medium C&I | CPP | Winter | 0 | 0 | 0.59248 | 2.4986 | 4.4104 | 5.0249 | 5.1772 | 5.2629 | 5.341 | 5.419 | 5.4984 | 5.5794 | 5.6624 | 5.7467 | 5.8329 | 5.9208 | 6.0108 | 6.1023 | 6.1959 | 6.2914
Medium C&I | CPP w/Tech | Winter | 0 | 0 | 1.058 | 4.4618 | 7.8757 | 8.973 | 9.2449 | 9.398 | 9.5374 | 9.6767 | 9.8186 | 9.9633 | 10.1114 | 10.262 | 10.4159 | 10.5729 | 10.7336 | 10.897 | 11.064 | 11.2346
Large C&I | Third-Party DLC | Winter | 5.9906 | 26.1379 | 46.1711 | 51.8401 | 52.8335 | 54.263 | 55.2198 | 56.182 | 57.1603 | 58.153 | 59.1682 | 60.2026 | 61.2585 | 62.331 | 63.4269 | 64.5444 | 65.6855 | 66.8456 | 68.0307 | 69.2395
Large C&I | Curtailable Tariff | Winter | 64.3271 | 66.9129 | 67.0972 | 67.5706 | 67.7945 | 69.48 | 70.6846 | 71.9134 | 73.1652 | 74.4359 | 75.7352 | 77.0593 | 78.4108 | 79.7837 | 81.1865 | 82.6169 | 84.0775 | 85.5623 | 87.0793 | 88.6266
Large C&I | CPP | Winter | 0 | 0 | 1.1517 | 4.8651 | 8.5987 | 9.8252 | 10.1534 | 10.3521 | 10.5353 | 10.7187 | 10.9059 | 11.0965 | 11.2912 | 11.4889 | 11.6909 | 11.8968 | 12.1072 | 12.321 | 12.5394 | 12.7622
Large C&I | CPP w/Tech | Winter | 0 | 0 | 2.9993 | 12.6695 | 22.3925 | 25.5864 | 26.4412 | 26.9585 | 27.4357 | 27.9133 | 28.4007 | 28.8972 | 29.4041 | 29.9189 | 30.4449 | 30.9813 | 31.5291 | 32.0859 | 32.6547 | 33.235
Agricultural | Pumping Load Control | Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agricultural | TOU | Winter | 0 | 0 | 0.00097369 | 0.0040777 | 0.0071479 | 0.0077213 | 0.0078399 | 0.0077155 | 0.0075715 | 0.0074255 | 0.0072884 | 0.0071847 | 0.007023 | 0.0068865 | 0.0067513 | 0.0066141 | 0.0064717 | 0.0063232 | 0.0061841 | 0.0060381
Measure-level Peak Reduction Potential: Winter (% of System Peak, grossed up for line losses)
Maximum Achievable Potential Opt-Out Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Water Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | AC/Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | TOU | Winter | 0% | 0% | 1.927% | 1.816% | 1.703% | 1.679% | 1.657% | 1.649% | 1.641% | 1.633% | 1.625% | 1.617% | 1.609% | 1.601% | 1.592% | 1.584% | 1.576% | 1.568% | 1.559% | 1.551%
Residential | PTR | Winter | 0% | 0% | 3.945% | 3.837% | 3.722% | 3.705% | 3.663% | 3.645% | 3.628% | 3.61% | 3.593% | 3.575% | 3.557% | 3.538% | 3.52% | 3.502% | 3.484% | 3.465% | 3.446% | 3.428%
Residential | PTR w/Tech | Winter | 0% | 0% | 0.6956% | 0.6829% | 0.6691% | 0.6679% | 0.6605% | 0.6573% | 0.6542% | 0.6511% | 0.6479% | 0.6447% | 0.6414% | 0.6381% | 0.6348% | 0.6315% | 0.6282% | 0.6249% | 0.6215% | 0.6182%
Residential | CPP | Winter | 0% | 0% | 3.512% | 3.274% | 3.03% | 2.976% | 2.936% | 2.921% | 2.907% | 2.893% | 2.879% | 2.864% | 2.85% | 2.835% | 2.821% | 2.806% | 2.791% | 2.776% | 2.761% | 2.747%
Residential | CPP w/Tech | Winter | 0% | 0% | 0.6263% | 0.6041% | 0.5808% | 0.5768% | 0.57% | 0.5672% | 0.5645% | 0.5618% | 0.559% | 0.5563% | 0.5535% | 0.5506% | 0.5478% | 0.5449% | 0.5421% | 0.5392% | 0.5363% | 0.5334%
Residential | Behavioral DR | Winter | 1.839% | 1.719% | 1.524% | 1.488% | 1.481% | 1.485% | 1.47% | 1.463% | 1.456% | 1.449% | 1.442% | 1.435% | 1.428% | 1.42% | 1.413% | 1.406% | 1.398% | 1.391% | 1.383% | 1.376%
Residential | BYOT - AC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - Space Heating | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | BYOT - AC/Space Heating | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Smart Water Heater DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Residential | Electric Vehicle DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | Water Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | AC/Space Heating DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Small C&I | TOU | Winter | 0% | 0% | 0.01644% | 0.01481% | 0.0131% | 0.01292% | 0.01285% | 0.01291% | 0.01298% | 0.01305% | 0.01313% | 0.0132% | 0.01327% | 0.01335% | 0.01342% | 0.0135% | 0.01357% | 0.01365% | 0.01373% | 0.01381%
Small C&I | PTR | Winter | 0% | 0% | 0.05999% | 0.05338% | 0.04647% | 0.0456% | 0.04532% | 0.04553% | 0.04578% | 0.04604% | 0.04629% | 0.04655% | 0.04682% | 0.04707% | 0.04734% | 0.0476% | 0.04788% | 0.04815% | 0.04842% | 0.0487%
Small C&I | PTR w/Tech | Winter | 0% | 0% | 0.08803% | 0.08088% | 0.07328% | 0.07281% | 0.07249% | 0.07285% | 0.07326% | 0.07367% | 0.07407% | 0.07449% | 0.07491% | 0.07532% | 0.07574% | 0.07617% | 0.07661% | 0.07704% | 0.07747% | 0.07792%
Small C&I | CPP | Winter | 0% | 0% | 0.03244% | 0.02775% | 0.02291% | 0.02209% | 0.02189% | 0.02198% | 0.0221% | 0.02223% | 0.02235% | 0.02248% | 0.0226% | 0.02273% | 0.02285% | 0.02298% | 0.02311% | 0.02324% | 0.02337% | 0.02351%
Small C&I | CPP w/Tech | Winter | 0% | 0% | 0.05732% | 0.05047% | 0.04333% | 0.04233% | 0.04204% | 0.04223% | 0.04247% | 0.0427% | 0.04294% | 0.04318% | 0.04342% | 0.04366% | 0.04391% | 0.04415% | 0.04441% | 0.04466% | 0.04491% | 0.04517%
Medium C&I | Third-Party DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | Curtailable Tariff | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Medium C&I | CPP | Winter | 0% | 0% | 0.7228% | 0.6184% | 0.5104% | 0.4922% | 0.4877% | 0.4898% | 0.4925% | 0.4952% | 0.4979% | 0.5007% | 0.5035% | 0.5063% | 0.5091% | 0.5119% | 0.5149% | 0.5178% | 0.5207% | 0.5237%
Medium C&I | CPP w/Tech | Winter | 0% | 0% | 1.17% | 1.03% | 0.8846% | 0.8642% | 0.8582% | 0.862% | 0.8669% | 0.8717% | 0.8764% | 0.8814% | 0.8863% | 0.8911% | 0.8961% | 0.9011% | 0.9063% | 0.9114% | 0.9165% | 0.9217%
Large C&I | Third-Party DLC | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | Curtailable Tariff | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Large C&I | CPP | Winter | 0% | 0% | 1.405% | 1.204% | 0.9951% | 0.9624% | 0.9565% | 0.9634% | 0.9715% | 0.9795% | 0.9876% | 0.9958% | 1.004% | 1.012% | 1.02% | 1.029% | 1.037% | 1.045% | 1.054% | 1.062%
Large C&I | CPP w/Tech | Winter | 0% | 0% | 2.654% | 2.341% | 2.012% | 1.972% | 1.964% | 1.978% | 1.995% | 2.012% | 2.028% | 2.045% | 2.062% | 2.078% | 2.095% | 2.112% | 2.13% | 2.147% | 2.164% | 2.181%
Agricultural | Pumping Load Control | Winter | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Agricultural | TOU | Winter | 0% | 0% | 0.001667% | 0.001492% | 0.00131% | 0.001225% | 0.0012% | 0.001168% | 0.001135% | 0.001104% | 0.001073% | 0.001049% | 0.001016% | 0.0009867% | 0.0009584% | 0.0009301% | 0.0009016% | 0.0008726% | 0.0008452% | 0.0008174%
Measure-level Peak Reduction Potential: Winter (% of System Peak, grossed up for line losses)
Maximum Achievable Potential Opt-in Scenario
Class | Program | Season | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Residential | AC DLC | Winter | bar: 2016 to 2035
Residential | Space Heating DLC | Winter | 0.06393% | 0.2737% | 0.4702% | 0.5282% | 0.5396% | 0.5461% | 0.5443% | 0.5454% | 0.5465% | 0.5475% | 0.5484% | 0.5494% | 0.5502% | 0.551% | 0.5518% | 0.5525% | 0.5533% | 0.554% | 0.5546% | 0.5552%
Residential | Water Heating DLC | Winter | 0.202% | 0.8593% | 1.468% | 1.642% | 1.67% | 1.684% | 1.673% | 1.671% | 1.67% | 1.67% | 1.669% | 1.67% | 1.67% | 1.67% | 1.67% | 1.671% | 1.672% | 1.673% | 1.674% | 1.675%
Residential | AC/Space Heating DLC | Winter | 0.04891% | 0.2094% | 0.3597% | 0.4041% | 0.4128% | 0.4178% | 0.4164% | 0.4173% | 0.4181% | 0.4189% | 0.4195% | 0.4203% | 0.4209% | 0.4215% | 0.4221% | 0.4227% | 0.4233% | 0.4238% | 0.4243% | 0.4248%
Residential | TOU | Winter | 0% | 0% | 0.1085% | 0.4556% | 0.8019% | 0.8972% | 0.9021% | 0.8998% | 0.8959% | 0.8916% | 0.8871% | 0.8828% | 0.8783% | 0.8738% | 0.8693% | 0.8647% | 0.8603% | 0.8557% | 0.851% | 0.8465%
Residential | PTR | Winter | 0% | 0% | 0.2006% | 0.8421% | 1.482% | 1.659% | 1.668% | 1.663% | 1.656% | 1.648% | 1.64% | 1.632% | 1.624% | 1.615% | 1.607% | 1.598% | 1.59% | 1.582% | 1.573% | 1.565%
Residential | PTR w/Tech | Winter | 0% | 0% | 0.04409% | 0.1851% | 0.3258% | 0.3645% | 0.3665% | 0.3655% | 0.364% | 0.3622% | 0.3604% | 0.3587% | 0.3568% | 0.355% | 0.3532% | 0.3513% | 0.3495% | 0.3476% | 0.3457% | 0.3439%
Residential | CPP | Winter | 0% | 0% | 0.1494% | 0.6271% | 1.104% | 1.235% | 1.242% | 1.238% | 1.233% | 1.227% | 1.221% | 1.215% | 1.209% | 1.203% | 1.197% | 1.19% | 1.184% | 1.178% | 1.171% | 1.165%
Residential | CPP w/Tech | Winter | 0% | 0% | 0.03296% | 0.1384% | 0.2436% | 0.2725% | 0.274% | 0.2733% | 0.2721% | 0.2708% | 0.2695% | 0.2682% | 0.2668% | 0.2654% | 0.2641% | 0.2627% | 0.2613% | 0.2599% | 0.2585% | 0.2571%
Residential | Behavioral DR | Winter | 0.0449% | 0.191% | 0.3259% | 0.3636% | 0.3691% | 0.3712% | 0.3675% | 0.3658% | 0.3641% | 0.3623% | 0.3605% | 0.3588% | 0.357% | 0.3551% | 0.3533% | 0.3514% | 0.3496% | 0.3478% | 0.3459% | 0.344%
Residential | BYOT - AC | Winter | bar: 2016 to 2035
Residential | BYOT - Space Heating | Winter | 0.03995% | 0.171% | 0.2939% | 0.3301% | 0.3372% | 0.3413% | 0.3402% | 0.3409% | 0.3416% | 0.3422% | 0.3428% | 0.3433% | 0.3439% | 0.3444% | 0.3449% | 0.3453% | 0.3458% | 0.3462% | 0.3466% | 0.347%
Residential | BYOT - AC/Space Heating | Winter | 0.03057% | 0.1308% | 0.2248% | 0.2526% | 0.258% | 0.2611% | 0.2603% | 0.2608% | 0.2613% | 0.2618% | 0.2622% | 0.2627% | 0.2631% | 0.2634% | 0.2638% | 0.2642% | 0.2645% | 0.2649% | 0.2652% | 0.2655%
Residential | Smart Water Heater DLC | Winter | 0.00451% | 0.02751% | 0.08237% | 0.1722% | 0.2846% | 0.4118% | 0.5437% | 0.6762% | 0.8069% | 0.9357% | 1.062% | 1.187% | 1.31% | 1.431% | 1.55% | 1.667% | 1.782% | 1.895% | 2.005% | 2.114%
Residential | Electric Vehicle DLC | Winter | 0.008265% | 0.01169% | 0.01452% | 0.0177% | 0.02083% | 0.02571% | 0.03018% | 0.0347% | 0.03914% | 0.0435% | 0.05079% | 0.05796% | 0.06497% | 0.07185% | 0.07859% | 0.08699% | 0.09523% | 0.1033% | 0.1112% | 0.1189%
Small C&I | AC DLC | Winter | bar: 2016 to 2035
Small C&I | Space Heating DLC | Winter | 0.01928% | 0.08243% | 0.1414% | 0.1586% | 0.1618% | 0.1645% | 0.1648% | 0.1658% | 0.1669% | 0.168% | 0.1691% | 0.1702% | 0.1712% | 0.1722% | 0.1733% | 0.1743% | 0.1753% | 0.1764% | 0.1774% | 0.1784%
Small C&I | Water Heating DLC | Winter | 0.004216% | 0.01802% | 0.03092% | 0.03468% | 0.03537% | 0.03597% | 0.03602% | 0.03625% | 0.0365% | 0.03673% | 0.03696% | 0.0372% | 0.03743% | 0.03765% | 0.03788% | 0.0381% | 0.03833% | 0.03856% | 0.03877% | 0.039%
Small C&I | AC/Space Heating DLC | Winter | 0.01361% | 0.05818% | 0.09982% | 0.112% | 0.1142% | 0.1161% | 0.1163% | 0.1171% | 0.1178% | 0.1186% | 0.1193% | 0.1201% | 0.1208% | 0.1216% | 0.1223% | 0.123% | 0.1238% | 0.1245% | 0.1252% | 0.1259%
Small C&I | TOU | Winter | 0% | 0% | 0.0002629% | 0.001107% | 0.001946% | 0.002215% | 0.00225% | 0.002267% | 0.00228% | 0.002293% | 0.002306% | 0.002319% | 0.002332% | 0.002345% | 0.002358% | 0.002371% | 0.002385% | 0.002398% | 0.002412% | 0.002426%
Small C&I | PTR | Winter | 0% | 0% | 0.001594% | 0.00671% | 0.0118% | 0.01343% | 0.01364% | 0.01374% | 0.01383% | 0.0139% | 0.01398% | 0.01406% | 0.01414% | 0.01422% | 0.0143% | 0.01438% | 0.01446% | 0.01454% | 0.01462% | 0.01471%
Small C&I | PTR w/Tech | Winter | 0% | 0% | 0.002899% | 0.0122% | 0.02145% | 0.02442% | 0.0248% | 0.02499% | 0.02514% | 0.02528% | 0.02542% | 0.02557% | 0.02571% | 0.02585% | 0.026% | 0.02614% | 0.02629% | 0.02644% | 0.02659% | 0.02674%
Small C&I | CPP | Winter | 0% | 0% | 0.0009101% | 0.003831% | 0.006734% | 0.007666% | 0.007787% | 0.007847% | 0.007894% | 0.007938% | 0.007982% | 0.008027% | 0.008072% | 0.008116% | 0.008162% | 0.008208% | 0.008255% | 0.008302% | 0.008348% | 0.008396%
Small C&I | CPP w/Tech | Winter | 0% | 0% | 0.001419% | 0.005973% | 0.0105% | 0.01195% | 0.01214% | 0.01223% | 0.01231% | 0.01238% | 0.01245% | 0.01252% | 0.01259% | 0.01265% | 0.01273% | 0.0128% | 0.01287% | 0.01294% | 0.01302% | 0.01309%
Medium C&I | Third-Party DLC | Winter | 0.1187% | 0.5233% | 0.8919% | 0.9979% | 1.012% | 1.035% | 1.035% | 1.041% | 1.047% | 1.053% | 1.058% | 1.064% | 1.07% | 1.076% | 1.082% | 1.088% | 1.095% | 1.101% | 1.107% | 1.113%
Medium C&I | Curtailable Tariff | Winter | 0.5313% | 0.5582% | 0.5401% | 0.542% | 0.5408% | 0.5522% | 0.5522% | 0.5552% | 0.5584% | 0.5615% | 0.5645% | 0.5677% | 0.5709% | 0.574% | 0.5772% | 0.5804% | 0.5838% | 0.587% | 0.5903% | 0.5937%
Medium C&I | CPP | Winter | 0% | 0% | 0.01622% | 0.06829% | 0.12% | 0.1367% | 0.1388% | 0.1399% | 0.1407% | 0.1415% | 0.1423% | 0.1431% | 0.1439% | 0.1446% | 0.1455% | 0.1463% | 0.1471% | 0.1479% | 0.1488% | 0.1496%
Medium C&I | CPP w/Tech | Winter | 0% | 0% | 0.02897% | 0.1219% | 0.2144% | 0.244% | 0.2479% | 0.2497% | 0.2512% | 0.2527% | 0.254% | 0.2555% | 0.2569% | 0.2583% | 0.2597% | 0.2612% | 0.2627% | 0.2642% | 0.2656% | 0.2672%
Large C&I | Third-Party DLC | Winter | 0.1679% | 0.7407% | 1.264% | 1.417% | 1.438% | 1.476% | 1.48% | 1.493% | 1.506% | 1.518% | 1.531% | 1.544% | 1.556% | 1.569% | 1.582% | 1.594% | 1.608% | 1.62% | 1.633% | 1.647%
Large C&I | Curtailable Tariff | Winter | 1.802% | 1.896% | 1.837% | 1.847% | 1.845% | 1.89% | 1.895% | 1.911% | 1.927% | 1.943% | 1.96% | 1.976% | 1.992% | 2.008% | 2.025% | 2.041% | 2.058% | 2.074% | 2.091% | 2.108%
Large C&I | CPP | Winter | 0% | 0% | 0.03154% | 0.133% | 0.234% | 0.2672% | 0.2722% | 0.2751% | 0.2775% | 0.2799% | 0.2822% | 0.2845% | 0.2869% | 0.2892% | 0.2915% | 0.2939% | 0.2963% | 0.2987% | 0.3011% | 0.3035%
Large C&I | CPP w/Tech | Winter | 0% | 0% | 0.08213% | 0.3463% | 0.6095% | 0.6958% | 0.7089% | 0.7164% | 0.7228% | 0.7288% | 0.7348% | 0.741% | 0.7471% | 0.7531% | 0.7592% | 0.7653% | 0.7716% | 0.7778% | 0.784% | 0.7904%
Agricultural | Pumping Load Control | Winter | bar: 2016 to 2035
Agricultural | TOU | Winter | 0% | 0% | 2.666e-05% | 0.0001114% | 0.0001946% | 0.00021% | 0.0002102% | 0.000205% | 0.0001995% | 0.0001939% | 0.0001886% | 0.0001842% | 0.0001784% | 0.0001733% | 0.0001684% | 0.0001634% | 0.0001584% | 0.0001533% | 0.0001485% | 0.0001436%

## Cost Effectiveness
Benefit-Cost Ratios
Opt-out Scenario (Red text indicates ratio is less than 1.0)
Class | Program | Ratio
Residential | AC DLC | N/A
Residential | Space Heating DLC | N/A
Residential | Water Heating DLC | N/A
Residential | AC/Space Heating DLC | N/A
Residential | TOU | 1.2418
Residential | PTR | 1.4909
Residential | PTR w/Tech | 0.85997
Residential | CPP | 1.1508
Residential | CPP w/Tech | 0.83133
Residential | Behavioral DR | 1.0424
Residential | BYOT - AC | N/A
Residential | BYOT - Space Heating | N/A
Residential | BYOT - AC/Space Heating | N/A
Residential | Smart Water Heater DLC | N/A
Residential | Electric Vehicle DLC | N/A
Small C&I | AC DLC | N/A
Small C&I | Space Heating DLC | N/A
Small C&I | Water Heating DLC | N/A
Small C&I | AC/Space Heating DLC | N/A
Small C&I | TOU | 0.11139
Small C&I | PTR | 0.29923
Small C&I | PTR w/Tech | 0.82398
Small C&I | CPP | 0.10993
Small C&I | CPP w/Tech | 0.59794
Medium C&I | Third-Party DLC | N/A
Medium C&I | Curtailable Tariff | N/A
Medium C&I | CPP | 4.8
Medium C&I | CPP w/Tech | 1.7635
Large C&I | Third-Party DLC | N/A
Large C&I | Curtailable Tariff | N/A
Large C&I | CPP | 42.098
Large C&I | CPP w/Tech | 7.1486
Agricultural | Pumping Load Control | N/A
Agricultural | TOU | 0.82952
Benefit-Cost Ratios
Opt-in Scenario (Red text indicates ratio is less than 1.0)
Class | Program | Ratio
Residential | AC DLC | 1.1244
Residential | Space Heating DLC | 1.3068
Residential | Water Heating DLC | 1.2961
Residential | AC/Space Heating DLC | 1.8222
Residential | TOU | 1.2379
Residential | PTR | 1.754
Residential | PTR w/Tech | 1.3195
Residential | CPP | 1.6166
Residential | CPP w/Tech | 1.4853
Residential | Behavioral DR | 0.85266
Residential | BYOT - AC | 1.9391
Residential | BYOT - Space Heating | 1.9764
Residential | BYOT - AC/Space Heating | 2.4317
Residential | Smart Water Heater DLC | 2.2212
Residential | Electric Vehicle DLC | 0.1406
Small C&I | AC DLC | 1.0002
Small C&I | Space Heating DLC | 1.0748
Small C&I | Water Heating DLC | 0.78801
Small C&I | AC/Space Heating DLC | 1.3966
Small C&I | TOU | 0.061802
Small C&I | PTR | 0.16941
Small C&I | PTR w/Tech | 0.79352
Small C&I | CPP | 0.082312
Small C&I | CPP w/Tech | 0.54906
Medium C&I | Third-Party DLC | 1.5871
Medium C&I | Curtailable Tariff | 5.3666
Medium C&I | CPP | 1.9405
Medium C&I | CPP w/Tech | 1.38
Large C&I | Third-Party DLC | 1.5689
Large C&I | Curtailable Tariff | 6.3034
Large C&I | CPP | 14.4177
Large C&I | CPP w/Tech | 6.7025
Agricultural | Pumping Load Control | 0.77811
Agricultural | TOU | 0.28557