## Summer capacity
Resource | Solar (CV)
Nameplate size | 133 | [5 empty] | MW
Approximate Effective Capacity Contribution | 61.18 | [5 empty] | MW
Capacity Contribution in MW Bin
Resource | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
Solar (CV) | 46% | 44.95% | 42.05% | 39.95% | 37.61% | 34.84% | 33.84% | 32.84% | 31.84% | 30.84%
Solar (Mcmn) | 47% | 47% | 46.07% | 44.44% | 42.03% | 39.09% | 38.09% | 37.09% | 36.09% | 35.09%
Solar (Wasco) | 48% | 46.95% | 45.22% | 43.15% | 40.61% | 37.72% | 36.72% | 35.72% | 34.72% | 33.72%
Solar plus Storage: 4-hour Duration, CV, 1:1 | 106% | 106% | 105.5% | 101.8% | 86.22% | 70.84% | 69.84% | 68.84% | 67.84% | 66.84%
Solar plus Storage: 4-hour Duration, CV, 2:1 | 78% | 78% | 78% | 77.47% | 76.38% | 69.58% | 68.58% | 67.58% | 66.58% | 65.58%
Solar plus Storage: 4-hour Duration, MCMN, 1:1 | 108.5% | 108.5% | 108.1% | 102.6% | 86.22% | 70.84% | 69.84% | 68.84% | 67.84% | 66.84%
Solar plus Storage: 4-hour Duration, MCMN, 2:1 | 83.75% | 83.75% | 83.75% | 83.75% | 81.27% | 70.84% | 69.84% | 68.84% | 67.84% | 66.84%
Wind Gorge | 50% | 46.85% | 43.75% | 41.42% | 38.27% | 35.43% | 34.43% | 33.43% | 32.43% | 31.43%
Wind SE WA | 23% | 21.25% | 19.68% | 17.7% | 16.02% | 14.95% | 13.95% | 12.95% | 11.95% | 10.95%
Wind MT | 33% | 30.33% | 28.12% | 27.03% | 25.95% | 24.83% | 23.83% | 22.83% | 21.83% | 20.83%
CF200 Solar (CV) | 20% | 19.08% | 16.34% | 14.11% | 12.76% | 11.3% | 10.3% | 9.301% | 8.301% | 7.301%
CF200 Solar (Mcmn) | 21% | 20.3% | 17.29% | 14.81% | 13.26% | 11.68% | 10.68% | 9.679% | 8.679% | 7.679%
CF200 Solar (Wasco) | 22% | 18.85% | 16.22% | 15.38% | 13.81% | 11.66% | 10.66% | 9.66% | 8.66% | 7.66%
CF200 Solar plus Storage: 4-hour Duration, CV, 1:1 | 57% | 49.3% | 43.2% | 39.02% | 34.28% | 30.72% | 29.72% | 28.72% | 27.72% | 26.72%
CF200 Solar plus Storage: 4-hour Duration, CV, 2:1 | 38% | 36.73% | 32.32% | 28.86% | 26.49% | 24.89% | 23.89% | 22.89% | 21.89% | 20.89%
CF200 Solar plus Storage: 4-hour Duration, MCMN, 1:1 | 57% | 49.65% | 44.06% | 39.64% | 35.04% | 31.51% | 30.51% | 29.51% | 28.51% | 27.51%
CF200 Solar plus Storage: 4-hour Duration, MCMN, 2:1 | 41% | 39.25% | 34.64% | 30.41% | 28.3% | 26.11% | 25.11% | 24.11% | 23.11% | 22.11%
CF200 Wind Gorge | 28% | 26.25% | 23.28% | 20.52% | 18.8% | 17.77% | 16.77% | 15.77% | 14.77% | 13.77%
CF200 Wind SE WA | 16% | 13.9% | 12.07% | 10.85% | 10.01% | 9.59% | 8.59% | 7.59% | 6.59% | 5.59%
CF200 Wind MT | 20% | 17.55% | 15.92% | 14.5% | 13.44% | 12.52% | 11.52% | 10.52% | 9.521% | 8.521%
Li-Ion Storage: 2-hr | 44% | 39.1% | 33.12% | 29.74% | 28.02% | 26.71% | 25.71% | 24.71% | 23.71% | 22.71%
Li-Ion Storage: 4-hr | 66% | 60.18% | 53.93% | 51.05% | 48.33% | 45.72% | 44.72% | 43.72% | 42.72% | 41.72%
Li-Ion Storage: 6-hr | 78% | 78% | 76.13% | 72.65% | 68.35% | 63.5% | 62.5% | 61.5% | 60.5% | 59.5%
Pumped Hydro Storage: 10-hr | 110% | 109.3% | 108.3% | 102.6% | 86.22% | 70.84% | 69.84% | 68.84% | 67.84% | 66.84%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP (March 2023) and subject to change.
Results are based on proxy resources.
This provides an approximate value based on the ELCC bin of the nearest 100 MW. For example, if 520 MW of resource X are tested, the 520 MW are multiplied by the ELCC value from the 500 MW bin of that resource. Values are not exact.

## Winter capacity
Resource | Solar (CV)
Nameplate size | 813 | [5 empty] | MW
Approximate Effective Capacity Contribution | 88.0479 | [5 empty] | MW
Capacity Contribution in MW Bin
Resource | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
Solar (CV) | 14.18% | 14.18% | 13.58% | 13.8% | 13.72% | 12.83% | 11.83% | 10.83% | 9.83% | 8.83%
Solar (Mcmn) | 10% | 10% | 10% | 10% | 9.3% | 9.207% | 8.207% | 7.207% | 6.207% | 5.207%
Solar (Wasco) | 12% | 10.6% | 8.6% | 8.35% | 8.71% | 8.59% | 7.59% | 6.59% | 5.59% | 4.59%
Solar plus Storage: 4-hour Duration, CV, 1:1 | 52% | 43.95% | 38.75% | 35.9% | 33.32% | 29.26% | 28.26% | 27.26% | 26.26% | 25.26%
Solar plus Storage: 4-hour Duration, CV, 2:1 | 32.5% | 32.5% | 30.75% | 29.65% | 28.45% | 27.42% | 26.42% | 25.42% | 24.42% | 23.42%
Solar plus Storage: 4-hour Duration, MCMN, 1:1 | 49% | 42.26% | 36.31% | 33.42% | 31.1% | 28.49% | 27.49% | 26.49% | 25.49% | 24.49%
Solar plus Storage: 4-hour Duration, MCMN, 2:1 | 32% | 30.6% | 28.37% | 25.8% | 23.46% | 22.01% | 21.01% | 20.01% | 19.01% | 18.01%
Wind Gorge | 32.5% | 32.5% | 31.22% | 28.98% | 25.7% | 23.25% | 22.25% | 21.25% | 20.25% | 19.25%
Wind SE WA | 34.74% | 33.87% | 29.88% | 25.65% | 24.43% | 22.95% | 21.95% | 20.95% | 19.95% | 18.95%
Wind MT | 69% | 64.23% | 55.98% | 45.22% | 35.91% | 29.5% | 28.5% | 27.5% | 26.5% | 25.5%
CF200 Solar (CV) | 13% | 13% | 13% | 12.83% | 12.78% | 11.89% | 10.89% | 9.89% | 8.89% | 7.89%
CF200 Solar (Mcmn) | 8.5% | 8.5% | 8.5% | 7.975% | 7.992% | 8.114% | 7.114% | 6.114% | 5.114% | 4.114%
CF200 Solar (Wasco) | 9.5% | 9.5% | 7.75% | 7.35% | 7.29% | 7.41% | 6.41% | 5.41% | 4.41% | 3.41%
CF200 Solar plus Storage: 4-hour Duration, CV, 1:1 | 49% | 42.7% | 40.93% | 38.82% | 34.7% | 29.5% | 28.5% | 27.5% | 26.5% | 25.5%
CF200 Solar plus Storage: 4-hour Duration, CV, 2:1 | 31.5% | 31.5% | 29.98% | 27.87% | 27.35% | 27.7% | 26.7% | 25.7% | 24.7% | 23.7%
CF200 Solar plus Storage: 4-hour Duration, MCMN, 1:1 | 48% | 42.4% | 38.85% | 34.58% | 31.65% | 30.65% | 29.65% | 28.65% | 27.65% | 26.65%
CF200 Solar plus Storage: 4-hour Duration, MCMN, 2:1 | 29% | 26.9% | 26.5% | 25.28% | 23.54% | 22.04% | 21.04% | 20.04% | 19.04% | 18.04%
CF200 Wind Gorge | 28% | 26.6% | 25.53% | 23.41% | 21.76% | 19.84% | 18.84% | 17.84% | 16.84% | 15.84%
CF200 Wind SE WA | 31.5% | 31.5% | 27.65% | 23.55% | 21.73% | 19.95% | 18.95% | 17.95% | 16.95% | 15.95%
CF200 Wind MT | 54% | 53.3% | 47.63% | 42.65% | 35.83% | 29.5% | 28.5% | 27.5% | 26.5% | 25.5%
Li-Ion Storage: 2-hr | 18% | 15.2% | 13.77% | 12.5% | 12.14% | 11.83% | 10.83% | 9.829% | 8.829% | 7.829%
Li-Ion Storage: 4-hr | 28% | 25.2% | 23.53% | 20.12% | 17.66% | 16.24% | 15.24% | 14.24% | 13.24% | 12.24%
Li-Ion Storage: 6-hr | 41% | 36.45% | 29.48% | 24.82% | 21.82% | 19.95% | 18.95% | 17.95% | 16.95% | 15.95%
Pumped Hydro Storage: 10-hr | 57% | 46.15% | 37.18% | 31.42% | 28.38% | 25.37% | 24.37% | 23.37% | 22.37% | 21.37%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP (March 2023) and subject to change.
Results are based on proxy resources.
This provides an approximate value based on the ELCC bin of the nearest 100 MW. For example, if 520 MW of resource X are tested, the 520 MW are multiplied by the ELCC value from the 500 MW bin of that resource. Values are not exact.

## Average capacity
Resource | Solar (CV)
Nameplate size | 51 | [5 empty] | MW
Approximate Effective Capacity Contribution | 15.3459 | [5 empty] | MW
Capacity Contribution in MW Bin
Resource | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
Solar (CV) | 30.09% | 29.56% | 27.82% | 26.87% | 25.66% | 23.83% | 22.83% | 21.83% | 20.83% | 19.83%
Solar (Mcmn) | 28.5% | 28.5% | 28.03% | 27.22% | 25.67% | 24.15% | 23.15% | 22.15% | 21.15% | 20.15%
Solar (Wasco) | 30% | 28.77% | 26.91% | 25.75% | 24.66% | 23.16% | 22.16% | 21.16% | 20.16% | 19.16%
Solar plus Storage: 4-hour Duration, CV, 1:1 | 79% | 74.97% | 72.14% | 68.84% | 59.77% | 50.05% | 49.05% | 48.05% | 47.05% | 46.05%
Solar plus Storage: 4-hour Duration, CV, 2:1 | 55.25% | 55.25% | 54.37% | 53.56% | 52.41% | 48.5% | 47.5% | 46.5% | 45.5% | 44.5%
Solar plus Storage: 4-hour Duration, MCMN, 1:1 | 78.75% | 75.38% | 72.23% | 68% | 58.66% | 49.66% | 48.66% | 47.66% | 46.66% | 45.66%
Solar plus Storage: 4-hour Duration, MCMN, 2:1 | 57.88% | 57.17% | 56.06% | 54.78% | 52.36% | 46.42% | 45.42% | 44.42% | 43.42% | 42.42%
Wind Gorge | 41.25% | 39.67% | 37.48% | 35.2% | 31.98% | 29.34% | 28.34% | 27.34% | 26.34% | 25.34%
Wind SE WA | 28.87% | 27.56% | 24.78% | 21.67% | 20.22% | 18.95% | 17.95% | 16.95% | 15.95% | 14.95%
Wind MT | 51% | 47.28% | 42.05% | 36.12% | 30.93% | 27.17% | 26.17% | 25.17% | 24.17% | 23.17%
CF200 Solar (CV) | 16.5% | 16.04% | 14.67% | 13.47% | 12.77% | 11.6% | 10.6% | 9.595% | 8.595% | 7.595%
CF200 Solar (Mcmn) | 14.75% | 14.4% | 12.9% | 11.39% | 10.63% | 9.897% | 8.897% | 7.897% | 6.897% | 5.897%
CF200 Solar (Wasco) | 15.75% | 14.17% | 11.98% | 11.36% | 10.55% | 9.535% | 8.535% | 7.535% | 6.535% | 5.535%
CF200 Solar plus Storage: 4-hour Duration, CV, 1:1 | 53% | 46% | 42.07% | 38.92% | 34.49% | 30.11% | 29.11% | 28.11% | 27.11% | 26.11%
CF200 Solar plus Storage: 4-hour Duration, CV, 2:1 | 34.75% | 34.11% | 31.15% | 28.37% | 26.92% | 26.3% | 25.3% | 24.3% | 23.3% | 22.3%
CF200 Solar plus Storage: 4-hour Duration, MCMN, 1:1 | 52.5% | 46.02% | 41.46% | 37.11% | 33.35% | 31.08% | 30.08% | 29.08% | 28.08% | 27.08%
CF200 Solar plus Storage: 4-hour Duration, MCMN, 2:1 | 35% | 33.07% | 30.57% | 27.84% | 25.92% | 24.07% | 23.07% | 22.07% | 21.07% | 20.07%
CF200 Wind Gorge | 28% | 26.42% | 24.41% | 21.97% | 20.28% | 18.8% | 17.8% | 16.8% | 15.8% | 14.8%
CF200 Wind SE WA | 23.75% | 22.7% | 19.86% | 17.2% | 15.87% | 14.77% | 13.77% | 12.77% | 11.77% | 10.77%
CF200 Wind MT | 37% | 35.42% | 31.77% | 28.57% | 24.63% | 21.01% | 20.01% | 19.01% | 18.01% | 17.01%
Li-Ion Storage: 2-hr | 31% | 27.15% | 23.45% | 21.12% | 20.08% | 19.27% | 18.27% | 17.27% | 16.27% | 15.27%
Li-Ion Storage: 4-hr | 47% | 42.69% | 38.73% | 35.59% | 33% | 30.98% | 29.98% | 28.98% | 27.98% | 26.98%
Li-Ion Storage: 6-hr | 59.5% | 57.22% | 52.81% | 48.74% | 45.09% | 41.73% | 40.73% | 39.73% | 38.73% | 37.72%
Pumped Hydro Storage: 10-hr | 83.5% | 77.72% | 72.74% | 67% | 57.3% | 48.11% | 47.11% | 46.11% | 45.11% | 44.11%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP (March 2023) and subject to change.
Results are based on proxy resources.
This provides an approximate value based on the ELCC bin of the nearest 100 MW. For example, if 520 MW of resource X are tested, the 520 MW are multiplied by the ELCC value from the 500 MW bin of that resource. Values are not exact.