## Seasonal ELCC
Resource | Solar (Christmas Valley OR)
Nameplate size | 200 | [5 empty] | MW
Approximate Effective Capacity Contribution (Avg) | 43.3 | [5 empty] | MW
Capacity Contribution based on Resource Addition (Nameplate MW)
Resource | Firm Tx Percent | Season | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
Battery Storage (100 hr duration) | 100 | winter | 94% | 91.2% | 89.47% | 88.6% | 84.88% | 82.4% | 79.03% | 76.5% | 74.5% | 72.9%
Battery Storage (100 hr duration) | 100 | summer | 118% | 115.2% | 114.4% | 114% | 113.6% | 113.3% | 113.1% | 113% | 107.2% | 102.5%
Battery Storage (100 hr duration) | 100 | average | 106% | 103.2% | 101.9% | 101.3% | 99.23% | 97.85% | 96.08% | 94.75% | 90.83% | 87.7%
Battery Storage (2 hr duration) | 100 | winter | 14% | 11.9% | 10.37% | 9.6% | 8.82% | 8.3% | 8.529% | 8.7% | 8.478% | 8.3%
Battery Storage (2 hr duration) | 100 | summer | 31% | 31% | 29.13% | 28.2% | 26.22% | 24.9% | 23.99% | 23.3% | 22.74% | 22.3%
Battery Storage (2 hr duration) | 100 | average | 22.5% | 21.45% | 19.75% | 18.9% | 17.52% | 16.6% | 16.26% | 16% | 15.61% | 15.3%
Battery Storage (4 hr duration) | 100 | winter | 22% | 19.2% | 18.4% | 18% | 17.58% | 17.3% | 15.93% | 14.9% | 13.62% | 12.6%
Battery Storage (4 hr duration) | 100 | summer | 46% | 46% | 46% | 46% | 44.74% | 43.9% | 42.19% | 40.9% | 39.62% | 38.6%
Battery Storage (4 hr duration) | 100 | average | 34% | 32.6% | 32.2% | 32% | 31.16% | 30.6% | 29.06% | 27.9% | 26.62% | 25.6%
Battery Storage (6 hr duration) | 100 | winter | 34% | 27% | 25.47% | 24.7% | 22.36% | 20.8% | 18.17% | 16.2% | 14.76% | 13.6%
Battery Storage (6 hr duration) | 100 | summer | 63% | 60.2% | 59.4% | 59% | 58.58% | 58.3% | 57.33% | 56.6% | 54.71% | 53.2%
Battery Storage (6 hr duration) | 100 | average | 48.5% | 43.6% | 42.43% | 41.85% | 40.47% | 39.55% | 37.75% | 36.4% | 34.73% | 33.4%
Pumped Hydro Storage (10 hr duration) | 100 | winter | 45% | 42.9% | 36.23% | 32.9% | 27.62% | 24.1% | 22.1% | 20.6% | 19.1% | 17.9%
Pumped Hydro Storage (10 hr duration) | 100 | summer | 61% | 61% | 61% | 61% | 61% | 61% | 61% | 61% | 59.83% | 58.9%
Pumped Hydro Storage (10 hr duration) | 100 | average | 53% | 51.95% | 48.62% | 46.95% | 44.31% | 42.55% | 41.55% | 40.8% | 39.47% | 38.4%
Solar (Christmas Valley OR) | 75 | winter | 21% | 21% | 18.2% | 16.8% | 14.88% | 13.6% | 12.46% | 11.6% | 10.88% | 10.3%
Solar (Christmas Valley OR) | 75 | summer | 23% | 22.3% | 21.63% | 21.3% | 19.86% | 18.9% | 17.59% | 16.6% | 15.88% | 15.3%
Solar (Christmas Valley OR) | 75 | average | 22% | 21.65% | 19.92% | 19.05% | 17.37% | 16.25% | 15.02% | 14.1% | 13.38% | 12.8%
Solar (McMinville OR) | 75 | winter | 21% | 17.5% | 14.63% | 13.2% | 12.06% | 11.3% | 10.33% | 9.6% | 8.878% | 8.3%
Solar (McMinville OR) | 75 | summer | 26% | 23.9% | 23.77% | 23.7% | 22.2% | 21.2% | 20.11% | 19.3% | 18.74% | 18.3%
Solar (McMinville OR) | 75 | average | 23.5% | 20.7% | 19.2% | 18.45% | 17.13% | 16.25% | 15.22% | 14.45% | 13.81% | 13.3%
Solar (Wasco OR) | 75 | winter | 18% | 15.9% | 13.43% | 12.2% | 10.64% | 9.6% | 8.857% | 8.3% | 7.744% | 7.3%
Solar (Wasco OR) | 75 | summer | 27% | 24.2% | 22.93% | 22.3% | 21.28% | 20.6% | 19.06% | 17.9% | 17.01% | 16.3%
Solar (Wasco OR) | 75 | average | 22.5% | 20.05% | 18.18% | 17.25% | 15.96% | 15.1% | 13.96% | 13.1% | 12.38% | 11.8%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | winter | 36% | 33.2% | 30.53% | 29.2% | 26.8% | 25.2% | 23.71% | 22.6% | 21.88% | 21.3%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | summer | 76% | 76% | 76% | 76% | 75.58% | 75.3% | 73.93% | 72.9% | 72.01% | 71.3%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | average | 56% | 54.6% | 53.27% | 52.6% | 51.19% | 50.25% | 48.82% | 47.75% | 46.94% | 46.3%
Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | winter | 32% | 30.6% | 27.87% | 26.5% | 25.18% | 24.3% | 22.93% | 21.9% | 21.01% | 20.3%
Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | summer | 80% | 80% | 80% | 80% | 80% | 80% | 79.6% | 79.3% | 78.74% | 78.3%
Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | average | 56% | 55.3% | 53.93% | 53.25% | 52.59% | 52.15% | 51.26% | 50.6% | 49.88% | 49.3%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | winter | 25% | 25% | 23.13% | 22.2% | 20.22% | 18.9% | 18.39% | 18% | 18% | 18%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | summer | 56% | 54.6% | 54.2% | 54% | 53.16% | 52.6% | 51.46% | 50.6% | 49.88% | 49.3%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | average | 40.5% | 39.8% | 38.67% | 38.1% | 36.69% | 35.75% | 34.92% | 34.3% | 33.94% | 33.65%
Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | winter | 28% | 25.2% | 22.53% | 21.2% | 18.8% | 17.2% | 16.51% | 16% | 15.61% | 15.3%
Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | summer | 61% | 61% | 60.53% | 60.3% | 59.7% | 59.3% | 58.33% | 57.6% | 56.88% | 56.3%
Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | average | 44.5% | 43.1% | 41.53% | 40.75% | 39.25% | 38.25% | 37.42% | 36.8% | 36.24% | 35.8%
Wind (Gorge) | 75 | winter | 28% | 28% | 25.67% | 24.5% | 22.34% | 20.9% | 19.99% | 19.3% | 18.74% | 18.3%
Wind (Gorge) | 75 | summer | 40% | 40% | 39.07% | 38.6% | 37.4% | 36.6% | 34.26% | 32.5% | 30.89% | 29.6%
Wind (Gorge) | 75 | average | 34% | 34% | 32.37% | 31.55% | 29.87% | 28.75% | 27.12% | 25.9% | 24.82% | 23.95%
Wind (Montana) | 75 | winter | 58% | 50.3% | 42.97% | 39.3% | 36.06% | 33.9% | 32.19% | 30.9% | 28.84% | 27.2%
Wind (Montana) | 75 | summer | 24% | 24% | 23.07% | 22.6% | 21.4% | 20.6% | 19.86% | 19.3% | 18.36% | 17.6%
Wind (Montana) | 75 | average | 41% | 37.15% | 33.02% | 30.95% | 28.73% | 27.25% | 26.02% | 25.1% | 23.6% | 22.4%
Wind (SE WA) | 75 | winter | 43% | 29.7% | 22.17% | 18.4% | 16.96% | 16% | 15.6% | 15.3% | 14.74% | 14.3%
Wind (SE WA) | 75 | summer | 17% | 14.9% | 13.83% | 13.3% | 13.54% | 13.7% | 13.47% | 13.3% | 12.74% | 12.3%
Wind (SE WA) | 75 | average | 30% | 22.3% | 18% | 15.85% | 15.25% | 14.85% | 14.54% | 14.3% | 13.74% | 13.3%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP Update (June 2025) and subject to change.
Results are based on proxy resources.
This provides an approximate value based on the 'average' ELCC bin of the nearest 100 MW. For example, if 520 MW of resource X are tested, the 520 MW are multiplied by the ELCC value from the 500 MW bin of that resource. Values are not exact.

## CF ELCC
This table compares average ELCC under long-term firm transmission or conditional firm transmission, at the level of 75% of renewable nameplate capacity. The conditional firm product is based on a BPA designation of 200 curtailment hours, modeled as 100 curtailed hours. Analysis is shown for renewable and hybrid project types.
Capacity Contribution based on Resource Addition (Nameplate MW)
Resource | Firm Tx Percent | Season | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
CF200 Solar (Christmas Valley OR) | 75 | average | 15.5% | 14.1% | 12.53% | 11.75% | 10.67% | 9.95% | 9.093% | 8.45% | 8.006% | 7.65%
CF200 Solar (McMinville OR) | 75 | average | 12% | 11.65% | 10.85% | 10.45% | 9.76% | 9.3% | 8.929% | 8.65% | 8.372% | 8.15%
CF200 Solar (Wasco OR) | 75 | average | 15.5% | 13.4% | 11.17% | 10.05% | 9% | 8.3% | 7.929% | 7.65% | 7.178% | 6.8%
CF200 Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | average | 43% | 39.85% | 37.08% | 35.7% | 33.51% | 32.05% | 30.45% | 29.25% | 27.86% | 26.75%
CF200 Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | average | 44.5% | 40.65% | 37.22% | 35.5% | 33.55% | 32.25% | 30.42% | 29.05% | 27.49% | 26.25%
CF200 Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | average | 30% | 30% | 27.9% | 26.85% | 25.2% | 24.1% | 23.16% | 22.45% | 21.62% | 20.95%
CF200 Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | average | 31% | 29.6% | 27.33% | 26.2% | 24.43% | 23.25% | 22.62% | 22.15% | 21.29% | 20.6%
CF200 Wind (Gorge) | 75 | average | 31% | 28.9% | 26.2% | 24.85% | 22.57% | 21.05% | 19.65% | 18.6% | 17.49% | 16.6%
CF200 Wind (Montana) | 75 | average | 36% | 28.65% | 25.15% | 23.4% | 21.6% | 20.4% | 19.29% | 18.45% | 17.42% | 16.6%
CF200 Wind (SE WA) | 75 | average | 26% | 19.7% | 16.03% | 14.2% | 13.06% | 12.3% | 11.93% | 11.65% | 11.37% | 11.15%
Solar (Christmas Valley OR) | 75 | average | 22% | 21.65% | 19.92% | 19.05% | 17.37% | 16.25% | 15.02% | 14.1% | 13.38% | 12.8%
Solar (McMinville OR) | 75 | average | 23.5% | 20.7% | 19.2% | 18.45% | 17.13% | 16.25% | 15.22% | 14.45% | 13.81% | 13.3%
Solar (Wasco OR) | 75 | average | 22.5% | 20.05% | 18.18% | 17.25% | 15.96% | 15.1% | 13.96% | 13.1% | 12.38% | 11.8%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | average | 56% | 54.6% | 53.27% | 52.6% | 51.19% | 50.25% | 48.82% | 47.75% | 46.94% | 46.3%
Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | average | 56% | 55.3% | 53.93% | 53.25% | 52.59% | 52.15% | 51.26% | 50.6% | 49.88% | 49.3%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | average | 40.5% | 39.8% | 38.67% | 38.1% | 36.69% | 35.75% | 34.92% | 34.3% | 33.94% | 33.65%
Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | average | 44.5% | 43.1% | 41.53% | 40.75% | 39.25% | 38.25% | 37.42% | 36.8% | 36.24% | 35.8%
Wind (Gorge) | 75 | average | 34% | 34% | 32.37% | 31.55% | 29.87% | 28.75% | 27.12% | 25.9% | 24.82% | 23.95%
Wind (Montana) | 75 | average | 41% | 37.15% | 33.02% | 30.95% | 28.73% | 27.25% | 26.02% | 25.1% | 23.6% | 22.4%
Wind (SE WA) | 75 | average | 30% | 22.3% | 18% | 15.85% | 15.25% | 14.85% | 14.54% | 14.3% | 13.74% | 13.3%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP Update (June 2025) and subject to change.
Results are based on proxy resources.

## %Tx ELCC
This table compares average ELCC under varying levels of long-term firm transmission, as a percentage of renewable nameplate. Analysis is shown for renewable and hybrid project types. Some transmission amounts displayed may not meet PGE 2025 RFP minimum transmission requirements for specified locations.
Capacity Contribution based on Resource Addition (Nameplate MW)
Tx Amount | Firm Tx Percent | Season | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
Solar (Christmas Valley OR) | 100 | average | 26.5% | 24.4% | 21.93% | 20.7% | 18.72% | 17.4% | 16.09% | 15.1% | 14.18% | 13.45%
Solar (Christmas Valley OR) | 75 | average | 22% | 21.65% | 19.92% | 19.05% | 17.37% | 16.25% | 15.02% | 14.1% | 13.38% | 12.8%
Solar (Christmas Valley OR) | 50 | average | 19.5% | 18.1% | 16.53% | 15.75% | 15.09% | 14.65% | 13.76% | 13.1% | 12.18% | 11.45%
Solar (Christmas Valley OR) | 25 | average | 11.5% | 11.5% | 10.8% | 10.45% | 9.76% | 9.3% | 9.129% | 9% | 8.806% | 8.65%
Solar (McMinville OR) | 100 | average | 27% | 23.5% | 21.1% | 19.9% | 18.52% | 17.6% | 16.46% | 15.6% | 14.68% | 13.95%
Solar (McMinville OR) | 75 | average | 23.5% | 20.7% | 19.2% | 18.45% | 17.13% | 16.25% | 15.22% | 14.45% | 13.81% | 13.3%
Solar (McMinville OR) | 50 | average | 20% | 18.25% | 16.58% | 15.75% | 14.67% | 13.95% | 13.29% | 12.8% | 12.24% | 11.8%
Solar (McMinville OR) | 25 | average | 12% | 12% | 11.07% | 10.6% | 10.03% | 9.65% | 9.364% | 9.15% | 8.872% | 8.65%
Solar (Wasco OR) | 75 | average | 22.5% | 20.05% | 18.18% | 17.25% | 15.96% | 15.1% | 13.96% | 13.1% | 12.38% | 11.8%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 100 | average | 62% | 58.85% | 56.78% | 55.75% | 53.83% | 52.55% | 50.95% | 49.75% | 48.56% | 47.6%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | average | 56% | 54.6% | 53.27% | 52.6% | 51.19% | 50.25% | 48.82% | 47.75% | 46.94% | 46.3%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 50 | average | 46% | 44.6% | 43.73% | 43.3% | 42.07% | 41.25% | 40.42% | 39.8% | 39.44% | 39.15%
Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 25 | average | 27.5% | 26.8% | 26.37% | 26.15% | 25.85% | 25.65% | 25.56% | 25.5% | 25.31% | 25.15%
Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | average | 56% | 55.3% | 53.93% | 53.25% | 52.59% | 52.15% | 51.26% | 50.6% | 49.88% | 49.3%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 100 | average | 43.5% | 41.75% | 40.32% | 39.6% | 37.98% | 36.9% | 35.99% | 35.3% | 34.74% | 34.3%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | average | 40.5% | 39.8% | 38.67% | 38.1% | 36.69% | 35.75% | 34.92% | 34.3% | 33.94% | 33.65%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 50 | average | 39% | 37.6% | 36.03% | 35.25% | 34.38% | 33.8% | 33.03% | 32.45% | 32.2% | 32%
Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 25 | average | 25.5% | 25.5% | 24.8% | 24.45% | 23.76% | 23.3% | 23.13% | 23% | 22.81% | 22.65%
Wind (Gorge) | 100 | average | 38.5% | 38.5% | 35.7% | 34.3% | 31.54% | 29.7% | 28.01% | 26.75% | 25.56% | 24.6%
Wind (Gorge) | 75 | average | 34% | 34% | 32.37% | 31.55% | 29.87% | 28.75% | 27.12% | 25.9% | 24.82% | 23.95%
Wind (Gorge) | 50 | average | 31.5% | 29.75% | 27.85% | 26.9% | 26.36% | 26% | 25% | 24.25% | 23.44% | 22.8%
Wind (Gorge) | 25 | average | 21% | 20.3% | 18.93% | 18.25% | 17.59% | 17.15% | 17.06% | 17% | 16.81% | 16.65%
Wind (Montana) | 100 | average | 43% | 38.1% | 35.07% | 33.55% | 31.45% | 30.05% | 27.85% | 26.2% | 24.76% | 23.6%
Wind (Montana) | 75 | average | 41% | 37.15% | 33.02% | 30.95% | 28.73% | 27.25% | 26.02% | 25.1% | 23.6% | 22.4%
Wind (Montana) | 50 | average | 35.5% | 30.6% | 27.57% | 26.05% | 24.58% | 23.6% | 22.66% | 21.95% | 21.12% | 20.45%
Wind (Montana) | 25 | average | 21% | 20.3% | 18.47% | 17.55% | 16.92% | 16.5% | 16.1% | 15.8% | 15.44% | 15.15%
Wind (SE WA) | 100 | average | 32.5% | 23.4% | 19.17% | 17.05% | 16.42% | 16% | 15.6% | 15.3% | 14.55% | 13.95%
Wind (SE WA) | 75 | average | 30% | 22.3% | 18% | 15.85% | 15.25% | 14.85% | 14.54% | 14.3% | 13.74% | 13.3%
Wind (SE WA) | 50 | average | 23% | 19.85% | 16.62% | 15% | 13.89% | 13.15% | 12.86% | 12.65% | 12.37% | 12.15%
Wind (SE WA) | 25 | average | 17% | 14.2% | 12.47% | 11.6% | 10.82% | 10.3% | 9.729% | 9.3% | 9.133% | 9%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP Update (June 2025) and subject to change.
Results are based on proxy resources.

## Data
Capacity Contribution based on Resource Addition (Nameplate MW)
Resource Data Name | Resource | Firm Tx Percent | Season | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000
Bat_100hr | Battery Storage (100 hr duration) | 100 | winter | 94% | 91.2% | 89.47% | 88.6% | 84.88% | 82.4% | 79.03% | 76.5% | 74.5% | 72.9%
Bat_100hr | Battery Storage (100 hr duration) | 100 | summer | 118% | 115.2% | 114.4% | 114% | 113.6% | 113.3% | 113.1% | 113% | 107.2% | 102.5%
Bat_100hr | Battery Storage (100 hr duration) | 100 | average | 106% | 103.2% | 101.9% | 101.3% | 99.23% | 97.85% | 96.08% | 94.75% | 90.83% | 87.7%
Bat_2hr | Battery Storage (2 hr duration) | 100 | winter | 14% | 11.9% | 10.37% | 9.6% | 8.82% | 8.3% | 8.529% | 8.7% | 8.478% | 8.3%
Bat_2hr | Battery Storage (2 hr duration) | 100 | summer | 31% | 31% | 29.13% | 28.2% | 26.22% | 24.9% | 23.99% | 23.3% | 22.74% | 22.3%
Bat_2hr | Battery Storage (2 hr duration) | 100 | average | 22.5% | 21.45% | 19.75% | 18.9% | 17.52% | 16.6% | 16.26% | 16% | 15.61% | 15.3%
Bat_4hr | Battery Storage (4 hr duration) | 100 | winter | 22% | 19.2% | 18.4% | 18% | 17.58% | 17.3% | 15.93% | 14.9% | 13.62% | 12.6%
Bat_4hr | Battery Storage (4 hr duration) | 100 | summer | 46% | 46% | 46% | 46% | 44.74% | 43.9% | 42.19% | 40.9% | 39.62% | 38.6%
Bat_4hr | Battery Storage (4 hr duration) | 100 | average | 34% | 32.6% | 32.2% | 32% | 31.16% | 30.6% | 29.06% | 27.9% | 26.62% | 25.6%
Bat_6hr | Battery Storage (6 hr duration) | 100 | winter | 34% | 27% | 25.47% | 24.7% | 22.36% | 20.8% | 18.17% | 16.2% | 14.76% | 13.6%
Bat_6hr | Battery Storage (6 hr duration) | 100 | summer | 63% | 60.2% | 59.4% | 59% | 58.58% | 58.3% | 57.33% | 56.6% | 54.71% | 53.2%
Bat_6hr | Battery Storage (6 hr duration) | 100 | average | 48.5% | 43.6% | 42.43% | 41.85% | 40.47% | 39.55% | 37.75% | 36.4% | 34.73% | 33.4%
Solar_CV - CF 100 | CF200 Solar (Christmas Valley OR) | 75 | winter | 21% | 18.2% | 16% | 14.9% | 13.52% | 12.6% | 11.46% | 10.6% | 9.878% | 9.3%
Solar_CV - CF 100 | CF200 Solar (Christmas Valley OR) | 75 | summer | 10% | 10% | 9.067% | 8.6% | 7.82% | 7.3% | 6.729% | 6.3% | 6.133% | 6%
Solar_CV - CF 100 | CF200 Solar (Christmas Valley OR) | 75 | average | 15.5% | 14.1% | 12.53% | 11.75% | 10.67% | 9.95% | 9.093% | 8.45% | 8.006% | 7.65%
Solar_Mcm - CF 100 | CF200 Solar (McMinville OR) | 75 | winter | 11% | 11% | 11% | 11% | 10.58% | 10.3% | 9.729% | 9.3% | 8.744% | 8.3%
Solar_Mcm - CF 100 | CF200 Solar (McMinville OR) | 75 | summer | 13% | 12.3% | 10.7% | 9.9% | 8.94% | 8.3% | 8.129% | 8% | 8% | 8%
Solar_Mcm - CF 100 | CF200 Solar (McMinville OR) | 75 | average | 12% | 11.65% | 10.85% | 10.45% | 9.76% | 9.3% | 8.929% | 8.65% | 8.372% | 8.15%
Solar_Wasc - CF 100 | CF200 Solar (Wasco OR) | 75 | winter | 18% | 14.5% | 11.63% | 10.2% | 9.06% | 8.3% | 7.729% | 7.3% | 6.744% | 6.3%
Solar_Wasc - CF 100 | CF200 Solar (Wasco OR) | 75 | summer | 13% | 12.3% | 10.7% | 9.9% | 8.94% | 8.3% | 8.129% | 8% | 7.611% | 7.3%
Solar_Wasc - CF 100 | CF200 Solar (Wasco OR) | 75 | average | 15.5% | 13.4% | 11.17% | 10.05% | 9% | 8.3% | 7.929% | 7.65% | 7.178% | 6.8%
CV_Hyb_1 - CF 100 | CF200 Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | winter | 36% | 31.8% | 29.67% | 28.6% | 26.14% | 24.5% | 22.84% | 21.6% | 20.88% | 20.3%
CV_Hyb_1 - CF 100 | CF200 Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | summer | 50% | 47.9% | 44.5% | 42.8% | 40.88% | 39.6% | 38.06% | 36.9% | 34.84% | 33.2%
CV_Hyb_1 - CF 100 | CF200 Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | average | 43% | 39.85% | 37.08% | 35.7% | 33.51% | 32.05% | 30.45% | 29.25% | 27.86% | 26.75%
MCM_Hyb_1 - CF 100 | CF200 Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | winter | 32% | 30.6% | 27.4% | 25.8% | 24.3% | 23.3% | 21.93% | 20.9% | 20.01% | 19.3%
MCM_Hyb_1 - CF 100 | CF200 Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | summer | 57% | 50.7% | 47.03% | 45.2% | 42.8% | 41.2% | 38.91% | 37.2% | 34.98% | 33.2%
MCM_Hyb_1 - CF 100 | CF200 Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | average | 44.5% | 40.65% | 37.22% | 35.5% | 33.55% | 32.25% | 30.42% | 29.05% | 27.49% | 26.25%
CV_Hyb_2 - CF 100 | CF200 Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | winter | 26% | 26% | 23.67% | 22.5% | 20.76% | 19.6% | 18.46% | 17.6% | 17.27% | 17%
CV_Hyb_2 - CF 100 | CF200 Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | summer | 34% | 34% | 32.13% | 31.2% | 29.64% | 28.6% | 27.86% | 27.3% | 25.97% | 24.9%
CV_Hyb_2 - CF 100 | CF200 Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | average | 30% | 30% | 27.9% | 26.85% | 25.2% | 24.1% | 23.16% | 22.45% | 21.62% | 20.95%
MCM_Hyb_2 - CF 100 | CF200 Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | winter | 28% | 25.2% | 21.6% | 19.8% | 17.88% | 16.6% | 16.26% | 16% | 15.22% | 14.6%
MCM_Hyb_2 - CF 100 | CF200 Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | summer | 34% | 34% | 33.07% | 32.6% | 30.98% | 29.9% | 28.99% | 28.3% | 27.36% | 26.6%
MCM_Hyb_2 - CF 100 | CF200 Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | average | 31% | 29.6% | 27.33% | 26.2% | 24.43% | 23.25% | 22.62% | 22.15% | 21.29% | 20.6%
Wind_Gorge - CF 100 | CF200 Wind (Gorge) | 75 | winter | 28% | 26.6% | 23.87% | 22.5% | 20.34% | 18.9% | 17.99% | 17.3% | 16.36% | 15.6%
Wind_Gorge - CF 100 | CF200 Wind (Gorge) | 75 | summer | 34% | 31.2% | 28.53% | 27.2% | 24.8% | 23.2% | 21.31% | 19.9% | 18.62% | 17.6%
Wind_Gorge - CF 100 | CF200 Wind (Gorge) | 75 | average | 31% | 28.9% | 26.2% | 24.85% | 22.57% | 21.05% | 19.65% | 18.6% | 17.49% | 16.6%
Wind_MT - CF 100 | CF200 Wind (Montana) | 75 | winter | 55% | 41% | 35.13% | 32.2% | 29.38% | 27.5% | 25.84% | 24.6% | 23.1% | 21.9%
Wind_MT - CF 100 | CF200 Wind (Montana) | 75 | summer | 17% | 16.3% | 15.17% | 14.6% | 13.82% | 13.3% | 12.73% | 12.3% | 11.74% | 11.3%
Wind_MT - CF 100 | CF200 Wind (Montana) | 75 | average | 36% | 28.65% | 25.15% | 23.4% | 21.6% | 20.4% | 19.29% | 18.45% | 17.42% | 16.6%
Wind_SEWA - CF 100 | CF200 Wind (SE WA) | 75 | winter | 39% | 27.8% | 20.87% | 17.4% | 15.54% | 14.3% | 13.73% | 13.3% | 12.74% | 12.3%
Wind_SEWA - CF 100 | CF200 Wind (SE WA) | 75 | summer | 13% | 11.6% | 11.2% | 11% | 10.58% | 10.3% | 10.13% | 10% | 10% | 10%
Wind_SEWA - CF 100 | CF200 Wind (SE WA) | 75 | average | 26% | 19.7% | 16.03% | 14.2% | 13.06% | 12.3% | 11.93% | 11.65% | 11.37% | 11.15%
PSH_10hr | Pumped Hydro Storage (10 hr duration) | 100 | winter | 45% | 42.9% | 36.23% | 32.9% | 27.62% | 24.1% | 22.1% | 20.6% | 19.1% | 17.9%
PSH_10hr | Pumped Hydro Storage (10 hr duration) | 100 | summer | 61% | 61% | 61% | 61% | 61% | 61% | 61% | 61% | 59.83% | 58.9%
PSH_10hr | Pumped Hydro Storage (10 hr duration) | 100 | average | 53% | 51.95% | 48.62% | 46.95% | 44.31% | 42.55% | 41.55% | 40.8% | 39.47% | 38.4%
Solar_CV | Solar (Christmas Valley OR) | 25 | winter | 11% | 11% | 11% | 11% | 10.58% | 10.3% | 9.729% | 9.3% | 8.744% | 8.3%
Solar_CV | Solar (Christmas Valley OR) | 25 | summer | 12% | 12% | 10.6% | 9.9% | 8.94% | 8.3% | 8.529% | 8.7% | 8.867% | 9%
Solar_CV | Solar (Christmas Valley OR) | 25 | average | 11.5% | 11.5% | 10.8% | 10.45% | 9.76% | 9.3% | 9.129% | 9% | 8.806% | 8.65%
Solar_CV | Solar (Christmas Valley OR) | 50 | winter | 18% | 18% | 16.13% | 15.2% | 14.06% | 13.3% | 12.33% | 11.6% | 10.88% | 10.3%
Solar_CV | Solar (Christmas Valley OR) | 50 | summer | 21% | 18.2% | 16.93% | 16.3% | 16.12% | 16% | 15.2% | 14.6% | 13.49% | 12.6%
Solar_CV | Solar (Christmas Valley OR) | 50 | average | 19.5% | 18.1% | 16.53% | 15.75% | 15.09% | 14.65% | 13.76% | 13.1% | 12.18% | 11.45%
Solar_CV | Solar (Christmas Valley OR) | 75 | winter | 21% | 21% | 18.2% | 16.8% | 14.88% | 13.6% | 12.46% | 11.6% | 10.88% | 10.3%
Solar_CV | Solar (Christmas Valley OR) | 75 | summer | 23% | 22.3% | 21.63% | 21.3% | 19.86% | 18.9% | 17.59% | 16.6% | 15.88% | 15.3%
Solar_CV | Solar (Christmas Valley OR) | 75 | average | 22% | 21.65% | 19.92% | 19.05% | 17.37% | 16.25% | 15.02% | 14.1% | 13.38% | 12.8%
Solar_CV | Solar (Christmas Valley OR) | 100 | winter | 21% | 21% | 18.2% | 16.8% | 14.88% | 13.6% | 12.46% | 11.6% | 10.88% | 10.3%
Solar_CV | Solar (Christmas Valley OR) | 100 | summer | 32% | 27.8% | 25.67% | 24.6% | 22.56% | 21.2% | 19.71% | 18.6% | 17.49% | 16.6%
Solar_CV | Solar (Christmas Valley OR) | 100 | average | 26.5% | 24.4% | 21.93% | 20.7% | 18.72% | 17.4% | 16.09% | 15.1% | 14.18% | 13.45%
Solar_Mcm | Solar (McMinville OR) | 25 | winter | 12% | 12% | 11.07% | 10.6% | 9.82% | 9.3% | 8.729% | 8.3% | 7.744% | 7.3%
Solar_Mcm | Solar (McMinville OR) | 25 | summer | 12% | 12% | 11.07% | 10.6% | 10.24% | 10% | 10% | 10% | 10% | 10%
Solar_Mcm | Solar (McMinville OR) | 25 | average | 12% | 12% | 11.07% | 10.6% | 10.03% | 9.65% | 9.364% | 9.15% | 8.872% | 8.65%
Solar_Mcm | Solar (McMinville OR) | 50 | winter | 20% | 17.2% | 14.53% | 13.2% | 11.64% | 10.6% | 9.857% | 9.3% | 8.744% | 8.3%
Solar_Mcm | Solar (McMinville OR) | 50 | summer | 20% | 19.3% | 18.63% | 18.3% | 17.7% | 17.3% | 16.73% | 16.3% | 15.74% | 15.3%
Solar_Mcm | Solar (McMinville OR) | 50 | average | 20% | 18.25% | 16.58% | 15.75% | 14.67% | 13.95% | 13.29% | 12.8% | 12.24% | 11.8%
Solar_Mcm | Solar (McMinville OR) | 75 | winter | 21% | 17.5% | 14.63% | 13.2% | 12.06% | 11.3% | 10.33% | 9.6% | 8.878% | 8.3%
Solar_Mcm | Solar (McMinville OR) | 75 | summer | 26% | 23.9% | 23.77% | 23.7% | 22.2% | 21.2% | 20.11% | 19.3% | 18.74% | 18.3%
Solar_Mcm | Solar (McMinville OR) | 75 | average | 23.5% | 20.7% | 19.2% | 18.45% | 17.13% | 16.25% | 15.22% | 14.45% | 13.81% | 13.3%
Solar_Mcm | Solar (McMinville OR) | 100 | winter | 21% | 17.5% | 14.63% | 13.2% | 12.06% | 11.3% | 10.33% | 9.6% | 8.878% | 8.3%
Solar_Mcm | Solar (McMinville OR) | 100 | summer | 33% | 29.5% | 27.57% | 26.6% | 24.98% | 23.9% | 22.59% | 21.6% | 20.49% | 19.6%
Solar_Mcm | Solar (McMinville OR) | 100 | average | 27% | 23.5% | 21.1% | 19.9% | 18.52% | 17.6% | 16.46% | 15.6% | 14.68% | 13.95%
Solar_Wasc | Solar (Wasco OR) | 75 | winter | 18% | 15.9% | 13.43% | 12.2% | 10.64% | 9.6% | 8.857% | 8.3% | 7.744% | 7.3%
Solar_Wasc | Solar (Wasco OR) | 75 | summer | 27% | 24.2% | 22.93% | 22.3% | 21.28% | 20.6% | 19.06% | 17.9% | 17.01% | 16.3%
Solar_Wasc | Solar (Wasco OR) | 75 | average | 22.5% | 20.05% | 18.18% | 17.25% | 15.96% | 15.1% | 13.96% | 13.1% | 12.38% | 11.8%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 25 | winter | 25% | 23.6% | 22.73% | 22.3% | 21.7% | 21.3% | 21.13% | 21% | 20.61% | 20.3%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 25 | summer | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 25 | average | 27.5% | 26.8% | 26.37% | 26.15% | 25.85% | 25.65% | 25.56% | 25.5% | 25.31% | 25.15%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 50 | winter | 34% | 31.2% | 29.47% | 28.6% | 26.56% | 25.2% | 23.71% | 22.6% | 21.88% | 21.3%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 50 | summer | 58% | 58% | 58% | 58% | 57.58% | 57.3% | 57.13% | 57% | 57% | 57%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 50 | average | 46% | 44.6% | 43.73% | 43.3% | 42.07% | 41.25% | 40.42% | 39.8% | 39.44% | 39.15%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | winter | 36% | 33.2% | 30.53% | 29.2% | 26.8% | 25.2% | 23.71% | 22.6% | 21.88% | 21.3%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | summer | 76% | 76% | 76% | 76% | 75.58% | 75.3% | 73.93% | 72.9% | 72.01% | 71.3%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 75 | average | 56% | 54.6% | 53.27% | 52.6% | 51.19% | 50.25% | 48.82% | 47.75% | 46.94% | 46.3%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 100 | winter | 36% | 33.2% | 30.53% | 29.2% | 26.8% | 25.2% | 23.71% | 22.6% | 21.88% | 21.3%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 100 | summer | 88% | 84.5% | 83.03% | 82.3% | 80.86% | 79.9% | 78.19% | 76.9% | 75.23% | 73.9%
CV_Hyb_1 | Solar+Storage (4 hr, 1:1, Christmas Valley OR) | 100 | average | 62% | 58.85% | 56.78% | 55.75% | 53.83% | 52.55% | 50.95% | 49.75% | 48.56% | 47.6%
MCM_Hyb_1 | Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | winter | 32% | 30.6% | 27.87% | 26.5% | 25.18% | 24.3% | 22.93% | 21.9% | 21.01% | 20.3%
MCM_Hyb_1 | Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | summer | 80% | 80% | 80% | 80% | 80% | 80% | 79.6% | 79.3% | 78.74% | 78.3%
MCM_Hyb_1 | Solar+Storage (4 hr, 1:1, McMinville OR) | 75 | average | 56% | 55.3% | 53.93% | 53.25% | 52.59% | 52.15% | 51.26% | 50.6% | 49.88% | 49.3%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 25 | winter | 20% | 20% | 19.07% | 18.6% | 17.82% | 17.3% | 17.13% | 17% | 16.61% | 16.3%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 25 | summer | 31% | 31% | 30.53% | 30.3% | 29.7% | 29.3% | 29.13% | 29% | 29% | 29%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 25 | average | 25.5% | 25.5% | 24.8% | 24.45% | 23.76% | 23.3% | 23.13% | 23% | 22.81% | 22.65%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 50 | winter | 24% | 24% | 22.6% | 21.9% | 20.52% | 19.6% | 18.86% | 18.3% | 18.13% | 18%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 50 | summer | 54% | 51.2% | 49.47% | 48.6% | 48.24% | 48% | 47.2% | 46.6% | 46.27% | 46%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 50 | average | 39% | 37.6% | 36.03% | 35.25% | 34.38% | 33.8% | 33.03% | 32.45% | 32.2% | 32%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | winter | 25% | 25% | 23.13% | 22.2% | 20.22% | 18.9% | 18.39% | 18% | 18% | 18%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | summer | 56% | 54.6% | 54.2% | 54% | 53.16% | 52.6% | 51.46% | 50.6% | 49.88% | 49.3%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 75 | average | 40.5% | 39.8% | 38.67% | 38.1% | 36.69% | 35.75% | 34.92% | 34.3% | 33.94% | 33.65%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 100 | winter | 26% | 26% | 23.67% | 22.5% | 20.34% | 18.9% | 18.39% | 18% | 18% | 18%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 100 | summer | 61% | 57.5% | 56.97% | 56.7% | 55.62% | 54.9% | 53.59% | 52.6% | 51.49% | 50.6%
CV_Hyb_2 | Solar+Storage (4 hr, 2:1, Christmas Valley OR) | 100 | average | 43.5% | 41.75% | 40.32% | 39.6% | 37.98% | 36.9% | 35.99% | 35.3% | 34.74% | 34.3%
MCM_Hyb_2 | Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | winter | 28% | 25.2% | 22.53% | 21.2% | 18.8% | 17.2% | 16.51% | 16% | 15.61% | 15.3%
MCM_Hyb_2 | Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | summer | 61% | 61% | 60.53% | 60.3% | 59.7% | 59.3% | 58.33% | 57.6% | 56.88% | 56.3%
MCM_Hyb_2 | Solar+Storage (4 hr, 2:1, McMinville OR) | 75 | average | 44.5% | 43.1% | 41.53% | 40.75% | 39.25% | 38.25% | 37.42% | 36.8% | 36.24% | 35.8%
Wind_Gorge | Wind (Gorge) | 25 | winter | 19% | 18.3% | 16.7% | 15.9% | 14.94% | 14.3% | 14.13% | 14% | 14% | 14%
Wind_Gorge | Wind (Gorge) | 25 | summer | 23% | 22.3% | 21.17% | 20.6% | 20.24% | 20% | 20% | 20% | 19.61% | 19.3%
Wind_Gorge | Wind (Gorge) | 25 | average | 21% | 20.3% | 18.93% | 18.25% | 17.59% | 17.15% | 17.06% | 17% | 16.81% | 16.65%
Wind_Gorge | Wind (Gorge) | 50 | winter | 27% | 25.6% | 22.87% | 21.5% | 20.6% | 20% | 18.8% | 17.9% | 17.4% | 17%
Wind_Gorge | Wind (Gorge) | 50 | summer | 36% | 33.9% | 32.83% | 32.3% | 32.12% | 32% | 31.2% | 30.6% | 29.49% | 28.6%
Wind_Gorge | Wind (Gorge) | 50 | average | 31.5% | 29.75% | 27.85% | 26.9% | 26.36% | 26% | 25% | 24.25% | 23.44% | 22.8%
Wind_Gorge | Wind (Gorge) | 75 | winter | 28% | 28% | 25.67% | 24.5% | 22.34% | 20.9% | 19.99% | 19.3% | 18.74% | 18.3%
Wind_Gorge | Wind (Gorge) | 75 | summer | 40% | 40% | 39.07% | 38.6% | 37.4% | 36.6% | 34.26% | 32.5% | 30.89% | 29.6%
Wind_Gorge | Wind (Gorge) | 75 | average | 34% | 34% | 32.37% | 31.55% | 29.87% | 28.75% | 27.12% | 25.9% | 24.82% | 23.95%
Wind_Gorge | Wind (Gorge) | 100 | winter | 29% | 29% | 26.2% | 24.8% | 22.46% | 20.9% | 20.39% | 20% | 19.22% | 18.6%
Wind_Gorge | Wind (Gorge) | 100 | summer | 48% | 48% | 45.2% | 43.8% | 40.62% | 38.5% | 35.64% | 33.5% | 31.89% | 30.6%
Wind_Gorge | Wind (Gorge) | 100 | average | 38.5% | 38.5% | 35.7% | 34.3% | 31.54% | 29.7% | 28.01% | 26.75% | 25.56% | 24.6%
Wind_MT | Wind (Montana) | 25 | winter | 25% | 25% | 22.2% | 20.8% | 19.72% | 19% | 18.2% | 17.6% | 16.88% | 16.3%
Wind_MT | Wind (Montana) | 25 | summer | 17% | 15.6% | 14.73% | 14.3% | 14.12% | 14% | 14% | 14% | 14% | 14%
Wind_MT | Wind (Montana) | 25 | average | 21% | 20.3% | 18.47% | 17.55% | 16.92% | 16.5% | 16.1% | 15.8% | 15.44% | 15.15%
Wind_MT | Wind (Montana) | 50 | winter | 50% | 40.2% | 34.6% | 31.8% | 29.04% | 27.2% | 26.11% | 25.3% | 24.36% | 23.6%
Wind_MT | Wind (Montana) | 50 | summer | 21% | 21% | 20.53% | 20.3% | 20.12% | 20% | 19.2% | 18.6% | 17.88% | 17.3%
Wind_MT | Wind (Montana) | 50 | average | 35.5% | 30.6% | 27.57% | 26.05% | 24.58% | 23.6% | 22.66% | 21.95% | 21.12% | 20.45%
Wind_MT | Wind (Montana) | 75 | winter | 58% | 50.3% | 42.97% | 39.3% | 36.06% | 33.9% | 32.19% | 30.9% | 28.84% | 27.2%
Wind_MT | Wind (Montana) | 75 | summer | 24% | 24% | 23.07% | 22.6% | 21.4% | 20.6% | 19.86% | 19.3% | 18.36% | 17.6%
Wind_MT | Wind (Montana) | 75 | average | 41% | 37.15% | 33.02% | 30.95% | 28.73% | 27.25% | 26.02% | 25.1% | 23.6% | 22.4%
Wind_MT | Wind (Montana) | 100 | winter | 61% | 51.2% | 45.6% | 42.8% | 39.62% | 37.5% | 34.64% | 32.5% | 30.5% | 28.9%
Wind_MT | Wind (Montana) | 100 | summer | 25% | 25% | 24.53% | 24.3% | 23.28% | 22.6% | 21.06% | 19.9% | 19.01% | 18.3%
Wind_MT | Wind (Montana) | 100 | average | 43% | 38.1% | 35.07% | 33.55% | 31.45% | 30.05% | 27.85% | 26.2% | 24.76% | 23.6%
Wind_SEWA | Wind (SE WA) | 25 | winter | 18% | 15.9% | 13.9% | 12.9% | 11.52% | 10.6% | 9.457% | 8.6% | 8.267% | 8%
Wind_SEWA | Wind (SE WA) | 25 | summer | 16% | 12.5% | 11.03% | 10.3% | 10.12% | 10% | 10% | 10% | 10% | 10%
Wind_SEWA | Wind (SE WA) | 25 | average | 17% | 14.2% | 12.47% | 11.6% | 10.82% | 10.3% | 9.729% | 9.3% | 9.133% | 9%
Wind_SEWA | Wind (SE WA) | 50 | winter | 29% | 24.8% | 19.4% | 16.7% | 14.66% | 13.3% | 12.73% | 12.3% | 12.13% | 12%
Wind_SEWA | Wind (SE WA) | 50 | summer | 17% | 14.9% | 13.83% | 13.3% | 13.12% | 13% | 13% | 13% | 12.61% | 12.3%
Wind_SEWA | Wind (SE WA) | 50 | average | 23% | 19.85% | 16.62% | 15% | 13.89% | 13.15% | 12.86% | 12.65% | 12.37% | 12.15%
Wind_SEWA | Wind (SE WA) | 75 | winter | 43% | 29.7% | 22.17% | 18.4% | 16.96% | 16% | 15.6% | 15.3% | 14.74% | 14.3%
Wind_SEWA | Wind (SE WA) | 75 | summer | 17% | 14.9% | 13.83% | 13.3% | 13.54% | 13.7% | 13.47% | 13.3% | 12.74% | 12.3%
Wind_SEWA | Wind (SE WA) | 75 | average | 30% | 22.3% | 18% | 15.85% | 15.25% | 14.85% | 14.54% | 14.3% | 13.74% | 13.3%
Wind_SEWA | Wind (SE WA) | 100 | winter | 45% | 30.3% | 23.3% | 19.8% | 18.3% | 17.3% | 16.73% | 16.3% | 15.36% | 14.6%
Wind_SEWA | Wind (SE WA) | 100 | summer | 20% | 16.5% | 15.03% | 14.3% | 14.54% | 14.7% | 14.47% | 14.3% | 13.74% | 13.3%
Wind_SEWA | Wind (SE WA) | 100 | average | 32.5% | 23.4% | 19.17% | 17.05% | 16.42% | 16% | 15.6% | 15.3% | 14.55% | 13.95%
These results are for informational purposes only to aid in Bidder self-scoring. Estimates based on PGE's filed 2023 CEP/IRP Update (June 2025) and subject to change.
Results are based on proxy resources.