## Readme
|  |  | Chromium Connect | Doc | CG000466
|  |  | 32 Library Pooling Workbook | Rev | A
Scope
Use this workbook to calculate the library dilutions and volumes required to assemble up to six library pools for sequencing using up to 32 component libraries generated from the Chromium Connect Instrument.
For complete protocols, consult the Chromium Connect Instrument User Guide (CG000180), Chromium Next GEM Automated Single Cell 3' Reagent Kits v3.1 User Guide (CG000286), or Chromium Next GEM Automated Single Cell 5' Reagent Kits v2 User Guide (CG000384).
Required Information
| 1. | Library IDs (limited to 32 characters)
| 2. | Sample Index
| 3. | Average Library Size (bp)
| 4. | Library Concentration (nM)
| 5. | Cells/sample
| 6. | Reads/cell
| 7. | Library Pool
Instructions
| • | Begin each experiment with a fresh version of this workbook.
| • | Enter the information above into cells highlighted in blue for each library in the "Library Info Input" tab. If necessary, resolve any potential conflicts (highlighted in yellow) prior to clicking on "Import Pool Data." Libraries must be assigned to tube strips sequentially, starting with tube strip 1. If a tube strip is entered into the tab, it must have at least one well with a library. If a Library Pool is selected, a Library ID must be entered. If left blank, the Library ID cell will highlight in red to indicate that this must be changed. To omit a library from being pooled, select "N/A" as its Library Pool in the drop-down menu. After all the information is properly entered, click the "Import Pool Data" button to import information into the appropriate Library Pool tabs. Unused Library Pools will have their tabs hidden.
| • | On each Library Pool tab, enter the Target Library Pool Concentration and Target Library Pool Volume for the final library pool.
| • | On each Library Pool tab, manually adjust the Dilution Factor for each library using whole integers (1-10) to ensure that volumes adhere to conditions mentioned at the top of the sheet.
| • | Values in red font may need adjustment to achieve final volumes that adhere to all conditions. If final volumes do not adhere to conditions, adjust Target Library Pool Concentration, Target Library Pool Volume, or Dilution Factor on the appropriate Library Pool tab. Or adjust Cells/sample or Reads/cell on the Library Info Input tab. After adjusting Cells/sample or Reads/cell, re-populate the Library Pool tabs by clicking the "Import Pool Data" button.
| • | After verifying that each Library Pool tab appears correct, click on "Export Data to CSV" on the Summary sheet tab. This generates a csv file in the same folder location as this workbook, which is used to enter the pooling information on the Chromium Connect.
| • | Library volumes in the tube strips should be greater than 25 μl.
| • | Additional conditions to be followed are listed at the top of each Library Pool tab.
Contact
support@10xgenomics.com
10x Genomics
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA
© 2021 10X Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.

## Data Example
|  | Chromium Connect | Doc | CG000466
|  | 32 Library Pooling Workbook | Rev | A
Enter data in the "Library Info Input" tab
Refer to data entry rules on "Readme" tab.
Click on "Import Pool Data" button
Review data in appropriate "Library Pool" tab
Refer to data entry rules on "Readme" tab and at the top of the "Library Pool" tab.
Data automatically appear in "Summary Sheet" tab
Click on "Export Data to CSV" button on the "Summary" tab

## Library Info Input
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
After entering library information in the blue cells below, click this button to autofill Library Pool tabs --
Library Pool | Tube Position (Tube Strip #, A-H) | Library ID | Sample Index | Average Library Size (bp) | Library Concentration (nM) | Cells/ sample | Reads/cell
1 | 1A | Library-1 | SI-TT-A1 | 491 | 10 | 5000 | 50000
1B
1C
1D
1E
1F
1G
1H
2A
2B
2C
2D
2E
2F
2G
2H
3A
3B
3C
3D
3E
3F
3G
3H
4A
4B
4C
4D
4E
4F
4G
4H
Import Pool Data

## Library Pool #1
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
Library Pool #1
Conditions |  |  |  |  | Legend
• Final Transfer Volume of libraries must be between 3-20 µl |  |  |  |  | Blue | Fields where data need to be entered manually | [5 empty] | Pool Number_ | 1
• Target Library Pool Volume must be between 50-300 µl |  |  |  |  | Green | Volumes to enter on Chromium Connect | [5 empty] | Target Library Pool Concentration_ | 3 | nM
• Dilution Factors must be integers between 1-10 |  |  |  |  | Red | Verify that value is correct | [5 empty] | Target Library Pool Volume_ | 50 | uL
Intermediate Dilution on Deck
Library Pool 1 | Tube Position (Tube Strip #, A-H) | Library ID | Average Library Size (bp) | Prorated Size | Library Concentration (nM) | Dilution Factor | Working Concentration (nM) | Cells/ sample | Reads/cell | Reads/ sample | Fraction of Total Pool Reads | Individual Library Concentration (nM) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Total Volume (µl) | Final Transfer Volume (µl)
1 | 1A | Library-1 | 491 | 491 | 10 | 1 | 10 | 5000 | 50000 | 250000000 | 1 | 3 | 0 | 0 | 0 | 15
0 | 1B | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1C | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1D | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1E | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1F | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1G | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1H | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2A | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2B | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2C | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2D | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2E | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2F | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2G | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2H | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3A | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3B | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3C | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3D | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3E | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3F | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3G | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3H | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4A | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4B | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4C | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4D | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4E | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4F | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4G | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4H | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pro-rated size (bp) for pool level quantification =_ |  |  |  | 491 |  |  |  |  | Total Reads =_ | 250000000 | 100% |  |  | Total Sample Volume = |  | 15
[14 empty] | Pool Diluent Volume = |  | 35
Dilution Table - Do Not Modify
Dilution Factor | Library Dilution Volume | Diluent Dilution Volume | Total Volume
1 | 0 | 0 | 0
2 | 10 | 10 | 20
3 | 7 | 14 | 21
4 | 5 | 15 | 20
5 | 5 | 20 | 25
6 | 5 | 25 | 30
7 | 5 | 30 | 35
8 | 5 | 35 | 40
9 | 5 | 40 | 45
10 | 5 | 45 | 50

## Library Pool #2
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
Library Pool #2
Conditions |  |  |  |  | Legend
• Final Transfer Volume of libraries must be between 3-20 µl |  |  |  |  | Blue | Fields where data need to be entered manually | [5 empty] | Pool Number_ | 2
• Target Library Pool Volume must be between 50-300 µl |  |  |  |  | Green | Volumes to enter on Chromium Connect | [5 empty] | Target Library Pool Concentration_ | 3 | nM
• Dilution Factors must be integers between 1-10 |  |  |  |  | Red | Verify that value is correct | [5 empty] | Target Library Pool Volume_ | 0 | uL
Intermediate Dilution on Deck
Library Pool 2 | Tube Position (Tube Strip #, A-H) | Library ID | Average Library Size (bp) | Prorated Size | Library Concentration (nM) | Dilution Factor | Working Concentration (nM) | Cells/ sample | Reads/cell | Reads/ sample | Fraction of Total Pool Reads | Individual Library Concentration (nM) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Total Volume (µl) | Final Transfer Volume (µl)
1 | 1A | Library-1 | 491 | #DIV/0! | 10 | 1 | 10 | 5000 | 50000 | 250000000 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0!
0 | 1B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
|  |  | Pro-rated size (bp) for pool level quantification =_ | 0 |  |  |  |  | Total Reads =_ | 0 | 0% |  |  |  | Total Sample Volume = | 0
[15 empty] | Pool Diluent Volume = | 0
Dilution Table - Do Not Modify
Dilution Factor | Library Dilution Volume | Diluent Dilution Volume | Total Volume
1 | 0 | 0 | 0
2 | 10 | 10 | 20
3 | 7 | 14 | 21
4 | 5 | 15 | 20
5 | 5 | 20 | 25
6 | 5 | 25 | 30
7 | 5 | 30 | 35
8 | 5 | 35 | 40
9 | 5 | 40 | 45
10 | 5 | 45 | 50

## Library Pool #3
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
Library Pool #3
Conditions |  |  |  |  | Legend
• Final Transfer Volume of libraries must be between 3-20 µl |  |  |  |  | Blue | Fields where data need to be entered manually | [5 empty] | Pool Number_ | 3
• Target Library Pool Volume must be between 50-300 µl |  |  |  |  | Green | Volumes to enter on Chromium Connect | [5 empty] | Target Library Pool Concentration_ | 3 | nM
• Dilution Factors must be integers between 1-10 |  |  |  |  | Red | Verify that value is correct | [5 empty] | Target Library Pool Volume_ | 0 | uL
Intermediate Dilution on Deck
Library Pool 3 | Tube Position (Tube Strip #, A-H) | Library ID | Average Library Size (bp) | Prorated Size | Library Concentration (nM) | Dilution Factor | Working Concentration (nM) | Cells/ sample | Reads/cell | Reads/ sample | Fraction of Total Pool Reads | Individual Library Concentration (nM) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Total Volume (µl) | Final Transfer Volume (µl)
1 | 1A | Library-1 | 491 | #DIV/0! | 10 | 1 | 10 | 5000 | 50000 | 250000000 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0!
0 | 1B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
|  |  | Pro-rated size (bp) for pool level quantification =_ | 0 |  |  |  |  | Total Reads =_ | 0 | 0% |  |  |  | Total Sample Volume = | 0
[15 empty] | Pool Diluent Volume = | 0
Dilution Table - Do Not Modify
Dilution Factor | Library Dilution Volume | Diluent Dilution Volume | Total Volume
1 | 0 | 0 | 0
2 | 10 | 10 | 20
3 | 7 | 14 | 21
4 | 5 | 15 | 20
5 | 5 | 20 | 25
6 | 5 | 25 | 30
7 | 5 | 30 | 35
8 | 5 | 35 | 40
9 | 5 | 40 | 45
10 | 5 | 45 | 50

## Library Pool #4
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
Library Pool #4
Conditions |  |  |  |  | Legend
• Final Transfer Volume of libraries must be between 3-20 µl |  |  |  |  | Blue | Fields where data need to be entered manually | [5 empty] | Pool Number_ | 4
• Target Library Pool Volume must be between 50-300 µl |  |  |  |  | Green | Volumes to enter on Chromium Connect | [5 empty] | Target Library Pool Concentration_ | 3 | nM
• Dilution Factors must be integers between 1-10 |  |  |  |  | Red | Verify that value is correct | [5 empty] | Target Library Pool Volume_ | 0 | uL
Intermediate Dilution on Deck
Library Pool 4 | Tube Position (Tube Strip #, A-H) | Library ID | Average Library Size (bp) | Prorated Size | Library Concentration (nM) | Dilution Factor | Working concentration (nM) | Cells/ sample | Reads/cell | Reads/ sample | Fraction of Total Pool Reads | Individual Library Concentration (nM) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Total Volume (µl) | Final Transfer Volume (µl)
1 | 1A | Library-1 | 491 | #DIV/0! | 10 | 1 | 10 | 5000 | 50000 | 250000000 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0!
0 | 1B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
|  |  | Pro-rated size (bp) for pool level quantification =_ | 0 |  |  |  |  | Total Reads =_ | 0 | 0% |  |  |  | Total Sample Volume = | 0
[15 empty] | Pool Diluent Volume = | 0
Dilution Table - Do Not Modify
Dilution Factor | Library Dilution Volume | Diluent Dilution Volume | Total Volume
1 | 0 | 0 | 0
2 | 10 | 10 | 20
3 | 7 | 14 | 21
4 | 5 | 15 | 20
5 | 5 | 20 | 25
6 | 5 | 25 | 30
7 | 5 | 30 | 35
8 | 5 | 35 | 40
9 | 5 | 40 | 45
10 | 5 | 45 | 50

## Library Pool #5
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
Library Pool #5
Conditions |  |  |  |  | Legend
• Final Transfer Volume of libraries must be between 3-20 µl |  |  |  |  | Blue | Fields where data need to be entered manually | [5 empty] | Pool Number_ | 5
• Target Library Pool Volume must be between 50-300 µl |  |  |  |  | Green | Volumes to enter on Chromium Connect | [5 empty] | Target Library Pool Concentration_ | 3 | nM
• Dilution Factors must be integers between 1-10 |  |  |  |  | Red | Verify that value is correct | [5 empty] | Target Library Pool Volume_ | 0 | uL
Intermediate Dilution on Deck
Library Pool | Tube Position (Tube Strip #, A-H) | Library ID | Average Library Size (bp) | Prorated Size | Library Concentration (nM) | Dilution Factor | Working concentration (nM) | Cells/ sample | Reads/cell | Reads/ sample | Fraction of Total Pool Reads | Individual Library Concentration (nM) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Total Volume (µl) | Final Transfer Volume (µl)
1 | 1A | Library-1 | 491 | #DIV/0! | 10 | 1 | 10 | 5000 | 50000 | 250000000 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0!
0 | 1B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
|  |  | Pro-rated size (bp) for pool level quantification =_ | 0 |  |  |  |  | Total Reads =_ | 0 | 0% |  |  |  | Total Sample Volume = | 0
[15 empty] | Pool Diluent Volume = | 0
Dilution Table - Do Not Modify
Dilution Factor | Library Dilution Volume | Diluent Dilution Volume | Total Volume
1 | 0 | 0 | 0
2 | 10 | 10 | 20
3 | 7 | 14 | 21
4 | 5 | 15 | 20
5 | 5 | 20 | 25
6 | 5 | 25 | 30
7 | 5 | 30 | 35
8 | 5 | 35 | 40
9 | 5 | 40 | 45
10 | 5 | 45 | 50

## Library Pool #6
Chromium Connect Pooling Workbook ¦ 10xgenomics.com
Library Pool #6
Conditions |  |  |  |  | Legend
• Final Transfer Volume of libraries must be between 3-20 µl |  |  |  |  | Blue | Fields where data need to be entered manually | [5 empty] | Pool Number_ | 6
• Target Library Pool Volume must be between 50-300 µl |  |  |  |  | Green | Volumes to enter on Chromium Connect | [5 empty] | Target Library Pool Concentration_ | 3 | nM
• Dilution Factors must be integers between 1-10 |  |  |  |  | Red | Verify that value is correct | [5 empty] | Target Library Pool Volume_ | 0 | uL
Intermediate Dilution on Deck
Library Pool | Tube Position (Tube Strip #, A-H) | Library ID | Average Library Size (bp) | Prorated Size | Library Concentration (nM) | Dilution Factor | Working concentration (nM) | Cells/ sample | Reads/cell | Reads/ sample | Fraction of Total Pool Reads | Individual Library Concentration (nM) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Total Volume (µl) | Final Transfer Volume (µl)
1 | 1A | Library-1 | 491 | #DIV/0! | 10 | 1 | 10 | 5000 | 50000 | 250000000 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0!
0 | 1B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 1H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 2H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 3H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4A | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4B | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4C | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4D | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4E | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4F | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4G | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
0 | 4H | 0 | 0 | #DIV/0! | 0 | 1 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0
|  |  | Pro-rated size (bp) for pool level quantification =_ | 0 |  |  |  |  | Total Reads =_ | 0 | 0% |  |  |  | Total Sample Volume = | 0
[15 empty] | Pool Diluent Volume = | 0
Dilution Table - Do Not Modify
Dilution Factor | Library Dilution Volume | Diluent Dilution Volume | Total Volume
1 | 0 | 0 | 0
2 | 10 | 10 | 20
3 | 7 | 14 | 21
4 | 5 | 15 | 20
5 | 5 | 20 | 25
6 | 5 | 25 | 30
7 | 5 | 30 | 35
8 | 5 | 35 | 40
9 | 5 | 40 | 45
10 | 5 | 45 | 50

## Summary sheet
Chromium Connect Pooling Worksheet ¦ 10xgenomics.com
After reviewing information below, click this button to export data to CSV Sheet -------------------------------------------------------------------------------------------
| POOL 1 |  |  | POOL 2 |  |  | POOL 3 |  |  | POOL 4 |  |  | POOL 5 |  |  | POOL 6
Library ID | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Final Transfer Volume (µl) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Final Transfer Volume (µl) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Final Transfer Volume (µl) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Final Transfer Volume (µl) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Final Transfer Volume (µl) | Library Dilution Volume (µl) | Diluent Dilution Volume (µl) | Final Transfer Volume (µl)
Library-1 | 0 | 0 | 15
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Pool 1.__ Total Sample Volume =_ |  |  | Pool 2.__ Total Sample Volume =_ |  |  | Pool 3.__ Total Sample Volume =_ |  |  | Pool 4.__ Total Sample Volume =_ |  |  | Pool 5.__ Total Sample Volume =_ |  |  | Pool 6.__ Total Sample Volume =_
|  |  | 15 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
|  | Pool 1 Diluent Volume =_ | 35 |  | Pool 2 Diluent Volume =_ | 0 |  | Pool 3 Diluent Volume = | 0 |  | Pool 4 Diluent Volume = _ | 0 |  | Pool 5 Diluent Volume =_ | 0 |  | Pool 6 Diluent Volume = _ | 0
|  | Pool 1 Total Volume =_ | 50 |  | Pool 2 Total Volume =_ | 0 |  | Pool 3 Total Volume = | 0 |  | Pool 4 Total Volume =_ | 0 |  | Pool 5 Total Volume =_ | 0 |  | Pool 6 Total Volume =_ | 0
Export Data to CSV

## csv for Connect (hidden)
V1.28
SAMPLEPARAMETERS | SAMPLENAME | lib_trans_vol | lib_dil_vol | lib_dil_dilu | lib_do_pool | USERDEFINED1 | USERDEFINED2 | USERDEFINED3 | USERDEFINED4
ID1A | Library-1 | 56.8182 | 0 | 0 | 1
ID1B | 0 | 0 | 0 | 0 | 3
ID1C | 0 | 43.4783 | 0 | 0 | 1
ID1D | 0 | 0 | 0 | 0 | 6
ID1E | 0 | 0 | 0 | 0 | 6
ID1F | 0 | 0 | 0 | 0 | 6
ID1G | 0 | 0 | 0 | 0 | 6
ID1H | 0 | 0 | 0 | 0 | 6
ID2A | 0 | 0 | 0 | 0 | 6
ID2B | 0 | 0 | 0 | 0 | 6
ID2C | 0 | 0 | 0 | 0 | 6
ID2D | 0 | 0 | 0 | 0 | 6
ID2E | 0 | 0 | 0 | 0 | 6
ID2F | 0 | 0 | 0 | 0 | 6
ID2G | 0 | 0 | 0 | 0 | 6
ID2H | 0 | 0 | 0 | 0 | 6
ID3A | 0 | 0 | 0 | 0 | 6
ID3B | 0 | 0 | 5 | 25 | 6
ID3C | 0 | 0 | 0 | 0 | 6
ID3D | 0 | 0 | 5 | 15 | 6
ID3E | 0 | 0 | 5 | 20 | 6
ID3F | 0 | 0 | 5 | 30 | 6
ID3G | 0 | 0 | 0 | 0 | 6
ID3H | 0 | 0 | 0 | 0 | 6
ID4A | 0 | 0 | 0 | 0 | 6
ID4B | 0 | 0 | 0 | 0 | 6
ID4C | 0 | 0 | 0 | 0 | 6
ID4D | 0 | 0 | 0 | 0 | 6
ID4E | 0 | 0 | 0 | 0 | 6
ID4F | 0 | 0 | 0 | 0 | 6
ID4G | 0 | 0 | 0 | 0 | 6
ID4H | 0 | 0 | 0 | 0 | 6
RUNPARAMETERS | SELECTION
runName
Pool 1 Diluent Volume? | 35
Pool 2 Diluent Volume? | 0
Pool 3 Diluent Volume? | 0
Pool 4 Diluent Volume? | 0
Pool 5 Diluent Volume? | 0
Pool 6 Diluent Volume? | 0

## WorksheetWillHide (hidden)
0 | 0 | 56.8182
0 | 0 | 0
0 | 0 | 43.4783
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
5 | 25 | 0
0 | 0 | 0
5 | 15 | 0
5 | 20 | 0
5 | 30 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0