{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["ReadMe","GEX_LibConst_Input","ComboBoxes"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"ReadMe","index":0,"n_rows":31,"n_cols":11,"rows_kept":31,"cut":false,"hidden":false,"merged":[[0,0,3,2],[0,3,0,8],[0,9,0,11],[0,12,3,12],[1,3,1,8],[1,10,1,11],[2,3,2,8],[2,10,2,11],[3,3,3,8],[3,9,3,11],[4,0,4,11],[5,1,5,11],[6,0,6,12],[7,0,7,12],[8,1,8,2],[8,3,8,11],[19,0,19,12],[9,1,9,2],[9,3,9,11],[10,1,10,2],[10,3,10,11],[11,0,11,12],[12,0,12,12],[13,2,13,11],[14,2,14,11],[15,2,15,11],[16,2,16,11],[18,2,18,11],[17,2,17,11],[20,0,20,12],[21,2,21,11],[22,2,22,11],[23,0,23,12],[24,0,24,12],[31,0,31,12],[25,1,25,11],[26,1,26,11],[27,1,27,11],[28,1,28,11],[29,0,29,12],[30,1,30,11]]}
[]
[null,null,null,"Chromium Connect",null,null,null,null,null,"Doc","CG000485"]
[null,null,null,"Gene Expression Library Construction Input File ",null,null,null,null,null,"Rev","A"]
[]
["Scope"]
[null,"Use this spreadsheet to save and export your Setup selections (to a csv file) for the Gene Expression Library Construction assay on the Chromium Connect Instrument. If you have your own LIMS system, use CG000486 instead."]
[]
["Associated Documents"]
[null,"Refer to",null,"Description"]
[null,"CG000180",null,"Chromium Connect Instrument User Guide"]
[null,"CG000486",null,"ChromiumConnect_GEX_LibConst_InputSampleInfo_Template.csv"]
[]
["Required Information"]
[null,"1.","Run Parameters"]
[null,"2.","Sample IDs"]
[null,"3.","Sample index plate choices"]
[null,"4.","Cell Count"]
[null,"5.","Expression Level"]
[null,"6.","Input Volume"]
[]
["Considerations"]
[null,"•","The experiment name cannot include any symbols."]
[null,"•","Sample Index rows A-D are not accessible by instrument gantry for samples ID5-ID8."]
[]
["Contact"]
[null,"support@10xgenomics.com"]
[null,"10x Genomics"]
[null,"6230 Stoneridge Mall Road"]
[null,"Pleasanton, CA 94588 USA"]
[]
[null,"© 2021 10X Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES."]

{"sheet":"GEX_LibConst_Input","index":1,"n_rows":21,"n_cols":7,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,1,0,8],[1,1,1,6],[3,3,3,4],[3,5,3,6],[1,0,21,0],[1,8,21,8],[2,1,2,7],[9,1,9,7],[10,3,10,5],[20,4,20,5],[21,1,21,7],[4,3,8,4],[4,7,6,7],[7,5,8,7]]}
[null,"Chromium Connect Gene Expression Library Construction Input File  |  10xgenomics.com"]
[null,"After entering assay information below, click this button to autofill the LIMS file ----"]
[]
[null,"Run Parameters","Selection","Notes (included in run logs)",null,"Legend"]
[null,"ExperimentName","Sample Run",null,null,"Blue","Enter info manually"]
[null,"Instruction Level","Standard",null,null,"Light Blue","Drop-down menu"]
[null,"qPCR Setup?","No",null,null,"Red","Invalid Entry"]
[null,"Pooling?","No"]
[null,"SI Cycles",14]
[]
[null,"Number of Samples",8]
[null,"Sample Number","Sample ID","Sample Index","CellCount","ExpressionLevel","Volume (ul)"]
[null,"ID1","aaa","A1","2001-6000","High",5]
[null,"ID2","bbb","B1","2001-6000","High",5]
[null,"ID3","ccc","C1","2001-6000","High",5]
[null,"ID4","ddd","D1","2001-6000","High",5]
[null,"ID5","eee","E1","2001-6000","High",5]
[null,"ID6","fff","F1","2001-6000","High",5]
[null,"ID7","ggg","G1","2001-6000","High",5]
[null,"ID8","hhh","H1","2001-6000","High",5]
[null,null,"≤ 32 characters/\nsymbols/spaces","Rows A-D not\naccessible for\nID5-ID8",null,null,"5ul - 22 ul\n"]

{"sheet":"ComboBoxes","index":2,"n_rows":15,"n_cols":15,"rows_kept":15,"cut":false,"hidden":true,"merged":[]}
["Samples","Run Steps","Yes/No","Cell Count","Expression","Volume","SI Cycles","Instruction Level",null,"ProtectPassword","Colors"]
[1,null,"Yes","500-2000","High",5,16,"Standard",null,"10xuser","Blue"]
[2,null,"No","2001-6000","Low",22,15,"Advanced",null,null,"Light Blue"]
[3,null,null,"6001-10000",null,null,14,"Expert",null,null,"Red"]
[4,null,null,null,null,null,13]
[5,null,null,null,null,null,12]
[6,null,null,null,null,null,11]
[7,null,null,null,null,null,10]
[8,null,null,null,null,null,9]
[null,null,null,null,null,null,8]
[null,null,null,null,null,null,7]
[null,null,null,null,null,null,6]
["CSV Headers",null,null,null,null,null,5]
["SAMPLEPARAMETERS","SAMPLENAME","SIINDEX","VOLUME","CellCount","ExpressionLevel","CYCLES","USERDEFINED1","USERDEFINED2","USERDEFINED3","USERDEFINED4","USERDEFINED5","USERDEFINED6","USERDEFINED7","USERDEFINED8"]
["RUNPARAMETERS","SELECTION"]