## ReadMe
|  |  | Chromium Fixed RNA Profiling for Multiplexed Samples | Doc Rev | CG000565 A
Pooling Workbook
Scope
Chromium Fixed RNA Profiling for Multiplexed Samples provides an efficient and cost-effective way to increase experiment size and cell number by enabling up to 4 or 16 samples to be run within a single GEM reaction. Multiplex-compatible Chromium Next GEM Single Cell Fixed RNA Human Transcriptome Probe kits (PN-1000420/1000456) contain 4 or 16 probe sets, where each probe set includes a Probe Barcode that enables sample multiplexing and downstream demultiplexing.
When using the Chromium Fixed RNA Kit, Human Transcriptome, 4 rxns x 4 BC PN-1000475, up to 10,000 cells can be recovered and demultiplexed per sample, yielding a total of 40,000 cells recovered per GEM reaction. When using the Chromium Fixed RNA Kit, Human Transcriptome, 4 rxns x 16 BC PN-1000476, up to 8,000 cells can be recovered and demultiplexed per sample; thus with using 16 Probe Barcodes, a total of 128,000 cells (16 * 8,000) can be recovered and demultiplexed.
Multiplexing is most efficient when samples are pooled equally (same number of cells for each sample) using the maximum number of Probe Barcodes (4 or 16) supported by the kit. However, there may be circumstances where pooling samples equally is not practical or not possible. In these instances, alternative pooling strategies may better suit the goals of the experiment.
The purpose of this document is to provide:
• guidance around various pooling strategies
• worksheets to calculate sample volume for pooling
For complete protocol, consult the Chromium Fixed RNA Profiling Reagent Kits for Multiplexed Samples User Guide (CG000527).
Required Information
| 1. | Post-Hybridization Cell Concentration in cells/µl for each sample
| 2. | Post-Hybridization Sample Volume in µl
Instructions
| • | Begin each experiment with a fresh version of this workbook.
| • | Start on the Equal Pooling tab and enter post-hybridization cell concentration and sample volume in the appropriate columns (highlighted in blue).
| • | Accurate cell counting is critical for optimal assay performance.
| • | If hybridization was performed in 8-tube strips, sample volume would be ~265 µl. If hybridization was performed in 1.5-ml microcentrifuge tubes, sample volume would be ~840 µl.
| • | If a warning message is shown, view the Guidance for Alternative Pooling tab to determine the best strategy for the experiment.
| • | Additional conditions to be followed are listed at the top of each alternative pooling strategy tab.
Contact
support@10xgenomics.com
10x Genomics
6230 Stoneridge Mall Road
Pleasanton, CA 94588 USA
© 2022 10X Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES.

## Equal Pooling (Recommended)
Chromium Fixed RNA Profiling for Multiplexed Samples - Pooling Workbook ¦ 10xgenomics.com CG000565 Rev A
Equal Pooling (Recommended)
Equal pooling refers to pooling the same number of cells from each probe-hybridized sample. It is the recommended method for pooling and ensures that the undetected multiplet rates are the same for each Probe Barcode. Pooling the same number of cells should also result in an approximately equal numbers of cells recovered from every Probe Barcode in the final library. See below for worksheet to calculate the sample volumes to be added during pooling.
Numbers filled In this tab will auto-populate other tabs
This calculator is meant to facilitate pooling an equal number of cells from different hybridization reactions prior to washing.
1. | Enter Post-Hybridization Cell Concentration and Sample Volume (volume remaining after counting) in columns C and D (blue columns) in Table 1.
2. | Use the volumes indicated in the column H (green column) to pool the samples from different hybridization reactions into a 5-ml (for 4 pooling samples) or 15-ml (for pooling 16 samples) centrifuge tube. If the differences in 'Total Cells in Hybridization' between samples are smaller than the expected error from cell counting, the entire volume from each sample can be added to the pool. If a warning message appears next to Table 2, consider alternative pooling strategies.
3. | If hybridization was performed in 8-tube strips, add 2.3 ml Post-Hyb Wash Buffer (if pooling 4 samples) or 9.2 ml Post-Hyb Wash Buffer (if pooling 16 samples). Mix by inverting 5x.
Table 1
Probe Barcode | Post-Hybridization Cell Concentration (Cells in Post-Hyb Wash Buffer) | Post-Hybridization Sample Volume | Total Cells in Hybridization (Post-Hyb Cell Conc. * Volume) | % of Final Pool | Cells per Sample Added to the Pool (Cell Count of Sample with Lowest Concentration) | Sample Volume to be Added (Cells per Sample Added to the Pool/ Post-Hybridization Cell Conc.) | Expected Cells Recovered per Probe Barcode (Assumes Maximum Supported Number of Cells Targeted per GEM Reaction) | Max. Expected Cells recovered per barcode Given Limiting cell number
BC001
BC002
BC003
BC004
BC005
BC006
BC007
BC008
BC009
BC010
BC011
BC012
BC013
BC014
BC015
BC016
Table 2
Number of Probe Barcodes used | Total Cells Pooled | Maximum Number of Cells Targeted per GEM Reaction | WARNING: • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. Consider an alternative pooling strategy.
0 | 0 | 0
Error | Error Code | Does Error Appear | Cond. Error Message
Bellow 200K Cells In Pool | 1 | TRUE | • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. Consider an alternative pooling strategy.
Cells Pooled Cannot Reach Target GEM per BC | 2 | FALSE
Pipette Under 2ul | 3 | FALSE
Hyb Reaction has more than 5 million cells | 4 | FALSE

## Guidance for Alt. Pooling
Chromium Fixed RNA Profiling for Multiplexed Samples - Pooling Workbook ¦ 10xgenomics.com CG000565 Rev A
Guidance for Alternative Pooling Strategies
Equal pooling (same number of cells for each sample) is the recommended pooling strategy. However, equal pooling is not always practical or possible. In such cases, alternative pooling strategies that allow an unequal number of cells to be pooled can be used.
Several alternative pooling strategies are described below. The optimal strategy will depend on the goals of the experiment. This guidance tab is meant to help illustrate the different tradeoffs with each strategy and uses an example where some samples have much fewer cells after hybridization than the others.
When samples are pooled unequally, certain samples will be overrepresented in the pool relative to others. So the total number of cells per GEM reaction across all samples must be reduced to avoid exceeding the maximum supported cell numbers on any Probe Barcode. The maximum supported cell numbers are 10,000 cells per Probe Barcode if using up to 4 Probe Barcodes, or 8,000 cells per Probe Barcode if using more than 4 Probe Barcodes.
The alternative pooling strategies can help increase the number of cells pelleted during each washing step, thus improving cell handling. They can also help reduce the number of calculations and opportunities for pipetting errors.
However, alternative pooling strategies can also reduce the maximum number of cells that can be targeted per Probe Barcode and the number of expected cells recovered for samples in proportion to their representation in the pool.
Examples
Equal Pooling
All samples are normalized to the limiting sample (sample with lowest Total Cells in Hybridization) and same number of cells are pooled (equal pooling).
The sample hybridized with BC004 has significantly fewer cells than the others, and equal pooling would result in washing less than 200,000 cells. An alternative strategy is recommended.
Alternative Pooling Strategy 1: No Normalization
The entire volume from all samples is pooled without any normalization.
No Normalization is only recommended in cases where the differences in "Total Cells in Hybridization" between samples is small (i.e., within counting error) because cells from each sample are already present in equal proportions.
Alternative Pooling Strategy 2: Selective Normalization
User determines whether to include a sample in the normalization.
Only selected samples are considered in the normalization, i.e. these samples are required to be added to the pool in equal proportions. When a sample is excluded from the normalization ("Include in Normalization?" set to FALSE), all available cells for that sample are added to the pool if there are not enough cells available to match the others in equal numbers. Using this strategy, a sizeable number of cells will be washed (>750,000 cells), however only 5% of the cells in the experiment will be from the sample hybridized with BC004 (i.e. 1,672 cells from BC004 assuming 31,672 is the targeted maximum number of cells). In this case, the unequal pooling reduces the maximum number of cells that can be targeted from 40,000 to 31,672.
Alternative Pooling Strategy 3: User-defined Normalization
User determines whether to include a sample in the normalization, as well as the number of cells to be added per sample.
The samples hybridized with Probe Barcodes BC001, BC002, and BC003 are pooled equally, but using the user-defined value of 100,000 cells per sample, and the entirety of the sample hybridized with BC004 is added to the pool. The result is a more even representation of cells from each sample in the final pool (12% for sample with BC004), and a modest number of cells being washed (341,075 cells). As the pooling is more even, the adjusted maximum number of cells that can be targeted per GEM reaction (34,108) is also higher than with other strategies.
Increasing or decreasing the user-defined number of cells will change the representation of each sample in the final pool, as well as the total number of cells (example below).
In this example, decreasing the user-defined number of cells from 100,000 to 66,667 (suggested cell number) reduces the total number of cells being washed, which may make it more difficult to see the cell pellet, but results in a more equal representation of all four samples in the pool.
Alternative Pooling Strategy 4: Excluding a Sample
User decides to completely exclude a sample from the experiment.
The sample hybridized with Probe Barcode BC004 is excluded from the experiment and only three samples are pooled equally for washing. This strategy results in no data from the sample hybridized with BC004. To exclude samples, use the Equal Pooling tab and do not enter sample concentrations and volumes for samples that are excluded.

## No Normalization
Chromium Fixed RNA Profiling for Multiplexed Samples- Pooling Workbook ¦ 10xgenomics.com CG000565 Rev A
Alternative Pooling Strategy: No Normalization
This calculator demonstrates an alternative pooling strategy where the entire sample volume is pooled without any normalization.
When an unequal number of cells are pooled from each sample:
- | The total number of cells loaded per GEM reaction must be reduced.
- | The expected number of cells recovered per Probe Barcode will be proportional to their number within the pool.
No Normalization is only recommended in cases where the differences in Total Cells in Hybridization between samples is small (e.g. <20%).
1. | Enter Post-Hybridization Cell Concentration and Sample Volume (volume remaining after counting) in columns C and D (blue columns) in Table 1.
2. | Pool the entire volume of each sample (column H, green column) from different hybridization reactions into a 5-ml (for 4 pooling samples) or 15-ml (for pooling 16 samples) centrifuge tube. If a warning message appears next to Table 2, consider alternative pooling strategies.
3. | If hybridization was performed in 8-tube strips, add 2.3 ml Post-Hyb Wash Buffer (if pooling 4 samples) or 9.2 ml Post-Hyb Wash Buffer (if pooling 16 samples). Mix by inverting 5x.
Table 1
Probe Barcode | Post-Hybridization Cell Concentration (Cells in Post-Hyb Wash buffer) | Post-Hybridization Sample Volume | Total Cells in Hybridization (Post-Hyb Cell Conc. * Volume) | % of Final Pool | Cells per Sample Added to the Pool (Entire sample volume is pooled) | Sample Volume to be Added (Entire sample volume is pooled) | Expected Cells Recovered per Probe Barcode (Assumes Maximum Supported Number of Cells Targeted per GEM Reaction) | Max. Expected Cells recovered per barcode Given Limiting cell number
BC001
BC002
BC003
BC004
BC005
BC006
BC007
BC008
BC009
BC010
BC011
BC012
BC013
BC014
BC015
BC016
Table 2
Number of Probe Barcodes used | Total Cells Pooled | Maximum Number of Cells Targeted per GEM Reaction | WARNING: • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. To minimize cell loss, see Tips & Best Practices: Sample Washing & Recovery in User Guide.
0 | 0 | 0
Error | Error Code | Does Error Appear | Cond. Error Message
Bellow 200K Cells In Pool | 1 | TRUE | • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. To minimize cell loss, see Tips & Best Practices: Sample Washing & Recovery in User Guide.
Cells Pooled Cannot Reach Target GEM per BC | 2 | FALSE
Pipette Under 2ul | 3 | FALSE
Hyb Reaction has more than 5 million cells | 4 | FALSE
Differences in cell counts do not allow for "No Normalization" | 5 | FALSE

## Selective Normalization
Chromium Fixed RNA Profiling for Multiplexed Samples - Pooling Workbook ¦ 10xgenomics.com CG000565 Rev A
Alternative Pooling Strategy: Selective Normalization
This calculator demonstrates an alternative pooling strategy, where the user determines whether to include a sample in the normalization.
When an unequal number of cells are pooled from a subset of samples within a pool:
- | The total number of cells loaded per GEM reaction must be reduced.
- | Including more samples in the normalization increases the maximum number of cells that can be targeted per GEM reaction.
- | The expected number of cells recovered for samples that are not included in the normalization will be proportional to their number within the pool.
1. | Enter Post-Hybridization Cell Concentration and Sample Volume (volume remaining after counting) in columns D and E (blue columns) in Table 1.
2. | Start by including all samples in the normalization (column B set to TRUE), and then exclude the samples (column B set to FALSE) with the lowest Total Cells in Hybridization.
• | Setting Include in Normalization to TRUE ensures that these samples will be added to the pool in equal proportions. When Include in Normalization is set to FALSE, these samples may be added to the pool in equal proportions if sufficient cells are available. Otherwise, the entire sample volume will be added. In the latter case, this necessarily means that these sample will be underrepresented in the final pool.
3. | Inspect the Total Cells Pooled (Table 2), the Maximum Number of Cells Targeted per GEM Reaction (Table 2), and the Expected Cells Recovered per Probe Barcode (Table 1).
• | If the Total Cells Pooled is too low, or the Maximum number of Cells Targeted or the Expected Cell Recovered per Probe Barcode is undesirable for the experimental goals, continue excluding samples from the normalization until an acceptable compromise is achieved.
4. | Use the volumes indicated in the column I (green column) to pool samples into a 5-ml (for 4 pooling samples) or 15-ml (for pooling 16 samples) centrifuge tube.
5. | If hybridization was performed in 8-tube strips, add 2.3 ml Post-Hyb Wash Buffer (if pooling 4 samples) or 9.2 ml Post-Hyb Wash Buffer (if pooling 16 samples). Mix by inverting 5x.
Table 1
Include in Normalization? | Probe Barcode | Post-Hybridization Cell Concentration (Cells in Post-Hyb Wash buffer) | Post-Hybridization Sample Volume | Total Cells in Hybridization (Post-Hyb Cell Conc. * Volume) | % of final pool | Cells per Sample Added to the Pool (Lowest Cell Count Amongst Samples Included in Normalization) | Sample Volume to be Added (Cells per Sample Added to the Pool/ Post-Hybridization Cell Conc.) | Expected Cells Recovered per Probe Barcode (Assumes Maximum Supported Number of Cells Targeted per GEM Reaction) | Max. Expected Cells Recovered per Probe Barcode Given Limiting Cell Number
TRUE | BC001
TRUE | BC002
TRUE | BC003
TRUE | BC004
TRUE | BC005
TRUE | BC006
TRUE | BC007
TRUE | BC008
TRUE | BC009
TRUE | BC010
TRUE | BC011
TRUE | BC012
TRUE | BC013
TRUE | BC014
TRUE | BC015
TRUE | BC016
Table 2
Number of Probe Barcodes Used | Total Cells Pooled | Maximum Number of Cells Targeted per GEM Reaction | WARNING: • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. Exclude barcodes from normalization or consider an alternative pooling strategy.
0 | 0 | 0
Error | Error Code | Does Error Appear | Cond. Error Message
Bellow 200K Cells In Pool | 1 | TRUE | • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. Exclude barcodes from normalization or consider an alternative pooling strategy.
Cells Pooled Cannot Reach Target GEM per BC | 2 | FALSE
Pipette Under 2ul | 3 | FALSE
Hyb Reaction has more than 5 million cells | 4 | FALSE

## User-defined Normalization
Chromium Fixed RNA Profiling for Multiplexed Samples- Pooling Workbook ¦ 10xgenomics.com CG000565 Rev A
Alternative Pooling Strategy: User-defined Normalization
This calculator demonstrates an alternative pooling strategy, where the user determines whether to include a sample in the normalization as well as the number of cells to be added per sample.
When an unequal number of cells are pooled from a subset of samples within a pool:
- | The total number of cells loaded per GEM reaction must be reduced.
- | Including more samples in the normalization increases the maximum number of cells that can be targeted per GEM reaction.
- | The expected number of cells recovered for samples that are not included in the normalization will be proportional to their number within the pool.
1. | Enter Post-Hybridization Cell Concentration and Sample Volume (volume remaining after counting) in columns D and E (blue columns) in Table 1.
2. | Input the desired cell number under the box labeled, User-defined Cell Numbers per Sample to Pool. The suggested number of cells per sample helps in making the representation of each sample as equal as possible, while maintaining a minimum number of cells required to safely perform the post-hybridization washes.
3. | Inspect the Total Cells Pooled (Table 2), Maximum Number of Cells Targeted per GEM Reaction (Table 2), and the Expected Cells Recovered per Probe Barcode (Table 1).
• | If the Total Cells Pooled is too low, or the Maximum Number of Cells Targeted or the Expected Cells Recovered per Probe Barcode is undesirable for the experimental goals, adjust the number in the User-defined Cell Numbers per Sample to Pool and/or exclude samples from the normalization until an acceptable compromise is achieved.
• | When Include in Normalization (column B) is set to TRUE, these samples will be added to the pool in equal proportions using the User-defined Cell Numbers per Sample to Pool.
• | When Include in Normalization (column B) is set to FALSE, these samples may be added to the pool in equal proportions if sufficient cells are available to meet the user-defined number. Otherwise, the entire sample volume will be added. In the latter case, this necessarily means that these samples will be underrepresented in the final pool.
• | 'Insufficient Cells' is displayed for samples when Include in Normalization is set to TRUE and there are not enough cells to meet the user-defined number. In these cases, there are two options: - exclude that sample from the normalization (set Include in Normalization to FALSE, column B), or - lower the User-defined Cell Numbers per Sample to Pool. If no action is taken, samples labeled as Insufficient Cells will not be included in the pool.
4. | Use the volumes indicated in column I (green column) to pool the samples into a 5-ml (for 4 pooling samples) or 15-ml (for pooling 16 samples) centrifuge tube.
5. | If hybridization was performed in 8-tube strips, add 2.3 ml Post-Hyb Wash Buffer (if pooling 4 samples) or 9.2 ml Post-Hyb Wash Buffer (if pooling 16 samples). Mix by inverting 5x.
[6 empty] | User-defined Cell Numbers per Sample to Pool |  | Suggested Cell Numbers per Sample to Pool
Not available, see Warnings
Table 1
Include in Normalization? | Probe Barcode | Post-Hybridization Cell Concentration (Cells in Post-Hyb Wash buffer) | Post-Hybridization Sample Volume | Total Cells in Hybridization (Post-Hyb Cell Conc. * Volume) | % of Final Pool | Cells per Sample Added to the Pool (Lowest Cell Count Amongst Samples Included in Normalization) | Sample Volume to be Added (Cells per Sample Added to the Pool/ Post-Hybridization Cell Conc.) | Expected Cells Recovered per Probe Barcode (Assumes Maximum Supported Number of Cells Targeted per GEM Reaction) | Max. Expected Cells Recovered per Probe Barcode Given Limiting Cell Number
TRUE | BC001
TRUE | BC002
TRUE | BC003
TRUE | BC004
TRUE | BC005
TRUE | BC006
TRUE | BC007
TRUE | BC008
TRUE | BC009
TRUE | BC010
TRUE | BC011
TRUE | BC012
TRUE | BC013
TRUE | BC014
TRUE | BC015
TRUE | BC016
Table 2
Number of Probe Barcodes Used | Total Cells Pooled | Maximum Number of Cells Targeted per GEM Reaction | WARNING: • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. Adjust the number in the User-defined Cell Numbers per Sample and/or exclude barcodes from normalization, or consider an alternative pooling strategy. • No suggestion available that maintains equal representation and a total of 200,000 cells pooled. Set Include in Normalization to FALSE for all samples, then set the User-defined Cell Numbers per Sample equal to the number of cells present in the sample with the lowest Total Cells in Hybridization. Increase if the Total Cells Pooled is too low to reliably pellet during washing. To minimize cell loss, see Tips & Best Practices: Sample Washing & Recovery in User Guide.
0 | 0 | 0
Number of Probe Barcodes Used Excluding Dropouts | Maximum Cells Targeted | Cells Needed to Load | Cells Needed Per Probe Barcode | Total Cells needed in Pool | Minimum Cells In Pool | Minimum Cells Per Probe Barcode into Pool | 0
0 |  |  |  |  | 200000 | Not available, see Warnings
1 | 10000 | 16500 | 33000 | 33000 | 200000 | 200000
2 | 20000 | 33000 | 33000 | 66000 | 200000 | 100000
3 | 30000 | 49500 | 33000 | 99000 | 200000 | 66666.6667
4 | 40000 | 66000 | 33000 | 132000 | 200000 | 50000
5 | 40000 | 66000 | 26400 | 132000 | 200000 | 40000
6 | 48000 | 79200 | 26400 | 158400 | 200000 | 33333.3333
7 | 56000 | 92400 | 26400 | 184800 | 200000 | 28571.4286
8 | 64000 | 105600 | 26400 | 211200 | 211200 | 26400
9 | 72000 | 118800 | 26400 | 237600 | 237600 | 26400
10 | 80000 | 132000 | 26400 | 264000 | 264000 | 26400
11 | 88000 | 145200 | 26400 | 290400 | 290400 | 26400
12 | 96000 | 158400 | 26400 | 316800 | 316800 | 26400
13 | 104000 | 171600 | 26400 | 343200 | 343200 | 26400
14 | 112000 | 184800 | 26400 | 369600 | 369600 | 26400
15 | 120000 | 198000 | 26400 | 396000 | 396000 | 26400
16 | 128000 | 211200 | 26400 | 422400 | 422400 | 26400
Error | Error Code | Does Error Appear | Cond. Error Message
Bellow 200K Cells In Pool | 1 | TRUE | • Total Cells Pooled for wash is below the recommended minimum of 200,000 cells. Adjust the number in the User-defined Cell Numbers per Sample and/or exclude barcodes from normalization, or consider an alternative pooling strategy.
Cells Pooled Cannot Reach Target GEM per BC | 2 | FALSE
Pipette Under 2ul | 3 | FALSE
Hyb Reaction has more than 5 million cells | 4 | FALSE
No valid suggestion for pooling | 6 | TRUE | • No suggestion available that maintains equal representation and a total of 200,000 cells pooled. Set Include in Normalization to FALSE for all samples, then set the User-defined Cell Numbers per Sample equal to the number of cells present in the sample with the lowest Total Cells in Hybridization. Increase if the Total Cells Pooled is too low to reliably pellet during washing. To minimize cell loss, see Tips & Best Practices: Sample Washing & Recovery in User Guide.