{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["ReadMe","SC5'-VDJ_Input","ComboBoxes"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"ReadMe","index":0,"n_rows":31,"n_cols":11,"rows_kept":31,"cut":false,"hidden":false,"merged":[[29,0,29,12],[30,1,30,11],[31,0,31,12],[10,1,10,2],[10,3,10,11],[23,0,23,12],[24,0,24,12],[25,1,25,11],[26,1,26,11],[27,1,27,11],[28,1,28,11],[18,2,18,11],[19,0,19,12],[20,0,20,12],[21,2,21,11],[22,2,22,11],[17,2,17,11],[8,1,8,2],[8,3,8,11],[9,1,9,2],[9,3,9,11],[11,1,11,2],[11,3,11,11],[12,0,12,12],[13,0,13,12],[14,2,14,11],[15,2,15,11],[16,2,16,11],[7,0,7,12],[0,0,3,2],[0,3,0,8],[4,0,4,11],[5,1,5,11],[6,0,6,12],[0,9,0,11],[0,12,3,12],[1,3,1,8],[1,10,1,11],[2,3,2,8],[2,10,2,11],[3,3,3,8],[3,9,3,11]]}
[]
[null,null,null,"Chromium Connect",null,null,null,null,null,"Doc","CG000432"]
[null,null,null,"Single Cell 5' V(D)J Input File ",null,null,null,null,null,"Rev","A"]
[]
["Scope"]
[null,"Use this spreadsheet to save and export your Setup selections (to a csv file) for the Single Cell 5' V(D)J v2 assay on the Chromium Connect Instrument. If you have your own LIMS system, use CG000431 instead."]
[]
["Associated Documents"]
[null,"Refer to",null,"Description"]
[null,"CG000180",null,"Chromium Connect Instrument User Guide"]
[null,"CG000384",null,"Chromium Next GEM Automated Single Cell 5' Reagent Kits v2 User Guide"]
[null,"CG000431",null,"ChromiumConnect_SC5-VDJ_InputSampleInfo_Template.csv"]
[]
["Required Information"]
[null,"1.","Run Parameters"]
[null,"2.","Sample IDs"]
[null,"3.","Sample index plate choices"]
[null,"4.","Cell Count"]
[null,"5.","Expression Level"]
[]
["Considerations"]
[null,"•","The experiment name cannot include any symbols."]
[null,"•","Sample Index rows A-D are not accessible by instrument gantry for samples ID5-ID8."]
[]
["Contact"]
[null,"support@10xgenomics.com"]
[null,"10x Genomics"]
[null,"6230 Stoneridge Mall Road"]
[null,"Pleasanton, CA 94588 USA"]
[]
[null,"© 2021 10X Genomics, Inc. FOR RESEARCH USE ONLY. NOT FOR USE IN DIAGNOSTIC PROCEDURES."]

{"sheet":"SC5'-VDJ_Input","index":1,"n_rows":21,"n_cols":7,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,1,0,8],[3,3,3,4],[4,3,8,4],[1,1,1,5],[3,5,3,6],[2,1,2,7],[1,6,1,7],[7,5,8,7],[1,0,21,0],[1,8,21,8],[4,7,6,7],[21,1,21,7],[20,4,20,5],[20,6,20,7],[10,3,10,5],[11,6,19,7],[9,1,9,7],[10,6,10,7]]}
[null,"Chromium Connect Single Cell 5' V(D)J Input File  |  10xgenomics.com"]
[null,"After entering assay information below, click this button to autofill the LIMS file ----"]
[]
[null,"Run Parameters","Selection","Notes (included in run logs)",null,"Legend"]
[null,"ExperimentName","Sample Run",null,null,"Blue","Enter info manually"]
[null,"Instruction Level","Standard",null,null,"Light Blue","Drop-down menu"]
[null,"Species-Cell Type?","Human-TCR",null,null,"Red","Invalid Entry"]
[null,"qPCR Setup?","No"]
[null,"Pooling?","No"]
[]
[null,"Number of Samples",8]
[null,"Sample Number","Sample ID","Sample Index\n(A1-H12)","CellCount","ExpressionLevel"]
[null,"ID1","aaa","A1","2001-6000","High"]
[null,"ID2","bbb","B1","2001-6000","High"]
[null,"ID3","ccc","C1","2001-6000","High"]
[null,"ID4","ddd","D1","2001-6000","High"]
[null,"ID5","eee","E1","2001-6000","High"]
[null,"ID6","fff","F1","2001-6000","High"]
[null,"ID7","ggg","G1","2001-6000","High"]
[null,"ID8","hhh","H1","2001-6000","High"]
[null,null,"≤ 32 characters/\nsymbols/spaces","Rows A-D not\naccessible for\nID5-ID8"]

{"sheet":"ComboBoxes","index":2,"n_rows":15,"n_cols":15,"rows_kept":15,"cut":false,"hidden":true,"merged":[]}
["Samples","Species-Type","Yes/No","Cell Count","Expression","Instruction Level","Version","ProtectPassword",null,null,"Colors"]
[1,"Human-TCR","Yes","500-2000","High","Standard","V1.26","10xuser",null,null,"Blue"]
[2,"Human-BCR","No","2001-6000","Low","Advanced",null,null,null,null,"Light Blue"]
[3,"Mouse-TCR",null,"6001-10000",null,"Expert",null,null,null,null,"Red"]
[4,"Mouse-BCR"]
[5]
[6]
[7]
[8]
[]
[]
[]
["CSV Headers"]
["SAMPLEPARAMETERS","SAMPLENAME","SIINDEX","VOLUME","CellCount","ExpressionLevel","CYCLES","USERDEFINED1","USERDEFINED2","USERDEFINED3","USERDEFINED4","USERDEFINED5","USERDEFINED6","USERDEFINED7","USERDEFINED8"]
["RUNPARAMETERS","SELECTION"]