## Summary
SUMMARY OF BILLS
BILL No. | WORK DESCRIPTION | TOTAL AMOUNT (RF)
BILL No. 01 | PRELIMINRIES
BILL No. 02 | GROUND WORKS (SUNSET HUT)
BILL No. 03 | CONCRETE WORKS (SUNSET HUT)
BILL No. 04 | MASONRY AND PLASTERING (SUNSET HUT)
BILL No. 05 | ROOFING AND CEILING WORKS (SUSET HUT)
BILL No. 06 | FINISHES (SUNSET HUT)
BILL No. 07 | ITEM NO 1 (MAIN PATHWAY)
BILL No. 08 | ITEM NO 2 (SEATING AREA)
BILL No. 09 | ITEM NO 3 (SEATING AREA)
BILL No. 10 | ITEM NO 4 (SEATING AREA)
BILL No. 11 | ITEM NO 5 (SEATING AREA)
BILL No. 12 | ITEM NO 13-14 (BBQ GRILL & WELL)
BILL No. 13 | ITEM NO 20 (SHOWER area)
BILL No. 14 | ITEM NO 10-18 (FOTO POINT AND BOLLARD)
BILL No. 15 | ITEM NO 9 (STAIR & RAMPL)
BILL No. 16 | ITEM NO 11-12 ( SINK & TABLE & BRICKS)
BILL No. 17 | HYDRAULICS & DRAINAGE (TOILET BLOCK)
BILL No. 18 | ELECTRICAL INSTALLATION (SUNSET BLOCK & MAIN PATHWAY)
TOTAL OF SUMMARY OF BILLS |  | 0
GST 8%
TOTAL AMOUNT |  | 0

## Material & Labour
ITEM | DESCRIPTION | UNIT | QTY | LABOUR |  | MATERIAL
|  |  |  | RATE | TOTAL | RATE | TOTAL
BILL No: 01
PRELIMINRIES
1.1 | GENERAL NOTES
Abbreviations
LS - Lump Sum
No - numbers
m3 - cubic metre
m2 - square metre
LM - Linear metre
| t - tonnes |  | 0
incl - including
mm - millimetre
SS - Stainless Steel
GI - Galvanised Iron
Notes
1.2 | SITE MANAGEMENT COSTS
1.2.1 | Allow for all on and off site management cost including Mobilization and Demobilization upon completion of the project | LS | 1
1.3 | SERVICES AND FACILITIES
1.3.1 | Allow provision for such as scaffolding, props, and fuel required till the completion of the project, (water, power supply, lighting provided by Client )and fuel required till the completion of the project | LS | 1
1.4 | SITE CLEANING
1.4.1 | Cleaning site before handing over | LS | 1
TOTAL OF BILL No:01 - Carried over to summary |  |  |  |  | 0 |  | 0
BILL No: 02
GROUND WORKS (SUNSET HUT BLOCK)
2 | GENERAL
Rates shall include for : leveling,. Grading, trimming, compacting to faces of execavation, keep sides plumb, backfilling, consolidating and disposing surplus soil.
2.1 | SITE CLEARING
2.1.1 | Clear the area of site from rubbish and vegetable matters, stumps, roots. Demolition shall be included (if any) | LS | 1
2.2 | EXCAVATION
Excavtion quantities are measured to the faces of concrete members. Rates shall include for all additional excavation required to place the formwork and backfill and compaction. Rates shall also include transporting surplus soil away from the site to where directed by the Client's repressentative
2.2.1 | Excavation for Pads and Faundation Beams | m3 | 25
2.3 | FILLING
Rates shall include for : leveling,. Grading, trimming, compacting
2.3.1 | Earthfilling under ground floor slab, Screed as shown in the drawing. | m3 | 50
2.4 | WATER PROOFING MEMBERANE UNDER GROUND
Rates shall incl. For dressing around & sealing etc.
2.4.1 | Polythene damp proof membrane (500gauge) laid under blinding layer, Ground beam and floor concrete | m2 | 33.6
2.4.2 | Water proof membrane to sides of pads, beams and walls below ground level | m2 | 84.205
TOTAL OF BILL No:02 - Carried over to summary |  |  |  |  | 0 |  | 0
BILL No: 03
CONCRETE WORKS & WATER PROOFING (SUNSET HUT BLOCK)
3.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
3.2 | LEAN CONCRETE
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
3.2.1 | 50mm thick lean concrete to bottom of Foundation & Ground Beams | m3 | 9
3.3 | REINFORCED CONCRETE
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as required
3.3.1 | Foundation + Pads
3.3.1.1 | Concrete | m3 | 2.43
3.3.1.2 | Form work | m2 | 20.07
Reinforcement
3.3.1.3 | Bars 12mm 6m | nos | 20
3.3.1.4 | Bars 10mm 6m | nos | 12
3.3.1.5 | Bars 06mm 6m | nos | 13
3.3.2 | COLUMNS and stair
3.3.2.1 | Columns - Up to ROOF
3.3.2.1.1 | Concrete | m3 | 2.89
3.3.2.1.7 | Form work | m2 | 18.72
Reinforcement
3.3.2.1.8 | Bars 12mm 6m | nos | 38
3.3.2.1.9 | Bars 10mm 6m | nos | 28
3.3.2.1.10 | Bars 06mm 6m | nos | 16
3.3.4 | Slab Beams
3.3.4.1 | Concrete | m3 | 5.21
3.3.4.2 | Form work | m2 | 69.2
Reinforcement
3.3.4.3 | Bars 12mm | nos | 22
3.3.4.4 | Bars 10mm | nos | 135
3.3.4.5 | Bars 06mm | nos | 35
3.3.5 | ROOF Beams
3.3.5.1 | GF
3.3.5.1.1 | Concrete | m3 | 1.12
3.3.5.1.2 | Form work | m2 | 15
Reinforcement
3.3.5.1.3 | Bars 12mm | nos | 18
3.3.5.1.4 | Bars 06mm | nos | 7
3.3.7 | WATER PROOFING OVER GROUND
3.3.7.1 | Apply 'MASTERSEAL 550' chemical or eqialent to Toilets area Floor & Wall up 300mm height in accordance with the specifications and manufacturer's instructions
3.3.7.1.1 | Water proofing area - GF | m2 | 18.705
TOTAL OF BILL No:03 - Carried over to summary |  |  |  |  | 0 |  | 0
BILL No: 04
MASONRY AND PLASTERING (SUN SET HUT BLOCK)
GENERAL
Rates shall include for: all cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of cutting or leaving holes and openings, as recesses for and building in pipes, conduits, sleeves and similar as required for all trades, leaving surfaces rough or raking out joints for plastering and flashings, bedding frames or plates, building in joists, bearers or similar, temporary supports to openings, templates, reinforcement in walls and for all necessary making good.
4.1 | SOLID MASONRY WALLS
4.1.1 | UNDER GROUND (Up to FFL)
4.1.1.1 | 150mm thick masonry walls (mix ratio; 1:4) | m2 | 8
4.2 | EXTERNAL MASONRY WALLS
4.2.1 | GROUND FLOOR & FIRST FLOOR
4.2.1.1 | 150mm thick masonry walls (mix ratio; 1:4) | m2 | 22
4.4 | PLASTERING EXTERNAL
20mm cement plastering on external walls and concrete surfaces with 1:4 Cement mortar mix as specified incl. wire mesh at joints of concrete surfaces and walls (first, second coats).
4.4.1 | WALL
4.4.1.0 | WALL -Up to GL (UG)
4.4.1.0.1 | Cement plastering as specified masonry walls (ratio; 1:4) | m2 | 8
4.4.1.1 | WALL, COLUMN, BEAM - Up to Roof
4.4.1.1.1 | Cement plastering as specified (ratio; 1:4) | m2 | 22
4.6 | FLOORING
4.6.1 | GF
4.6.1.1 | 50mm thick Cement Sand Screed (mix ratio; 1:4) - GF | m2 | 45
4.6.1.5 | 4.5mm thick PVC mesh reinforcement of 25mmx25mm grid | m2 | 24.3
4.6.2 | GF
4.6.2.1 | 25mm thick cement screed (mix ratio; 1:4) - GF | m2 | 24.3
TOTAL OF BILL No:04 - Carried over to summary |  |  |  |  | 0 |  | 0
BILL No: 05
ROOFING AND CEILING WORKS (SUNSET HUT BLOCK)
GENERAL
Rates shall include for: plant, tools, bolts, nuts, washers, nail, screws, preservative paint and any other related items not in the List of Material.
(a) Rates shall include for: fair edges, dressing over angle fillets, turning into grooves, all other labors, circular edges, nails, screws and other fixings and laps
(b) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws.
(c) Rates shall include for all painting and finishing as specified
(d) Rates shall include for fabrication and erection and temporary supports and fixing into position
Fabrication and install the Trusses including all necessary paints specified in the specification.
5.1 | ROOFING FRAME WORKS
5.1.1 | Wall plate (50x100mm) | m | 23
5.1.2 | Timber Rafter (50x150mm) | m | 124.8
| Timber Purlin (25x50mm) | m | 438
5.2 | ROOF COVERING
5.2.1 | Supply and installation Syntatic Roofing as per the Manufacturer's specification (ceiling) | m2 | 72
5.2.2 | 10mm thick playwood. | m2 | 72
5.2.3 | PVC canvas installation | m2 | 72
5.2.4 | Supply and installation Syntatic Roofing as per the Manufacturer's specification. | m2 | 72
5.2.5 | Fixing of 25x250mm timber fascia board finished with matte blue emulsion paint. | mts | 23
TOTAL OF BILL No:05 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 06
PAINTING (SUNSET HUT BLOCK)
(a)One undercoat and two coats of exterior emulsion paint on exterior surfaces of masonry walls
(b) One coat of wall sealer and two coats of semi-gloss emulsion paint on interior surfaces of masonry walls and under concrete slab, after making good with application of wall putty
7.1 | PAINTING EXTERNAL WALLS , BEAMS, COLUMNS
7.1.1 | Exterior surfaces (Wall, Column, Beam)
7.1.1.1 | Exterior surfaces Area | m2 | 54.02
7.2 | PAINTING INTERNAL WALLS, BEAMS, COLUMNS
7.2.1 | Interior surfaces (Wall, Column, Beam)
7.2.1.1 | Interior surfaces Area | m2 | 20.5675
7.3 | PAINTING INTERIOR & EXTERIOR CEILING
7.3.1 | Interior (Wash area)
7.3.1.1 | Interior area -
7.3.1.1.1 | Interior (Wash area) | m2 | 14.7
7.3.2 | Stair railing | item | 1
7.3.2.1 | 35mm SS pipe | m | 8
7.3.2.1.1 | 25mm SS pipe | m | 24
TOTAL OF BILL No:06 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 07
ITEM NO 1 (PATH WAY)
11 | GENERAL
Rates shall include for: all cleaning out cavities, forming rebated reveals and pointing and cleaning down to reveals where necessary; fractional size blocks, all necessary machine cutting, cutting or forming chases or edges of cutting.
11.1 | MAIN PATHWAY
Supply and Paving of Cobblestone for mainpathway as per finish schedule
11.1.1 | Pathway area | m2 | 489
TOTAL OF BILL No:07 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 08
ITEM NO 2 (SEATING AREA)
12.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
12.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
12.2.1 | For curb A | m | 10
12.2.2 | For curb B | m | 25
12.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
12.3.1 | Curb A (Height - 200mm, Width- 80mm) | m | 10
12.3.2 | Curb B (Height - 200mm, Width- 80mm) | m | 25
12.4 | SEATING
Supply and fixing of seating as follows as per detailed drawing and manufacturer's instructions.
12.4.1 | Seating A | Nos. | 8
12.4.2 | Seating B | Nos. | 1
12.5 | HEADGE WORK
Supply and fixing of headge as per drawing.
12.5.1 | Headge work area (19m2) | Item | 1
TOTAL OF BILL No:08- Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 09
ITEM NO 3 (SEATING ( AREA)
13.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
13.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
13.2.1 | For curb A | m | 29
13.2.2 | For curb B | m | 10
13.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
13.3.1 | Curb A (Height - 200mm, Width- 80mm) | m | 22
13.3.2 | Curb B (Height - 200mm, Width- 800mm) | m | 10
13.4 | SEATING
Supply and fixing of seating as follows as per detailed drawing and manufacturer's instructions.
13.4.1 | Seating A | Nos. | 1
13.4.2 | Seating B | Nos. | 1
13.5 | FLOOR FINISHES
Complete floor finishes as per drawing and manufacturer's instructions.
13.5.1 | Cement flooring area | Item | 1
TOTAL OF BILL No:09 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 10
ITEM NO-4 (SEATING ( AREA)
14.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
14.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
14.2.1 | For curb A | m | 12
14.2.2 | For curb B | m | 6
14.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
14.3.1 | Curb A (Height - 200mm, Width- 80mm) | m | 12
14.3.2 | Curb A (Height - 200mm, Width- 80mm) | m | 6
14.4 | SEATING
Supply and fixing of seating as follows as per detailed drawing and manufacturer's instructions.
14.4.1 | Seating 4 | Nos. | 8
TOTAL OF BILL No:10 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 11
ITEM NO 6,7and 22 (SEATING AREA)
15.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
15.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
15.2.1 | For curb B | m | 38
15.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
15.3.1 | Curb B (Height - 200mm, Width- 80mm) | m | 45
15.4 | SEATING
Supply and fixing of seating as follows as per detailed drawing and manufacturer's instructions.
15.4.1 | Seating 22 | Nos. | 2
15.4.2 | Seating 6 | Nos. | 1
15.4.3 | Seating 7 | Nos. | 1
TOTAL OF BILL No:11 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 12
ITEM NO 13-14 (BBQ AREA)
16.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
16.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
16.2.1 | For curb A | m | 30
16.2.2 | For curb B | m | 10
16.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
16.3.1 | Curb A (Height - 200mm, Width- 80mm) | m | 30
16.3.2 | Curb B (Height - 300mm, Width- 100mm) | m | 10
16.4 | BBQ GRILL
Supply and fixing of seating as follows as per detailed drawing and manufacturer's instructions.
16.4.1 | BBQ GRILL | Nos. | 3
16.5 | HEADGE WORK
Supply and fixing of headge as per drawing.
16.5.1 | Headge work area (19m2) | Item | 1
16.6 | WELL
Supply and fixing of equipments as follows as per detailed drawing and manufacturer's instructions.
16.6.1 | WELL | Nos. | 1
TOTAL OF BILL No:12 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 13
ITEM NO 20 (SHOWER AREA)
17.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
17.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
17.2.1 | For curb B | m | 12
17.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
17.3.1 | Curb B (Height - 200mm, Width- 80mm) | m | 20
12.7 | FLOOR FINISHES
Complete floor finishes as per drawing and manufacturer's instructions.
12.7.1 | BRICKS flooring area (SHOWER area) | m2 | 20
12.7 | MASONARY PLASTERING
12.7.2 | Masonery | m2 | 10
12.7.3 | Plastering | m2 | 20
SHOWER AREA
| Supply and installation of outdoor beach shower area including shower unit, water connection, and drainage, complete as shown in drawings | nos | 1
TOTAL OF BILL No:13 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 14
ITEM NO (10 and 18)
18.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
18.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
18.2.1 | For curb B | m | 8
18.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
18.3.1 | Curb B (Height - 300mm, Width- 80mm) | m | 8
18.4 | FLOOR FINISHES
Complete floor finishes as per drawing and manufacturer's instructions.
18.4.1 | Green Pocket A flooring area | m2 | 8
18.5 | CONCRET FOTO POINT AND BOLLARD
18.4.1 | Photo point | Itms | 1
18.4.2 | Bollard | Itms | 12
TOTAL OF BILL No:14 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 15
ITEM NO 9 (STAIR & RAMP)
19.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
19.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
19.2.1 | For curb B | m | 12
19.3 | CONCRETE
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
19.3.1 | Stair and ramp | Items | 1
19.4 | RAILING
Complete floor finishes as per drawing and manufacturer's instructions.
19.4.1 | SS PIPE 2.5mm THICKNESS | Items | 1
19.4 | SIGN BOARD
19.5.1 | Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6) | Items | 1
19.5.2 | 75mm thick lean concrete to all type of curbstones as per detailed drawing. | Items | 1
TOTAL OF BILL No:15 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 16
ITEM NO 11-12 (SINK AND TABLE)
20.1 | GENERAL
Rates shall include for : placing in position; making good after removal of formwork and casting in all required items; additional concrete required to conform to structural and excavated tolerances.
Grade 15 for blinding Grade 25-30, w/c ratio < 0.60, cement OPC to BS 12 for all structural concrete unless otherwise stated
20.2 | LEAN CONCRETE (for Curbstone)
Quantity is measured to the edges or concrete foundation members. (mix ratio; 1:2:6)
75mm thick lean concrete to all type of curbstones as per detailed drawing.
20.2.1 | For curb B | m | 15
20.3 | CURBSTONE WORK
Quantities are measured to the edges of concrete members. (mix ratio; 1:2:3)
Rates shall include: Formwork and Reinforcement as per detailed drawing
20.3.1 | Curb B (Height - 300mm, Width- 100mm) | m | 20
20.4 | FLOOR FINISHES
Complete floor finishes as per drawing and manufacturer's instructions.
20.4.1 | Bricks flooring area | m2 | 15
20.5 | Concrete
20.5.1 | Complete table finishes as per drawing and manufacturer's instructions. | Its | 2
20.5.2 | Complete sink finishes as per drawing and manufacturer's instructions. | Its | 2
TOTAL OF BILL No:16 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 17
HYDRAULICS & DRAINAGE
GENERAL
(a) Rates shall include for: sockets, running joints, connectors, elbows, junctions, reducers, expansion joints; backnuts and similar; incidental fittings, clips, saddles, brackets, straps, hangers, screws, nails and fixing complete, including cutting and forming holes; excavating, laying pipes and backfilling trenches
(b) Contractors shall provide all pumbing work within the site boundries. Plumbing work that may be recuired to carry outside the site boundries are not included under this Contract.
(c)Pipes, Elbows bends sockets, faucets, valve sockets brackets, flush pipes, overflows, plugs and washersetc. to complete the works shall be supplied by the Contractor
8.1 | PLUMBING WORK
8.1.1 | Complete construction of supply water pipework including all pipework, fittings, valves, connection to Main Supply (MS) network etc. | Item | 1
8.1.2 | Complete construction of discharge pipework , work including all pipework, vent pipework, fittings, valves, inspection chambers etc. to complete the works shall be supplied by the Contractor. | Item | 1
8.1.3 | Discharge pipe Connecting to MWSC/Council sewer mains | Item | 1
8.1.4 | Supply and fixing MWSC fresh water mains | Item | 1
8.1.5 | Complete construction of water irrigation system for lawna areas using underground drip pipes as shown in the drawing. Rate shall include all accessosies, and valvles. | Item | 1
8.2 | SANITARY FIXTURES & ACCESSORIES
8.2.8 | Basin taps | nos | 2
8.2.9 | Angle Valve -1/2" | nos | 2
8.2.10 | Plug waste for basin -1 1/4" | nos | 2
8.2.11 | Basin bottle Trap | nos | 2
8.2.13 | Water taps | nos | 1
8.2.14 | Floor drain | nos | 2
8.2.15 | Gate Valve -1" | nos | 1
8.2.16 | Ball Valve - 1/2" | nos | 2
8.2.17 | Foot Valve - 1" | nos | 1
8.2.18 | Water pump - 1" equal brande | nos | 1
8.3 | INSPECTION CHAMBER & GREASE TRAP
8.3.1 | Constructing Inspection Chamber of required size with all provisions to connect pipelines as per drawing. | Item | 1
TOTAL OF BILL No: 17 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0
BILL No: 18
ELECTRICAL INSTALLATION (SUNSET BLOCK & MAIN PATHWAY)
9 | GENERAL
(a) Rates shll include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackates, straps, rivets, plugs and all incidental accessories
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical isolators, conduits, fittings, equipment and similar items shall include for: all fixings to various building surfaces
(d) A light fixtures is measured as one point; switches end of wire is not included in the quantity.
(e) A fan is measured as one point; fan controller end of wire is not included in the quantity.
(f) A point wiring for power points is measured (regardless of 1 gang, 2 gang ect) as one point for each socket outlet; other end of wire is not included in the quantity
(g) Rates shall include for supply and complete installation
(h) Contractor shall provide all cabling, wiring, conduites, etc. outside the site boundries are not included under this Contract.
9.1 | MAIN CONNECTION
9.1.1 | Allow for a single phase main connection Transformer / Road DB | LS | 1
9.2 | ELECTRICAL BOARDS
Complete installation, including for all cabling, wiring, connections, earthing, painting, testing and similar of:
9.2.1 | Distribution board with all necessary accessories to complete the job. | nos | 1
9.3 | ELECTRICAL WIRING
Complete wiring with copper conductors cable in conductor cable in conduits in walls and in casing on soffits of slab as similar of:
9.3.1 | Wiring to light fixtures | points | 75
9.3.2 | Wiring to power points | points | 6
9.3.3 | Cabling to Distribution boards | points | 1
9.4 | LIGHT AND SWITCHES AND SOCKET OUTLETS
9.4.1 | LIGHTS
9.4.1.1 | Ceiling recessed light -18W | nos | 8
9.4.1.2 | Emergency Light | nos | 2
9.4.2 | SWITCHES - Clipsal or Equivalent
9.4.2.1 | One way (1 Gang) Switch | nos | 3
9.4.2.2 | One way (2 Gang) Switch | nos | 1
9.4.3 | SOCKET OUTLETS - Clipsal or Equivalent
9.4.3.1 | 1x13A socket outlets | nos | 2
9.4.3.2 | 2x13A socket outlets | nos | 2
9.4.3.3 | 2x13A socket outlets (Water proof) | nos | 2
9.5 | LIGHTS (PARK OUTDOOR PATHWAY LIGHTS
9.5.1. | Garden Light height 1800mm | nos | 6
9.5.2. | Garden Light | nos | 22
9.5.3. | Led strip (warm) | m | 300
TOTAL OF BILL No: 18 - Carried over to summary |  |  |  |  | 0 |  | 0 | 0