## ORIGIN
DHIGUVAADU HANDBALL COURT
Fuvahmulah City
BILL OF QUANTITIES
Item | Description | Qty | Unit | Rate | Amount
BILL No: 01
PRELIMINARIES
NOTES:
Any dicrepancies with BOQ and Drawings has to be addressed prior to bid submition. Upon awarding the contract, issues with BOQ and Drawing will be settled as per the consultant instruction in regard to BOQ, Drawing and Scope of the work.
1.1 | SITE MANAGEMENT COSTS
1 | Allow for all on and off site management cost including costs of foreman and assistants, temporary services, telephone, fax, hoardings and similar. | 1 | Item |  | 0
1.2 | SITE SAFETY / SECURITIES
1 | Allow lump sum for health and safety measures , Welding , Cutting , Grinding protection gears for contractor's staff | 1 | Item |  | 0
2 | Allow for erecting and maintaining of temporary scaffoldings, supports, platforms and climbing stairs and remove on completion of the Works including temporary re-erections if required. | 1 | Item |  | 0
1.3 | SURVEY & SET OUT
1 | In survey of ground area elevations and location marking | 1 | Item |  | 0
| BILL No: 01 - PRELIMINARIES |  |  |  | 0
| TOTAL OF BILL No: 01 - Carried over to summary |  |  |  | 0
BILL No: 02
EARTH WORKS
2.1 | SITE CLEARING
1 | Demolition if any ,leveling and cleaning, waste materials away from the site. | 1 | Item |  | 0
2.2 | EXCAVATION
Note: Excavation quantities are measured to the faces of concrete members. Rates shall include for all excavation required to Foundations/Drainage Gutter / Post Footings, cable trenches and dewatering if required.
1 | Excavation foundations, drainage gutter with drain pipe line, light post footings and Electric cable trenches. | 66 | M3 |  | 0
2.3 | DAMP PROOFING
Note: Rates shall include for: dressing around and sealing to avoid all penetrations
1 | Damp proof membrane under foundation | 32 | M2 |  | 0
2.4 | WATER PROOFING
Apply 2 coats of Bituminous paint or similar on all concrete surfaces below ground level in accordance with manufacturer's instructions
1 | Concrete base | 192 | M2 |  | 0
2.5 | EARTH FILLING ( SOIL GRADING & COMPACTION )
Rates shall include: Survey & Setting out the handball ground location marking as per the grid and elevations. Levelling, grading, trimming and compacting. Reference to the instructions Drawing
1 | In-Survey & Setting out as per the grid ( 5Mx6M) and mark the levels. | 1 | Item |  | 0
2 | Removing top soil as per the Spec using Grader Machine. | 234 | M3 |  | 0
3 | Backfilling Base Course 150mm thick Layer & Compact by Vibratory Plate Compactors. | 234 | M3 |  | 0
4 | Grating sand for top surface layer (10 x10mm) Siever and back fill 50mm thick surface layer for compaction by vibratory plate compacter | 78.2 | M3 |  | 0
5 | Out survey of elevations , surface compaction strength up on completion of Surface Course (Level of the grid 5 x 6 m) before laying Turf. | 1 | Item |  | 0
2.6 | ROADWAY DRAINAGE SYSTEM
(a) Rates shall include for excavation, leveling, maintaining faces of drain pipe trenches and pits, backfilling, disposal of surplus soil, bends, junctions, reducers, expansion joints and all joints and other incidental materials.
1 | Supply and installation of Pre - cast concrete tench drain" U" blocks as per drawings. | 12 | Nos |  | 0
2.7 | CLEANING UPON COMPLETION
1 | Cleaning the site upon completion of all works | 1 | item |  | 0
| BILL No: 02 - EARTH WORKS |  |  |  | 0
| TOTAL OF BILL No: 02 - Carried over to summary |  |  |  | 0
BILL No: 03
CONCRETE
(a) Rates shall include for: provision to place in position; casting of all required items and finishing after removal of formwork and additional concrete required to conform to structural and excavated tolerances
(b) Rates shall include supply of all formwork item including form oil, timber, plywood, nails etc.
(c) Mix ratio for reinforced concrete shall be 1:2:3 and lean concrete shall be 1:10 by volume
3.1 | LEAN CONCRETE |  | 0
| Note: Quantity is measured to the edges of concrete members. Rates shall be inclusive of any additional concrete required to place the formwork. |  | 0
1 | 50mm thick lean concrete to bottom of concrete base | 3 | M3 |  | 0
3.2 | REINFORCED CONCRETE |  | 0
| In-situ reinforced concrete to: |  | 0
| Foundation level |  | 0
1 | Boundary Foundation | 9.6 | M3 |  | 0
2 | Boundary Wall Capping | 3.6 | M3 |  | 0
3 | Column stump Inside Wall 54 Nos | 1.6 | M3 |  | 0
4 | Light Post Footings 8 Nos | 2.08 | M3 |  | 0
5 | Gutter Lid 12 nos | 0.36 | M3 |  | 0
6 | Gutter box 12 nos | 1.71 | M3 |  | 0
3.3 | FORMWORK
(a) Rates shall include for: all necessary boarding, supports, erecting, framing, temporary cambering, cutting, perforations for reinforcing bars, bolts, straps, ties, hangers, pipes and removal of formwork.
3.4 | REINFORCEMENT |  | 0
| (a) Rates shall include for: cleaning, fabrication, placing, the provision for all necessary temporary fixings and supports including tie wire and chair supports, laps and wastage |  | 0
| (b) All reinforcing bars except 6mm dia bars shall be high strength deformed bars |  | 0
(c) The exact length exclusive of laps are given. The rates shall take into account laps and any wastage.
3.5 | Reinforcement of Foundations, Column , Footings
1 | 12 mm dia. bars (210 ) | 200 | Nos |  | 0
2 | 10 mm dia. bars (55) | 56 | Nos |  | 0
3 | 6mm dia. Bars (76) | 85 | Nos |  | 0
3.6 | MASONRY AND PLASTERING
Note: Rates shall include for: blocks, cutting or leaving holes and openings as recesses, building in pipes, conduits, sleeves and similar as required for all trades; leaving surfaces rough or raking out joints for plastering and flashing, bedding frames
(a) Mix ratio for Plastering & masonry shall be 1:3.
1 | 150mm thick hollow block masonry wall | 208 | M2 |  | 0
2 | 20mm Thick Plastering on both side of Wall | 416 | M2 |  | 0
| BILL No: 03 - CONCRETE |  |  |  | 0
| TOTAL OF BILL No: 03 - Carried over to summary |  |  |  | 0
BILL No: 04
METAL WORKS
| Note: (a) Rates shall include for: all fabrication work, welding, marking, drilling for bolts including those securing timbers, steel plates, bolts, nuts and any type of washer, riveted work, counter sinking and tapping for bolts or machine screws. |  | 0
| (b) Rates shall include for all painting and finishing on all Fabrication works (SIGMA Marine Grade, including Undercoat and Finishing Coat) |  | 0
(c) Rates shall include for fabrication and erection of temporary supports and fixing into position
4.1 | PVC FENCING
Boundary fencing with PVC coated chain link fencing net (8 guage), with medium duty GI pipe supporting frame and concrete footings as per design drawings including earthwork etc all complete as per the directions of project officer. Fencing net should fix inside handball pitch.
1 | PVC fence | 464 | M2 |  | 0
2 | 38mm GI pipe horizontal members (2mm thick) | 1450 | M |  | 0
3 | 50mm GI pipe Verticle members (2.4mm thick) | 300 | M |  | 0
4 | 13.6mm GI Pipe Goal fence area 6m (1.8mm thick pipe members) | 320 | M |  | 0
4.2 | ENTRANCE GATES
Supplying all materials and labour and fabricating swing type Gate (double leafed) with medium duty GI pipes & PVC coated chain link fencing net (50mm x 50mm mesh size) as per design drawings including 2 nr's of hinges per leaf & locking arrangement etc all complete of the following size as per directions of project officer.
1 | Main Entrance Slide Gate (GI Pipe fabrication ) | 1 | Nos |  | 0
2 | Side Entrance small Gate (GI Pipe fabrication ) | 2 | Nos |  | 0
3 | Goal Post | 2 | Nos |  | 0
4.3 | LIGHTING POLES
Supply and fixing of Gi pipe single arm lighting pole with hot dip galvanized, smooth finish as described.
1 | Lighting pole as per drawing | 8 | Nos |  | 0
4.4 | OUTDOOR BENCH
Supply and deliver to site. Rates shall include fabrication or Supply abroad. Painting and completion of all
1 | Team Bench ( Min 8 Seat ) | 2 | Nos |  | 0
2 | Refrees Bench ( 4 Seat ) | 1 | Nos |  | 0
4.5 | PAINTING
Nippon or equivalent emulsion paint finish on cement plastered walls and concrete surfaces. Exterior walls should be applied with weather proof paint.Allow for applied 1-coats of Alkali Resisting primer on all plastered surface.SIGMA Marine Grade, including Undercoat and Finishing Coat for all Metal surface.
1 | Boundary Wall Exterior surfaces | 320 | M2 |  | 0
2 | Painting boundary fence Gi Pipes | 1 | Item |  | 0
| BILL No: 04 - METAL WORK |  |  |  | 0
| TOTAL OF BILL No: 04 - Carried over to summary |  |  |  | 0
BILL No: 05
5.1 | TURF INSTALLATIONS
Supply and installation of infilled artificial grass with manufactures instructions and Allow for infill materials which are silica sand and rubber granules as described
Turf Specification (ISO Standard or equavalent)
Dtex:12000
Pile Height: 40 mm
Stitch Rate: 14 Stitches / 10cm +/- 10%
Gauge: 5/8 inch
Density: 8820 Stitches /SQM +/- 10%
Pile Weight: 1491g/SQM (±5%)
Backing: 3 Layers (composite PP+Net)
Second Backing: Latex
Color: Verde green & Lime
Turf Specification (ISO Standard or equavalent)
1 | Play Area Turf (44/24m) (pille height 40mm) | 1237.5 | M2 |  | 0
2 | Adhesive Pu bi-component | 35 | Set |  | 0
3 | Seaming Tape (30cm wide) | 600 | m |  | 0
4 | SBR Rubber Granules for infilling (0.8-2.5mm) | 9.5 | Tons |  | 0
5 | Silica Sand for Infill (0.5-1.0mm) (washed dried cleaned and processed) | 16 | Tons |  | 0
5.2 | LINE AND MARKING
Nippon or equivalent floor paint finish on concrete surfaces. Exterior surfaces should be applied with weather proof red colour paint.Allow for applied 1-coats of Alkali Resisting primer on all surfaces.
1 | Line Markings as per drawing / in accordance to the laws of the game(White line) | 240 | M |  | 0
| BILL No: 05 - TURF INSTALLATION |  |  |  | 0
| TOTAL OF BILL No: 05 - Carried over to summary |  |  |  | 0
BILL No: 06
ELECTRICAL & SPECIFIC INSTALLATIONS
| (a) Rates shall include for: screws, nails, bolts, nuts, standard cable fixing or supporting clips, brackets, straps, rivets, plugs and all incidental accessories |  | 0
(b) Rates for work in trench shall include for: excavation, maintaining faces of excavations, backfilling, compaction, appropriate cable covers, warning tape and disposal of surplus spoil
(c) Rates for electrical conduits, fittings, warning tape equipment and similar items shall include for: all fixings to various building surfaces
(d) Light end and switch end of wiring together measured as one point
(e) A point wiring for power points is measured as one point for each socket outlet; other end of wire is not included in the quantity.
(f) Rates shall include for supply and complete installation
(g) Three phase power supply.
6.1 | ELECTRICAL BOARDS
Complete installation, including for all connections, earthing, painting, testing and similar of:
Three phase main panel board with connections from the mains including meter, cut-off fuse and other accessories to be located in the panel board.The entire panel board shall be securely enclosed and fully covered with a lockable door, providing access from one side only.
1 | Main distribution board (with a Timmer Switch) | 1 | Nos |  | 0
2 | Electricity meters | 1 | Nos |  | 0
6.2 | ELECTRICAL WIRING |  | 0
| Electrical wiring with copper conductor cable in conduits in walls and concrete as per government regulations including necessary D-boards at each level. |  | 0
1 | Wiring to Lighting | 16 | Pts |  | 0
2 | Wiring to D/B | 1 | Item |  | 0
3 | Connected to main with 16sqm cable | 1 | Item |  | 0
6.3 | CABLE LAYING
Supply and laying of 10 sqmm cable with GI 4.5mm thick condute and avarage depth is - 600mm to 650mm.
1 | 10sqmm 4 core cabe with hard condute on all light post to main distribution boad | 1 | Item |  | 0
6.4 | LIGHTING, POWER POINTS |  | 0
All lights shall be of 'Cree' or equivalent brand or equivalent,led tube light shall be pure white all switches, sockets etc. shall be 'Legrand' brand or equivalent
Light Specification
Item Type:1000W LED Floodlight
LED Type: Epistar/Bridgelux/Cree
Power:1000W
Lamp Luminous Flux:13000-48000lm
Lamp Luminous Effciency: 70-90lm/W
CRI: ≥75Ra
Color Temperature: 90000~100000K(CW)
Beam Angle: 120-140 degree
IP Grade: IP65
Input Voltage: AC85-265V
Frequency: 50/60HZ
Lamp Body Material: Aluminum Alloy
Life Time: ≥35000hours
Working Temperature: -20°C~+45°C
Shell Color: Grey or Black
Dimension: 290*290*90mm
Appliance Class: Class I
Certification: CE, RoHS, FCC
Warranty: 2 years
1 | Led flood light (1000watts) | 16 | Nos |  | 0
2 | Switch( manual control) | 16 | Nos |  | 0
| BILL No: 06 - ELECTRICAL& SPECIFIC INSTALLATIONS |  |  |  | 0
| TOTAL OF BILL No: 06- Carried over to summary |  |  |  | 0
Dhiguvaandu Handball Court
SUMMARY OF BILL OF QUANTITIES
NO | BILL |  |  |  | AMOUNT (MRF)
1 | PRIMILINARIES
2 | EARTH WORKS
3 | CONCRETE
4 | METAL WORK
5 | TURF INSTALLATIONS
6 | ELECTRICAL, AND SPECIFIC INSTALLATIONS
| Sub Total of Bills |  |  |  | 0
| Goods and Service Taxes (8%) |  |  |  | 0
| GRAND TOTAL |  |  |  | 0

## ORG SUM
Maadhadu Futsal Ground
SUMMARY OF BILL OF QUANTITIES
NO | BILL | AMOUNT (MRF)
1 | PRELIMINARIES | 0
2 | EARTH WORKS | 0
3 | CONCRETE | 0
4 | METAL WORK | 0
5 | TURF INSTALLATIONS | 0
6 | ELECTRICAL, AND SPECIFIC INSTALLATIONS | 0
7 | ADDITION
8 | OMMISION
| Sub Total of Bills | 0
| Goods and Service Taxes (8%) | 0
| GRAND TOTAL | 0